## Final
|  | COND | CONDF | RPD | Comments | Action | Result | pH | pHF | Difference | Comments | Action | Result
Station | Date | µmho/cm | µmho/cm | %
BH10A | 2010-09-16 15:00 | 795 | 826.3 | 3.8611 |  |  |  | 6.42 | 5.74 | 0.68
BH10B | 2010-09-16 15:10 | 1070 | 1010 | 5.7692 |  |  |  | 6.31 | 5.53 | 0.78
BH13B | 2010-09-21 09:52 | 1290 | 984 | 26.9129 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.47 | 8.26 | 0.79
BH14A | 2010-06-11 14:45 | 4000 | 3413 | 15.837 |  |  |  | 7.8 | 6.78 | 1.02 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
BH14A | 2010-09-21 13:11 | 3880 | 2594 | 39.7281 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.58 | 7.04 | 0.54
BH14B | 2010-06-11 17:30 | 4010 | 3508 | 13.3546 |  |  |  | 7.6 | 6.81 | 0.79
BH14B | 2010-09-21 13:02 | 4020 | 2702 | 39.2145 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.61 | 7.25 | 0.36
BH5 | 2010-09-16 13:45 | 667 | 710.2 | 6.2736 |  |  |  | 6.23 | 5.63 | 0.6
BH6 | 2010-09-16 16:08 | 413 | 450.8 | 8.752 |  |  |  | 7.15 | 6.12 | 1.03 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
BH8 | 2010-09-18 09:23 | 3830 | 3828 | 0.052233 |  |  |  | 4.14 | 4.43 | 0.29
P01-01A | 2010-06-06 13:35 | 1700 | 1019 | 50.0919 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of samples had been discarded. Discrepancy between values remains. | 8 | 6.41 | 1.59 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of samples had been discarded. Discrepancy between values remains.
P01-01A | 2010-09-08 13:55 | 1960 | 1660 | 16.5746 |  |  |  | 7.52 | 8.16 | 0.64
P01-01B | 2010-06-06 14:09 | 1230 | 920 | 28.8372 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 8.1 | 6.38 | 1.72 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of samples had been discarded. Discrepancy between values remains.
P01-01B | 2010-09-08 14:28 | 1340 | 1131 | 16.9162 |  |  |  | 7.58 | 7.3 | 0.28
P01-02A | 2010-06-06 14:36 | 697 | 817 | 15.852 |  |  |  | 8 | 7.42 | 0.58
P01-02A | 2010-09-08 12:57 | 794 | 830 | 4.4335 |  |  |  | 7.95 | 7.37 | 0.58
P01-02B | 2010-06-06 15:04 | 512 | 530 | 3.4549 |  |  |  | 8.2 | 7.5 | 0.7
P01-02B | 2010-09-08 13:40 | 562 | 610 | 8.1911 |  |  |  | 7.9 | 7.53 | 0.37
P01-03 | 2010-06-07 14:32 | 3620 | 3450 | 4.8091 |  |  |  | 7.4 | 6.35 | 1.05 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P01-03 | 2010-09-09 12:01 | 3680 | 622 | 142.1664 | Lab value correctly entered into emLine, but field value incorrectly entered. | Change Value | Field value changed; now correctly entered into emLine (see correct result below). | 6.7 | 6.22 | 0.48
P01-03 | 2010-09-09 12:01 | 3680 | 3890 | 5.5482 | Lab value correctly entered into emLine, and incorrect field value emended (see above) | Let Value Stand | Correct value entered into emLine. | 6.7 | 6.22 | 0.48
P01-04A | 2010-06-07 16:00 | 1050 | 1010 | 3.8835 |  |  |  | 7.8 | 6.77 | 1.03 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P01-04A | 2010-09-09 14:34 | 1140 | 1230 | 7.5949 |  |  |  | 7.26 | 7.03 | 0.23
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
P01-04B | 2010-09-09 14:09 | 2060 | 2200 | 6.5728 |  |  |  | 7.29 | 6.88 | 0.41
P01-11 | 2010-06-06 16:44 | 2760 | 3020 | 8.9965 |  |  |  | 7.6 | 6.89 | 0.71
P01-11 | 2010-09-08 14:26 | 2880 | 3280 | 12.987 |  |  |  | 7.24 | 6.72 | 0.52
P03-01-2 | 2010-09-21 10:41 | 409 | 441.4 | 7.6199 |  |  |  | 8.36 | 7.34 | 1.02 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P03-01-4 | 2010-09-21 10:45 | 167 | 175.7 | 5.0773 |  |  |  | 6.92 | 6.93 | 0.01
P03-01-6 | 2010-09-21 11:30 | 1110 | 1157 | 4.1464 |  |  |  | 5.76 | 6.6 | 0.84
P03-01-8 | 2010-09-21 12:00 | 22100 | 15510 | 35.0439 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 3.46 | 6.11 | 2.65 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains.
P03-03-2 | 2010-09-21 15:35 | 2750 | 2595 | 5.7998 |  |  |  | 4.17 | 5.36 | 1.19 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P03-03-4 | 2010-09-21 15:36 | 1650 | 1664 | 0.8449 |  |  |  | 6.2 | 6.11 | 0.09
P03-03-6 | 2010-09-21 15:15 | 6410 | 28.71 | 198.2164 | Lab value correctly entered into emLine. Field value undergoing investigation. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains. | 4.82 | 6.4 | 1.58 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains.
P03-04-2 | 2010-09-20 15:20 | 1510 | 1294 | 15.4066 |  |  |  | 7.15 | 6.82 | 0.33
P03-04-4 | 2010-09-20 15:30 | 1300 | 1249 | 4.0016 |  |  |  | 7.44 | 7.4 | 0.04
P03-04-6 | 2010-09-20 16:05 | 5440 | 5926 | 8.5518 |  |  |  | 6.22 | 7 | 0.78
P03-04-8 | 2010-09-20 16:50 | 8100 | 8162 | 0.76251 |  |  |  | 3.9 | 6.32 | 2.42 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains.
P03-05-2 | 2010-09-22 11:00 | 1480 | 1563 | 5.4551 |  |  |  | 6.89 | 6.75 | 0.14
P03-05-4 | 2010-09-22 11:15 | 1250 | 1258 | 0.63796 |  |  |  | 7.26 | 7.02 | 0.24
P03-05-6 | 2010-09-22 10:30 | 4790 | 4428 | 7.8542 |  |  |  | 4.59 | 6.73 | 2.14 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains.
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
P03-06-1 | 2010-06-14 15:23 | 3850 | 38750 | 163.8498 | Lab value correctly entered into emLine, but field value incorrectly entered. | Change Value | Field value changed; now correctly entered into emLine (see below). | 6.2 | 5.35 | 0.85
P03-06-1 | 2010-06-14 15:23 | 3850 | 3875 | 0.64725 | Lab value correctly entered into emLine, and incorrect field value amended (see above). | Let Value Stand | Discrepancy between lab and field values resolved. | 6.2 | 5.35 | 0.85
P03-06-1 | 2010-09-22 14:15 | 3900 | 3352 | 15.1131 |  |  |  | 6.06 | 6.17 | 0.11
P03-06-2 | 2010-06-14 14:30 | 4000 | 41050 | 164.4839 | Lab value correctly entered into emLine, but field value incorrectly entered. | Change Value | Field value changed; now correctly entered into emLine (see below). | 4.2 | 5.3 | 1.1 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P03-06-2 | 2010-06-14 14:30 | 4000 | 4105 | 2.591 | Lab value correctly entered into emLine, and incorrect field value amended (see above). | Let Value Stand | Discrepancy between lab and field values resolved. | 4.2 | 5.3 | 1.1 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P03-06-2 | 2010-09-22 14:17 | 3910 | 3365 | 14.9828 |  |  |  | 5.77 | 6.11 | 0.34
P03-06-3 | 2010-06-14 13:34 | 4530 | 46110 | 164.218 | Lab value correctly entered into emLine, but field value incorrectly entered. | Change Value | Field value changed; now correctly entered into emLine (see below). | 4.3 | 5.35 | 1.05 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P03-06-3 | 2010-06-14 13:34 | 4530 | 4611 | 1.7722 | Lab value correctly entered into emLine, and incorrect field value amended (see above). | Let Value Stand | Discrepancy between lab and field values resolved. | 4.3 | 5.35 | 1.05 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P03-06-3 | 2010-09-22 14:51 | 4640 | 3824 | 19.2817 |  |  |  | 5.49 | 6.24 | 0.75
P03-06-4 | 2010-06-14 15:00 | 2210 | 25150 | 167.6901 | Lab value correctly entered into emLine, but field value incorrectly entered. | Change Value | Field value changed; now correctly entered into emLine (see below). | 5.6 | 6.18 | 0.58
P03-06-4 | 2010-06-14 15:00 | 2210 | 2515 | 12.9101 | Lab value correctly entered into emLine, and incorrect field value amended (see above). | Let Value Stand | Discrepancy between lab and field values resolved. | 5.6 | 6.18 | 0.58
P03-06-4 | 2010-09-22 14:52 | 2600 | 2516 | 3.2838 |  |  |  | 6.2 | 6.65 | 0.45
P03-06-5 | 2010-06-14 15:40 | 1370 | 17610 | 171.1275 | Lab value correctly entered into emLine, but field value incorrectly entered. | Change Value | Field value changed; now correctly entered into emLine (see below). | 5.2 | 6.42 | 1.22 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P03-06-5 | 2010-06-14 15:40 | 1370 | 1761 | 24.976 | Lab value correctly entered into emLine, and incorrect field value amended (see above). | Let Value Stand | Large discrepancy between lab and field values resolved, but small discrepancy between values still remains. | 5.2 | 6.42 | 1.22 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P03-06-5 | 2010-09-22 15:09 | 3570 | 2933 | 19.591 |  |  |  | 6.01 | 6.89 | 0.88
P03-08-2 | 2010-09-20 10:40 | 678 | 732 | 7.6596 |  |  |  | 7.7 | 8.17 | 0.47
P03-08-4 | 2010-09-20 11:00 | 1260 | 1327 | 5.1797 |  |  |  | 7.36 | 7.1 | 0.26
P03-08-6 | 2010-09-20 12:50 | 948 | 924 | 2.5641 |  |  |  | 7.23 | 7.45 | 0.22
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
P03-08-7 | 2010-09-20 12:00 | 612 | 569 | 7.282 |  |  |  | 7.92 | 7.85 | 0.07
P03-08-8 | 2010-09-20 |  |  | #DIV/0! | [5 empty] | 0
P03-09-2 | 2010-09-13 12:20 | 1300 | 1430 | 9.5238 |  |  |  | 7.85 | 7.01 | 0.84
P03-09-4 | 2010-09-13 12:35 | 1550 | 1670 | 7.4534 |  |  |  | 7.83 | 7 | 0.83
P03-09-6 | 2010-09-13 13:50 | 1670 | 1822 | 8.7056 |  |  |  | 7.83 | 6.91 | 0.92
P03-09-8 | 2010-09-13 13:44 | 1700 | 1748 | 2.7842 |  |  |  | 7.81 | 6.95 | 0.86
P03-09-9 | 2010-09-13 15:20 | 1670 | 1811 | 8.1011 |  |  |  | 7.82 | 6.91 | 0.91
P05-01-1 | 2010-09-09 12:13 | 2790 | 2990 | 6.9204 |  |  |  | 7 | 6.6 | 0.4
P05-01-2 | 2010-09-09 12:20 | 2820 | 3103 | 9.556 |  |  |  | 7.04 | 6.65 | 0.39
P05-01-3 | 2010-09-09 13:40 | 2790 | 3063 | 9.3285 |  |  |  | 7.03 | 6.64 | 0.39
P05-01-4 | 2010-09-09 15:00 | 2770 | 2972 | 7.0359 |  |  |  | 7.02 | 6.64 | 0.38
P05-01-5 | 2010-09-09 14:20 | 2400 | 2586 | 7.4609 |  |  |  | 7.09 | 6.66 | 0.43
P05-01-6 | 2010-09-09 14:45 | 2510 | 2655 | 5.6147 |  |  |  | 7.14 | 6.58 | 0.56
P05-02 | 2010-06-06 17:00 | 2720 | 2552 | 6.3733 |  |  |  | 7.5 | 6.49 | 1.01 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P05-02 | 2010-09-08 15:16 | 2630 | 2910 | 10.1083 |  |  |  | 7.05 | 6.6 | 0.45
P05-03 | 2010-06-08 11:25 | 1610 | 1598 | 0.74813 |  |  |  | 8.1 | 6.92 | 1.18 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P05-03 | 2010-09-08 11:52 | 1520 | 1640 | 7.5949 |  |  |  | 7.41 | 7.04 | 0.37
P05-04 | 2010-09-16 16:36 | 383 | 366.9 | 4.2939 |  |  |  | 7.36 | 6.12 | 1.24 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P09-C1 | 2010-06-07 15:00 | 2510 | 2609 | 3.8679 |  |  |  | 7.6 | 6.62 | 0.98
P09-C1 | 2010-09-15 15:46 | 2630 | 2560 | 2.6975 |  |  |  | 7.77 | 6.57 | 1.2 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P09-C2 | 2010-06-08 16:07 | 2670 | 2620 | 1.8904 |  |  |  | 7 | 6.28 | 0.72
P09-C2 | 2010-09-15 16:58 | 2770 | 2726 | 1.6012 |  |  |  | 7.12 | 6.06 | 1.06 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P09-C3 | 2010-06-08 12:25 | 1070 | 1087 | 1.5763 |  |  |  | 7.8 | 6.49 | 1.31 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P09-C3 | 2010-09-15 17:12 | 1070 | 1070 | 0 |  |  |  | 7.81 | 6.52 | 1.29 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P09-ETA1 | 2010-09-16 10:55 | 421 | 440.2 | 4.4589 |  |  |  | 7.9 | 7.56 | 0.34
P09-ETA2 | 2010-09-15 12:14 | 5190 | 5390 | 3.7807 |  |  |  | 6.7 | 6.34 | 0.36
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
P09-SIS1 | 2010-07-25 14:50 | 9670 | 9050 | 6.6239 |  |  |  | 6.69 | 6.16 | 0.53
P09-SIS1 | 2010-11-02 15:37 | 8110 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 7.23 | 6.33 | 0.9
P09-SIS1 | 2010-11-02 15:37 | 8110 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 7.23 | 6.33 | 0.9
P09-SIS2 | 2010-06-09 13:04 | 9950 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.9 | 5.8 | 1.1 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P09-SIS2 | 2010-07-24 16:53 | 8730 | 9180 | 5.0251 |  |  |  | 6.64 | 6.19 | 0.45
P09-SIS2 | 2010-09-13 13:35 | 9190 | 9480 | 3.1066 |  |  |  | 6.97 | 5.83 | 1.14 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P09-SIS2 | 2010-11-02 15:10 | 9340 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.93 | 6.1 | 0.83
P09-SIS2 | 2010-11-02 15:10 | 9340 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.93 | 6.1 | 0.83
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
P09-SIS3 | 2010-06-09 11:45 | 10000 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.9 | 6.04 | 0.86
P09-SIS3 | 2010-07-24 16:05 | 7720 | 4160 | 59.9327 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of samples had been discarded. Discrepancy between values remains. | 6.65 | 8.34 | 1.69 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of samples had been discarded. Discrepancy between values remains.
P09-SIS3 | 2010-09-14 14:09 | 9500 | 9580 | 0.83857 |  |  |  | 7 | 6.05 | 0.95
P09-SIS3 | 2010-11-02 15:35 | 9020 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 7 | 6.21 | 0.79
P09-SIS3 | 2010-11-02 15:35 | 9020 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 7 | 6.21 | 0.79
P96-6 | 2010-06-15 08:48 | 1170 | 1140 | 2.5974 |  |  |  | 7.6 | 6.35 | 1.25 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P96-6 | 2010-09-21 12:47 | 1350 | 1010 | 28.8136 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.27 | 7.08 | 0.19
P96-7 | 2010-06-11 13:21 | 3090 | 2644 | 15.5563 |  |  |  | 7.9 | 7.47 | 0.43
P96-7 | 2010-09-14 15:52 | 3310 | 3570 | 7.5581 |  |  |  | 7.82 | 7.24 | 0.58
P96-8A | 2010-06-09 16:37 | 7780 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 5.9 | 5.14 | 0.76
P96-8A | 2010-09-14 16:01 | 7780 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.29 | 5.14 | 1.15
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
P96-8B | 2010-06-09 16:20 | 7380 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 4.8 | 4.31 | 0.49
P96-8B | 2010-09-15 12:54 | 7540 | 7630 | 1.1866 |  |  |  | 4.71 | 4.55 | 0.16
P96-9A | 2010-06-12 16:21 | 3550 | 3066 | 14.6312 |  |  |  | 7.8 | 6.77 | 1.03 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
P96-9A | 2010-09-20 14:02 | 3840 | 3943 | 2.6468 |  |  |  | 7.61 | 6.78 | 0.83
S1A | 2010-06-09 14:17 | 656 | 561 | 15.6122 |  |  |  | 6.9 | 6.46 | 0.44
S1A | 2010-09-14 12:24 | 332 |  | 200 | Lab value correctly entered into emLine, but field value not entered. | Change Value | Field value entered; now correctly entered into emLine (see correct result below). | 7.12 |  | 7.12 | Lab value correctly entered into emLine, but field value not entered. | Change Value | Field value entered; now correctly entered into emLine (see correct result below).
S1A | 2010-09-14 12:24 | 332 | 302 | 9.4637 | Lab value correctly entered into emLine, but field value not entered. | Let Value Stand | Correct value entered into emLine. | 7.12 | 7.29 | 0.17 | Lab value correctly entered into emLine, but field value not entered. | Let Value Stand | Correct value entered into emLine.
S1B | 2010-09-14 |  |  | #DIV/0! | Sample not collected. Samplers noted "Well completely dry." |  |  |  |  | 0 | Sample not collected. Samplers noted "Well completely dry."
S2A | 2010-06-09 14:57 | 1470 | 1238 | 17.1344 |  |  |  | 7 | 5.78 | 1.22 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
S2A | 2010-09-14 13:40 | 1370 | 1226 | 11.094 |  |  |  | 6.73 | 6.05 | 0.68
S2B | 2010-09-14 14:05 | 8000 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.94 | 6.07 | 0.87
SRK04-3A | 2010-09-22 11:54 | 8130 | 8172 | 0.51527 |  |  |  | 5.68 | 5.21 | 0.47
SRK05-ETA-BR1 | 2010-09-22 13:32 | 7370 | 7350 | 0.27174 |  |  |  | 5.76 | 5.17 | 0.59
SRK05-ETA-BR2 | 2010-09-22 14:21 | 2660 | 2845 | 6.7212 |  |  |  | 6.78 | 6.5 | 0.28
SRK05-SP1A | 2010-09-14 12:37 | 1700 | 1790 | 5.1576 |  |  |  | 6.34 | 5.54 | 0.8
SRK05-SP1B | 2010-09-14 12:09 | 996 | 1050 | 5.2786 |  |  |  | 7.37 | 6.31 | 1.06 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK05-SP2 | 2010-09-14 11:34 | 379 | 370 | 2.4032 |  |  |  | 7.19 | 6.4 | 0.79
SRK05-SP3A | 2010-09-14 10:46 | 1410 | 1430 | 1.4085 |  |  |  | 6.62 | 5.7 | 0.92
SRK05-SP3B | 2010-09-14 10:37 | 1190 | 1330 | 11.1111 |  |  |  | 6.45 | 5.99 | 0.46
SRK05-SP4A | 2010-06-09 11:40 | 1040 | 872 | 17.5732 |  |  |  | 6.7 | 5.66 | 1.04 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK05-SP4A | 2010-09-13 13:26 | 1080 | 119 | 160.3003 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains. | 6.65 | 5.91 | 0.74
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
SRK05-SP5 | 2010-09-14 15:09 | 6260 | 6060 | 3.2468 |  |  |  | 6.75 | 5.89 | 0.86
SRK05-SP6 | 2010-09-14 |  |  | #DIV/0! | Sample not collected. Samplers noted "not enough water for purge volume. Well too deep to get water out." |  |  |  |  | 0 | Sample not collected. Samplers noted "not enough water for purge volume. Well too deep to get water out."
SRK08-P10A | 2010-06-09 17:00 | 3630 | 3012 | 18.6089 |  |  |  | 7.4 | 6.34 | 1.06 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-P10A | 2010-09-16 |  |  | #DIV/0! | Sample not collected. Samplers noted "Dry @ 12L." |  |  |  |  | 0 | Sample not collected. Samplers noted "Dry @ 12L."
SRK08-P11A | 2010-06-09 08:45 | 764 | 623 | 20.3317 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.9 | 7.14 | 0.76
SRK08-P11A | 2010-09-15 14:11 | 770 | 860 | 11.0429 |  |  |  | 7.91 | 6.83 | 1.08 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-P11B | 2010-06-09 09:15 | 928 | 767 | 18.9971 |  |  |  | 8.1 | 6.87 | 1.23 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-P11B | 2010-09-15 14:10 | 1180 | 1370 | 14.902 |  |  |  | 7.81 | 6.52 | 1.29 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-P12A | 2010-09-16 14:17 | 1240 | 1135 | 8.8421 |  |  |  | 6.47 | 5.69 | 0.78
SRK08-P12B | 2010-09-16 14:36 | 889 | 965.7 | 8.2709 |  |  |  | 6.43 | 5.69 | 0.74
SRK08-P14 | 2010-09-16 10:38 | 1990 | 2080 | 4.4226 |  |  |  | 7.9 | 7.38 | 0.52
SRK08-P15 | 2010-09-16 14:16 | 1930 | 2030 | 5.0505 |  |  |  | 7.88 | 7.66 | 0.22
SRK08-SBR2 | 2010-09-14 14:07 | 1440 | 1510 | 4.7458 |  |  |  | 6.75 | 5.9 | 0.85
SRK08-SBR3 | 2010-09-14 11:40 | 2940 | 2407 | 19.9364 |  |  |  | 7.63 | 6.96 | 0.67
SRK08-SBR4 | 2010-09-14 15:05 | 2440 | 2288 | 6.4298 |  |  |  | 7.16 | 6.44 | 0.72
SRK08-SP7A | 2010-06-09 13:40 | 2720 | 2755 | 1.2785 |  |  |  | 6.5 | 5.86 | 0.64
SRK08-SP7A | 2010-07-25 14:25 | 2390 | 2290 | 4.2735 |  |  |  | 6.53 | 6.48 | 0.05
SRK08-SP7A | 2010-09-13 15:30 | 2170 | 2380 | 9.2308 |  |  |  | 6.83 | 6.11 | 0.72
SRK08-SP7A | 2010-11-02 16:11 | 1900 | 1614 | 16.2777 |  |  |  | 6.86 | 6.39 | 0.47
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
SRK08-SP7B | 2010-06-09 13:34 | 367 | 356 | 3.0429 |  |  |  | 7.3 | 7.04 | 0.26
SRK08-SP7B | 2010-07-25 14:10 | 196 | 5.9 | 188.311 | Lab value correctly entered into emLine, but field value incorrectly entered. | Change Value | Field value changed; now correctly entered into emLine (see below). | 6.94 | 7.36 | 0.42
SRK08-SP7B | 2010-07-25 14:10 | 196 | 170 | 14.2077 | Lab value correctly entered into emLine, and incorrect field value amended (see above). | Let Value Stand | Discrepancy between lab and field values resolved. | 6.94 | 7.36 | 0.42
SRK08-SP7B | 2010-09-13 15:00 | 211 | 250 | 16.9197 |  |  |  | 7.23 | 6.79 | 0.44
SRK08-SP7B | 2010-11-02 16:18 | 249 | 246 | 1.2121 |  |  |  | 7.26 | 6.83 | 0.43
SRK08-SP8A | 2010-09-13 16:08 | 1950 | 2250 | 14.2857 |  |  |  | 6.97 | 6.17 | 0.8
SRK08-SP8B | 2010-09-13 16:18 | 1560 | 1770 | 12.6126 |  |  |  | 6.92 | 6.25 | 0.67
SRK08-SPW1 | 2010-01-06 13:23 | 1240 | 1115 | 10.6157 |  |  |  | 6.6 | 5.82 | 0.78
SRK08-SPW1 | 2010-02-17 09:40 | 1150 | 1070 | 7.2072 |  |  |  | 7.1 | 6.15 | 0.95
SRK08-SPW1 | 2010-03-09 06:40 | 1050 | 1090 | 3.7383 |  |  |  | 7.3 | 5.98 | 1.32 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW1 | 2010-04-13 14:43 | 1080 | 1040 | 3.7736 |  |  |  | 6.8 | 6.08 | 0.72
SRK08-SPW1 | 2010-05-03 17:05 | 1040 | 945 | 9.5718 |  |  |  | 7.1 | 6 | 1.1 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW1 | 2010-06-13 14:05 | 1070 | 1125 | 5.0114 |  |  |  | 6.5 | 7.62 | 1.12 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW1 | 2010-07-10 08:48 | 1100 | 1220 | 10.3448 |  |  |  | 6.43 | 5.95 | 0.48
SRK08-SPW1 | 2010-08-03 12:07 | 1080 | 1150 | 6.278 |  |  |  | 6.43 | 6.36 | 0.07
SRK08-SPW1 | 2010-09-01 10:38 | 1090 | 1360 | 22.0408 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 6.96 | 6.66 | 0.3
SRK08-SPW1 | 2010-10-07 14:01 | 1060 | 760 | 32.967 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 6.72 | 6.54 | 0.18
SRK08-SPW1 | 2010-11-08 11:31 | 1050 | 986 | 6.2868 |  |  |  | 6.84 | 5.96 | 0.88
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
SRK08-SPW2 | 2010-01-06 13:25 | 5140 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.7 | 5.8 | 0.9
SRK08-SPW2 | 2010-02-17 09:45 | 4840 | 4310 | 11.5847 |  |  |  | 7.2 | 5.97 | 1.23 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW2 | 2010-03-09 06:45 | 4370 | 3970 | 9.5923 |  |  |  | 7.3 | 6.07 | 1.23 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW2 | 2010-04-13 14:39 | 4150 | 3960 | 4.6856 |  |  |  | 6.8 | 6.1 | 0.7
SRK08-SPW2 | 2010-05-03 16:53 | 4340 | 3676 | 16.5669 |  |  |  | 7 | 6.26 | 0.74
SRK08-SPW2 | 2010-06-13 14:11 | 3900 | 3794 | 2.7554 |  |  |  | 6.7 | 8.01 | 1.31 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW2 | 2010-07-10 09:02 | 3840 | 3587 | 6.813 |  |  |  | 6.66 | 6.11 | 0.55
SRK08-SPW2 | 2010-08-03 11:59 | 3910 | 4390 | 11.5663 |  |  |  | 7.01 | 6.34 | 0.67
SRK08-SPW2 | 2010-09-01 10:47 | 3890 | 4160 | 6.7081 |  |  |  | 7.15 | 6.28 | 0.87
SRK08-SPW2 | 2010-10-07 13:49 | 3830 | 2250 | 51.9737 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past hold time. Discrepancy between values remains. | 6.85 | 6.3 | 0.55
SRK08-SPW2 | 2010-11-08 11:20 | 4000 | 3304 | 19.0581 |  |  |  | 6.87 | 6.16 | 0.71
SRK08-SPW2 | 2010-12-01 10:00 | 4130 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.91 | 6.35 | 0.56
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
SRK08-SPW3 | 2010-01-06 13:24 | 5390 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.7 | 5.69 | 1.01 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW3 | 2010-02-17 09:55 | 6620 | 5800 | 13.2045 |  |  |  | 7.2 | 5.93 | 1.27 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW3 | 2010-03-09 06:55 | 5690 | 4820 | 16.5557 |  |  |  | 6.9 | 6.1 | 0.8
SRK08-SPW3 | 2010-04-13 14:23 | 6210 | 5860 | 5.7995 |  |  |  | 6.9 | 6.17 | 0.73
SRK08-SPW3 | 2010-05-03 16:51 | 3360 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 7.3 | 6.24 | 1.06 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW3 | 2010-06-13 14:02 | 5440 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.8 | 7.77 | 0.97
SRK08-SPW3 | 2010-07-10 08:55 | 4160 | 3890 | 6.7081 |  |  |  | 6.45 | 5.93 | 0.52
SRK08-SPW3 | 2010-08-03 11:49 | 5510 | 5830 | 5.6437 |  |  |  | 6.83 | 6.05 | 0.78
SRK08-SPW3 | 2010-09-01 10:52 | 4220 | 4450 | 5.3057 |  |  |  | 7.02 | 6.16 | 0.86
SRK08-SPW3 | 2010-10-07 13:40 | 5540 | 3360 | 48.9888 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 6.97 | 6.19 | 0.78
SRK08-SPW3 | 2010-11-08 11:22 | 5520 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.75 | 5.74 | 1.01 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
SRK08-SPW3 | 2010-12-01 10:31 | 5440 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.6 | 6.12 | 0.48
TH86-17 | 2010-09-09 15:42 | 181 | 190 | 4.8518 |  |  |  | 7.55 | 7.1 | 0.45
TH86-2 | 2010-09-13 10:47 | 289 | 187 | 42.8571 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.94 | 8.39 | 0.45
TH86-5 | 2010-09-09 16:47 | 795 | 836 | 5.0276 |  |  |  | 7.26 | 6.94 | 0.32
X16A | 2010-06-07 10:05 | 356 | 340 | 4.5977 |  |  |  | 8.3 | 7.61 | 0.69
X16A | 2010-09-08 16:11 | 365 | 337 | 7.9772 |  |  |  | 7.78 | 7.36 | 0.42
X16B | 2010-06-07 10:58 | 399 | 390 | 2.2814 |  |  |  | 8.2 | 7.84 | 0.36
X16B | 2010-09-08 16:46 | 432 | 392 | 9.7087 |  |  |  | 7.9 | 7.52 | 0.38
X17A | 2010-06-08 14:31 | 573 | 633 | 9.9502 |  |  |  | 8.1 | 7.36 | 0.74
X17A | 2010-09-08 12:04 | 517 | 519 | 0.3861 |  |  |  | 7.8 | 7.5 | 0.3
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
X17B | 2010-06-08 15:03 | 1090 | 1110 | 1.8182 |  |  |  | 7.7 | 6.94 | 0.76
X17B | 2010-09-08 12:59 | 899 | 801 | 11.5294 |  |  |  | 7.47 | 6.9 | 0.57
X18A | 2010-06-07 16:45 | 1700 | 1807 | 6.1021 |  |  |  | 8 | 6.93 | 1.07 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
X18A | 2010-09-08 15:00 | 1500 | 1351 | 10.4525 |  |  |  | 7.22 | 6.92 | 0.3
X18B | 2010-06-07 16:35 | 1730 | 1727 | 0.17356 |  |  |  | 8.1 | 6.85 | 1.25 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
X18B | 2010-09-08 15:13 | 1650 | 1399 | 16.4644 |  |  |  | 7.45 | 6.98 | 0.47
X21-96A | 2010-06-11 11:23 | 17500 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 3.6 | 5.38 | 1.78 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of samples had been discarded. Discrepancy between values remains.
X21-96A | 2010-09-22 11:00 | 17900 | 17530 | 2.0886 |  |  |  | 3.67 | 5.05 | 1.38 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
X21-96B | 2010-06-11 11:50 | 2360 | 2274 | 3.7117 |  |  |  | 5.9 | 6.61 | 0.71
X21-96B | 2010-09-22 10:35 | 2810 | 3008 | 6.8065 |  |  |  | 6.31 | 6.26 | 0.05
X24-96D | 2010-06-07 13:46 | 3910 | 3660 | 6.605 |  |  |  | 7.4 | 6.4 | 1 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
X24-96D | 2010-09-09 11:38 | 3950 | 4370 | 10.0962 |  |  |  | 6.85 | 6.27 | 0.58
X25-96A | 2010-06-07 11:45 | 1420 | 1390 | 2.1352 |  |  |  | 8 | 7.18 | 0.82
X25-96A | 2010-09-09 12:43 | 1550 | 1710 | 9.816 |  |  |  | 7.43 | 7.01 | 0.42
X25-96B | 2010-06-07 12:19 | 1270 | 1270 | 0 |  |  |  | 8.1 | 7.52 | 0.58
X25-96B | 2010-09-09 12:46 | 1370 | 1430 | 4.2857 |  |  |  | 7.83 | 7.38 | 0.45
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
X26 | 2010-05-05 08:21 | 5300 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.5 | 6.28 | 0.22
X26 | 2010-06-13 14:26 | 4190 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.4 | 7.61 | 1.21 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
X26 | 2010-07-10 08:00 | 4120 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.55 | 6.33 | 0.22
X26 | 2010-08-03 10:43 | 4620 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.4 | 6.22 | 0.18
X26 | 2010-09-01 15:54 | 5060 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.71 | 6.06 | 0.65
X26 | 2010-10-19 16:57 | 4540 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.52 | 5.97 | 0.55
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit

## Refs
Change Value
Let Value Stand
Remove Value
Request Retest