## General
|  |  | Acid(pH4.5) | Acid(pH8.3) | ALK | ALKPP | CaCO3 | CaCO3-d | Chloride | CN(wad) | CNTHIO | CO3 | Colour | COND | DOC | HCO3 | NH3 | OH | pH | SO4-d | TDS | TOC | TSS | TURB
Station | Date | Sample Type | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | mg/L | TCU | µmho/cm | mg/L | mg/L | mg/L | mg/L |  | mg/L | mg/L | mg/L | mg/L | NTU
V37 | 2010-06-13 | M | <0.5 | 3.3 | 440 | 14 |  | 490 | 1.2 |  |  | 16 |  | 956 |  | 500 |  | <0.5 | 8.5 | 160 |  |  | 70
V37 | 2010-06-13 | DUPLICATE | <0.5 | 3 | 430 | 12 |  | 475 | 1 |  |  | 14 |  | 943 |  | 500 |  | <0.5 | 8.4 | 130 |  |  | 63
RPD (%) |  |  | N/A | 9.5238 | 2.2989 | 15.3846 | N/A | 3.1088 | 18.1818 | N/A | N/A | 13.3333 | N/A | 1.3691 | N/A | 0 | N/A | N/A | 0.1 | 20.6897 | N/A | N/A | 10.5263 | N/A
Comments
Action
Result
P2001-2A | 2010-06-13 | M | <0.5 | 39.1 | 450 | <0.5 |  | 971 | 1.7 |  |  | <0.5 |  | 1630 |  | 550 |  | <0.5 | 7.5 | 550 |  |  | 3300
P2001-2A | 2010-06-13 | DUPLICATE | <0.5 | 26.9 | 400 | <0.5 |  | 985 | 1.9 |  |  | <0.5 |  | 1560 |  | 490 |  | <0.5 | 7.8 | 550 |  |  | 1000
RPD (%) |  |  | N/A | 36.9697 | 11.7647 | N/A | N/A | 1.4315 | 11.1111 | N/A | N/A | N/A | N/A | 4.3887 | N/A | 11.5385 | N/A | N/A | 0.3 | 0 | N/A | N/A | 106.9767 | N/A
Comments | [22 empty] | Both values > PQL and correctly entered into emLine.
Action | [22 empty] | Let Value Stand
Result | [22 empty] | Discrepancy between values remains. Retest not carried out because insufficient sample remaining to reanalyze.
P2001-2B | 2010-06-13 | M | <0.5 | 27.1 | 410 | <0.5 |  | 790 | 1.5 |  |  | <0.5 |  | 1430 |  | 500 |  | <0.5 | 7.8 | 450 |  |  | 2200
P2001-2B | 2010-06-13 | DUPLICATE | <0.5 | 27.4 | 420 | <0.5 |  | 855 | 1.9 |  |  | <0.5 |  | 1450 |  | 510 |  | <0.5 | 7.7 | 460 |  |  | 3500
RPD (%) |  |  | N/A | 1.1009 | 2.4096 | N/A | N/A | 7.9027 | 23.5294 | N/A | N/A | N/A | N/A | 1.3889 | N/A | 1.9802 | N/A | N/A | 0.1 | 2.1978 | N/A | N/A | 45.614 | N/A
Comments
Action
Result
P09-LCD1 | 2010-09-20 | M | <0.5 | 16.9 | 270 | <0.5 |  | 441 | 0.5 |  |  | <0.5 |  | 843 |  | 330 |  | <0.5 | 7.9 | 160 |  |  | 580
P09-LCD1 | 2010-09-20 | DUPLICATE | <0.5 | 16.3 | 270 | <0.5 |  | 439 | <0.5 |  |  | <0.5 |  | 838 |  | 330 |  | <0.5 | 7.84 | 160 |  |  | 540
RPD (%) |  |  | N/A | 3.6145 | 0 | N/A | N/A | 0.45455 | N/A | N/A | N/A | N/A | N/A | 0.59488 | N/A | 0 | N/A | N/A | 0.06 | 0 | N/A | N/A | 7.1429 | N/A
Comments
Action
Result
V36 | 2010-09-18 | M | <0.5 | 40.3 | 500 | <0.5 |  | 1760 | 0.6 |  |  | <0.5 |  | 2720 |  | 600 |  | <0.5 | 7.58 | 1300 |  |  | 42
V36 | 2010-09-19 | DUPLICATE | <0.5 | 46.7 | 500 | <0.5 |  | 1780 | <0.5 |  |  | <0.5 |  | 2760 |  | 610 |  | <0.5 | 7.62 | 1300 |  |  | 21
RPD (%) |  |  | N/A | 14.7126 | 0 | N/A | N/A | 1.1299 | N/A | N/A | N/A | N/A | N/A | 1.4599 | N/A | 1.6529 | N/A | N/A | 0.04 | 0 | N/A | N/A | 66.6667 | N/A
Comments | [22 empty] | Both values > PQL and correctly entered into emLine.
Action | [22 empty] | Let Value Stand
Result | [22 empty] | Discrepancy between values remains. Retest not carried out because remainder of samples had been discarded.
RPD > 50%

## Diss. Metals
|  |  | Ag-d | Al-d | As-d | Ba-d | B-d | Be-d | Bi-d | Ca-d | Cd-d | Co-d | Cr-d | Cu-d | Fe-d | Hg-d | K-d | Li-d | Mg-d | Mn-d | Mo-d | Na-d | Ni-d | Pb-d | Sb-d | S-d | Se-d | Si-d | Sn-d | Sr-d | Ti-d | Tl-d | U-d | V-d | Zn-d | Zr-d
Station | Date | Sample Type | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | mg/L | mg/L | mg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | mg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L | µg/L
V37 | 2010-06-13 | M | <0.005 | 24.3 | 1.96 | 77.6 | <50 | <0.01 | 0.026 | 59.7 | 0.016 | 0.558 | 0.2 | 1.01 | 359 |  | 5.95 | 0.0259 | 82.7 | 103 | 18 | 29.8 | 1.59 | 0.624 | 0.06 | 50 | <0.04 | 2620 | 0.06 | 546 | 1.2 | <0.002 | 1.09 | <0.2 | 4.5 | 0.2
V37 | 2010-06-13 | DUPLICATE | <0.005 | 17.4 | 1.74 | 77.3 | <50 | <0.01 | <0.005 | 62.6 | 0.013 | 0.486 | 0.2 | 0.24 | 393 |  | 5.75 | 0.0267 | 77.5 | 97.8 | 17.3 | 27.7 | 1.36 | 0.279 | 0.04 | 47 | <0.04 | 2850 | 0.05 | 541 | 0.9 | <0.002 | 0.983 | <0.2 | 3.9 | <0.1
RPD (%) |  |  | N/A | 33.0935 | 11.8919 | 0.38735 | N/A | N/A | N/A | 4.7424 | 20.6897 | 13.7931 | 0 | 123.2 | 9.0426 | N/A | 3.4188 | 3.0418 | 6.4919 | 5.1793 | 3.966 | 7.3043 | 15.5932 | 76.412 | 40 | 6.1856 | N/A | 8.4095 | 18.1818 | 0.91996 | 28.5714 | N/A | 10.3232 | N/A | 14.2857 | N/A
Comments | [13 empty] | Both values correctly entered into emLine; however, duplicate value not > PQL. Therefore, RPD analysis not valid in this case. | [9 empty] | Both values > PQL and correctly entered into emLine.
Action | [13 empty] | Let Value Stand | [9 empty] | Let Value Stand
Result | [13 empty] | Discrepancy between values remains. | [9 empty] | Discrepancy between values remains.
P2001-2A | 2010-06-13 | M | <0.03 | 9 | 10.1 | 16.1 | <300 | <0.05 | <0.03 | 218 | <0.03 | 0.47 | <0.5 | 1.7 | 430 |  | 5.7 | 0.029 | 104 | 94.2 | 2 | 11.3 | 2.8 | 0.27 | 0.2 | 175 | <0.2 | 5000 | <0.05 | 1190 | <3 | <0.01 | 33.4 | <1 | 11.2 | <0.5
P2001-2A | 2010-06-13 | DUPLICATE | <0.03 | 3 | 9.8 | 15.5 | <300 | <0.05 | <0.03 | 223 | <0.03 | 0.42 | <0.5 | <0.3 | 387 |  | 4.1 | 0.028 | 104 | 93.2 | 1.3 | 6.4 | 3.4 | 0.37 | 0.2 | 173 | <0.2 | 5190 | <0.05 | 1180 | <3 | <0.01 | 32.8 | <1 | 5.7 | <0.5
RPD (%) |  |  | N/A | 100 | 3.0151 | 3.7975 | N/A | N/A | N/A | 2.2676 | N/A | 11.236 | N/A | N/A | 10.5263 | N/A | 32.6531 | 3.5088 | 0 | 1.0672 | 42.4242 | 55.3672 | 19.3548 | 31.25 | 0 | 1.1494 | N/A | 3.7291 | N/A | 0.84388 | N/A | N/A | 1.8127 | N/A | 65.0888 | N/A
Comments |  |  |  | Both values correctly entered into emLine; however, duplicate value not > PQL. Therefore, RPD analysis not valid in this case. | [17 empty] | Both values > PQL and correctly entered into emLine. | [12 empty] | Both values > PQL and correctly entered into emLine.
Action |  |  |  | Let Value Stand | [17 empty] | Let Value Stand | [12 empty] | Let Value Stand
Result |  |  |  | Discrepancy between values remains. | [17 empty] | Discrepancy between values remains. | [12 empty] | Discrepancy between values remains.
P2001-2B | 2010-06-13 | M | <0.005 | 7.4 | 14.4 | 23.4 | <50 | <0.01 | <0.005 | 177 | 0.016 | 1.13 | <0.1 | 0.4 | 107 |  | 4.34 | 0.029 | 84.8 | 178 | 6.88 | 13.3 | 4.39 | 1.25 | 0.71 | 145 | 0.15 | 4980 | 0.06 | 1010 | <0.5 | 0.004 | 23.6 | 0.3 | 2.9 | 0.2
P2001-2B | 2010-06-13 | DUPLICATE | <0.005 | 3.2 | 17.2 | 22.7 | <50 | <0.01 | <0.005 | 175 | 0.019 | 1.32 | <0.1 | 0.07 | 95 |  | 4.94 | 0.0321 | 102 | 201 | 6.92 | 15.9 | 4.96 | 2.73 | 0.69 | 169 | 0.13 | 4740 | 0.03 | 970 | <0.5 | 0.004 | 23.1 | 0.4 | 3.6 | 0.2
RPD (%) |  |  | N/A | 79.2453 | 17.7215 | 3.0369 | N/A | N/A | N/A | 1.1364 | 17.1429 | 15.5102 | N/A | 140.4255 | 11.8812 | N/A | 12.931 | 10.1473 | 18.4154 | 12.1372 | 0.57971 | 17.8082 | 12.1925 | 74.3719 | 2.8571 | 15.2866 | 14.2857 | 4.9383 | 66.6667 | 4.0404 | N/A | 0 | 2.1413 | 28.5714 | 21.5385 | 0
Comments |  |  |  | Both values > PQL and correctly entered into emLine. | [9 empty] | Both values correctly entered into emLine; however, duplicate value not > PQL. Therefore, RPD analysis not valid in this case. | [9 empty] | Both values > PQL and correctly entered into emLine. |  |  |  |  | Both values correctly entered into emLine; however, duplicate value not > PQL. Therefore, RPD analysis not valid in this case.
Action |  |  |  | Let Value Stand | [9 empty] | Let Value Stand | [9 empty] | Let Value Stand |  |  |  |  | Let Value Stand
Result |  |  |  | Discrepancy between values remains. | [9 empty] | Discrepancy between values remains. | [9 empty] | Discrepancy between values remains. |  |  |  |  | Discrepancy between values remains.
P09-LCD1 | 2010-09-20 | M | 0.042 | 186 | 89 | 68 | <50 | <0.01 | 0.008 | 122 | 0.072 | 0.623 | 0.7 | 1.02 | 3850 |  | 2.82 | 0.0109 | 33.3 | 530 | 5.59 | 16.8 | 1.29 | 39.5 | 0.12 | 74 | <0.04 | 7290 | 0.06 | 762 | 5.2 | 0.02 | 6.95 | 0.4 | 10.8 | <0.1
P09-LCD1 | 2010-09-20 | DUPLICATE | 0.024 | 159 | 88.5 | 66.7 | <50 | <0.01 | 0.007 | 121 | 0.059 | 0.623 | 0.6 | 0.99 | 3850 |  | 2.85 | 0.0104 | 33.1 | 530 | 5.71 | 17.2 | 1.28 | 41.4 | 0.11 | 75 | <0.04 | 7120 | 0.06 | 785 | 5 | 0.019 | 7.04 | 0.3 | 9.2 | <0.1
RPD (%) |  |  | 54.5455 | 15.6522 | 0.56338 | 1.9302 | N/A | N/A | 13.3333 | 0.82305 | 19.8473 | 0 | 15.3846 | 2.9851 | 0 | N/A | 1.0582 | 4.6948 | 0.60241 | 0 | 2.1239 | 2.3529 | 0.77821 | 4.6972 | 8.6957 | 1.3423 | N/A | 2.3595 | 0 | 2.9735 | 3.9216 | 5.1282 | 1.2866 | 28.5714 | 16 | N/A
Comments |  |  | Both values correctly entered into emLine; however, duplicate value not > PQL. Therefore, RPD analysis not valid in this case.
Action |  |  | Let Value Stand
Result |  |  | Discrepancy between values remains.
V36 | 2010-09-18 | M | <0.005 | 2.4 | 2.55 | 8.24 | <50.0 | <0.01 | <0.005 | 368 | 0.388 | 1.87 | <0.1 | 1.96 | 14 |  | 4.71 | 0.0435 | 204 | 132 | 1.31 | 7.54 | 12.1 | 2.41 | 0.15 | 409 | 0.7 | 5510 | 0.08 | 1790 | <0.5 | 0.087 | 46.6 | 0.6 | 49.8 | 0.2
V36 | 2010-09-19 | DUPLICATE | <0.005 | 3.3 | 2.41 | 8.12 | <50.0 | <0.01 | 0.007 | 367 | 0.31 | 1.91 | <0.1 | 2.11 | 12 |  | 4.71 | 0.0408 | 209 | 131 | 1.05 | 7.56 | 12 | 2.39 | 0.12 | 435 | 0.58 | 5460 | 0.03 | 1770 | <0.5 | 0.083 | 47.1 | 0.6 | 41.1 | <0.1
RPD (%) |  |  | N/A | 31.5789 | 5.6452 | 1.467 | N/A | N/A | N/A | 0.27211 | 22.3496 | 2.1164 | N/A | 7.371 | 15.3846 | N/A | 0 | 6.4057 | 2.4213 | 0.76046 | 22.0339 | 0.2649 | 0.82988 | 0.83333 | 22.2222 | 6.1611 | 18.75 | 0.91158 | 90.9091 | 1.1236 | N/A | 4.7059 | 1.0672 | 0 | 19.1419 | N/A
Comments | [28 empty] | Both values correctly entered into emLine; however, duplicate value not > PQL. Therefore, RPD analysis not valid in this case.
Action | [28 empty] | Let Value Stand
Result | [28 empty] | Discrepancy between values remains.
RPD > 50%
RPD > 100%

## Refs
Request Retest
Change Value | N/A
Let Value Stand
Remove Value
Request Retest
Change Value |  | N/A
Let Value Stand
Remove Value
Request Retest