## Final
|  | COND | CONDF | RPD | Comments | Action | Result | pH | pHF | Difference | Comments | Action | Result
Station | Date | µmho/cm | µmho/cm | %
LCD | 2010-05-12 11:52 | 2400 | 2259 | 6.0528 |  |  |  | 3.9 | 4.43 | 0.53
LCD | 2010-06-16 11:20 | 5950 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 3.49 | 3.13 | 0.36
LCD | 2010-07-14 12:48 | 7090 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 3.28 | 3.21 | 0.07
LCD | 2010-08-04 11:55 | 7660 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 3.19 | 2.67 | 0.52
LCD | 2010-09-07 11:20 | 8210 | 9240 | 11.8052 |  |  |  | 3.19 | 3.04 | 0.15
LCD | 2010-10-05 14:20 | 7770 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 3.3 | 2.15 | 1.15 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
MOOSE SEEP | 2010-01-07 13:42 | 2380 | 2500 | 4.918 |  |  |  | 7.9 | 7.45 | 0.45
MOOSE SEEP | 2010-02-03 15:00 | 2400 | 2260 | 6.0086 |  |  |  | 8 | 7.45 | 0.55
MOOSE SEEP | 2010-03-02 10:52 | 2320 | 2170 | 6.6815 |  |  |  | 8 | 7.81 | 0.19
MOOSE SEEP | 2010-04-07 13:55 | 2280 | 2350 | 3.0238 |  |  |  | 8.3 | 7.72 | 0.58
MOOSE SEEP | 2010-05-01 13:00 | 2240 | 1920 | 15.3846 |  |  |  | 8 | 8.51 | 0.51
MOOSE SEEP | 2010-05-18 11:11 | 1990 | 2028 | 1.8915 |  |  |  | 8 | 7.89 | 0.11
MOOSE SEEP | 2010-06-02 10:59 | 1990 | 2045 | 2.7261 |  |  |  | 8.5 | 7.87 | 0.63
MOOSE SEEP | 2010-06-20 10:46 | 2080 | 2030 | 2.4331 |  |  |  | 8.3 | 7.76 | 0.54
MOOSE SEEP | 2010-07-07 11:10 | 2110 | 2290 | 8.1818 |  |  |  | 7.95 | 7.72 | 0.23
MOOSE SEEP | 2010-07-22 11:34 | 2220 | 1854 | 17.9676 |  |  |  | 8.08 | 7.71 | 0.37
MOOSE SEEP | 2010-08-05 11:03 | 2260 | 2278 | 0.7933 |  |  |  | 8.05 | 7.76 | 0.29
MOOSE SEEP | 2010-08-18 14:30 | 2260 | 2164 | 4.34 |  |  |  | 8.19 | 7.72 | 0.47
MOOSE SEEP | 2010-09-07 11:40 | 2360 | 2312 | 2.0548 |  |  |  | 8.22 | 7.55 | 0.67
MOOSE SEEP | 2010-09-23 14:03 | 2380 | 2006 | 17.0543 |  |  |  | 7.85 | 7.68 | 0.17
MOOSE SEEP | 2010-10-07 10:15 | 2350 | 2320 | 1.2848 |  |  |  | 8.11 | 7.74 | 0.37
MOOSE SEEP | 2010-10-21 09:30 | 2370 | 2243 | 5.5062 |  |  |  | 8.22 | 7.91 | 0.31
MOOSE SEEP | 2010-11-04 09:45 | 2360 | 2313 | 2.0116 |  |  |  | 8.18 | 7.84 | 0.34
MOOSE SEEP | 2010-12-02 11:05 | 2310 | 1470 | 44.4444 |  |  |  | 8.24 | 7.91 | 0.33
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
SRK GD01 | 2010-12-01 14:50 | 3480 | 2320 | 40 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. Multiple flagged conductivity values on December 1, 2010 suggests calibration on field meter may have been off. | 8.13 | 7.56 | 0.57
V1 | 2010-01-07 12:34 | 112 | 140 | 22.2222 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.7 | 7.76 | 0.06
V1 | 2010-02-18 12:54 | 118 | 80 | 38.3838 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. Multiple flagged conductivity values on February 18, 2010 suggests calibration on field meter may have been off. | 7.8 | 8.34 | 0.54
V1 | 2010-03-29 14:33 | 121 | 122 | 0.82305 |  |  |  | 7.9 | 7.91 | 0.01
V1 | 2010-04-20 13:45 | 113 | 101 | 11.215 |  |  |  | 7.8 | 7.9 | 0.1
V1 | 2010-05-12 12:17 | 86 | 99 | 14.0541 |  |  |  | 7.4 | 7.94 | 0.54
V1 | 2010-06-16 11:38 | 46 | 54 | 16 |  |  |  | 7.42 | 7.16 | 0.26
V1 | 2010-07-14 10:17 | 65 | 60 | 8 |  |  |  | 7.56 | 8.2 | 0.64
V1 | 2010-07-14 10:27 | 65 | 60 | 8 |  |  |  | 7.52 | 8.2 | 0.68
V1 | 2010-08-04 12:30 | 84 | 81 | 3.6364 |  |  |  | 7.8 | 8.29 | 0.49
V1 | 2010-09-07 09:20 | 78 | 30 | 88.8889 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains. | 7.61 | 8.38 | 0.77
V1 | 2010-10-05 14:55 | 88 | 103 | 15.7068 |  |  |  | 7.58 | 5.23 | 2.35 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains.
V1 | 2010-11-01 14:55 | 99 | 89 | 10.6383 |  |  |  | 7.72 | 8.67 | 0.95
V1 | 2010-12-01 14:00 | 101 | 140 | 32.3651 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. Multiple flagged conductivity values on December 1, 2010 suggests calibration on field meter may have been off. | 7.22 | 8.19 | 0.97
V14 | 2010-06-01 10:20 | 3610 | 3791 | 4.8912 |  |  |  | 8.3 | 8.12 | 0.18
V14 | 2010-10-06 |  |  | #DIV/0! | [5 empty] | 0
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
V15 | 2010-01-07 13:00 | 4020 | 3840 | 4.5802 |  |  |  | 7.5 | 6.62 | 0.88
V15 | 2010-01-21 12:06 | 4030 | 3710 | 8.2687 |  |  |  | 7.5 | 6.76 | 0.74
V15 | 2010-02-03 15:37 | 4030 | 2954 | 30.8133 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. Multiple flagged conductivity values on February 3, 2010 suggests calibration on field meter may have been off. | 7.7 | 6.99 | 0.71
V15 | 2010-02-18 12:25 | 4040 | 1780 | 77.6632 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of sample had been discarded. Therefore, discrepancy between lab and field values remains. Multiple flagged conductivity values on February 18, 2010 suggests calibration on field meter may have been off. | 7.8 | 7.06 | 0.74
V15 | 2010-03-02 09:59 | 3990 | 3630 | 9.4488 |  |  |  | 7.6 | 7.03 | 0.57
V15 | 2010-03-23 11:46 | 4070 | 3590 | 12.5326 |  |  |  | 8.1 | 7 | 1.1 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V15 | 2010-04-07 15:00 | 3990 | 2788 | 35.4677 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 8 | 6.97 | 1.03 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V15 | 2010-04-19 14:41 | 2550 | 2800 | 9.3458 |  |  |  | 7.9 | 7.19 | 0.71
V15 | 2010-05-01 13:45 | 2920 | 2560 | 13.1387 |  |  |  | 7.8 | 7.79 | 0.01
V15 | 2010-05-18 12:20 | 3690 | 3535 | 4.2907 |  |  |  | 8.3 | 7.15 | 1.15 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V15 | 2010-06-02 10:16 | 3910 | 3948 | 0.96717 |  |  |  | 8.2 | 6.88 | 1.32 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V15 | 2010-06-15 11:29 | 3820 | 3249 | 16.155 |  |  |  | 8.2 | 6.91 | 1.29 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V15 | 2010-07-07 11:30 | 3830 | 3541 | 7.8415 |  |  |  | 7.8 | 7.44 | 0.36
V15 | 2010-07-22 10:35 | 3930 | 3101 | 23.5813 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.7 | 7.21 | 0.49
V15 | 2010-08-05 09:47 | 3990 | 3958 | 0.80523 |  |  |  | 7.66 | 6.99 | 0.67
V15 | 2010-08-18 11:06 | 3910 | 3527 | 10.2999 |  |  |  | 7.84 | 6.93 | 0.91
V15 | 2010-09-07 13:10 | 3820 | 3531 | 7.8629 |  |  |  | 7.94 | 6.87 | 1.07 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V15 | 2010-09-23 13:35 | 3800 |  | 200 | Lab value correctly entered into emLine. However, field value not entered. | Change Value | Field value entered into emLine. (see below) | 7.69 |  | 7.69 | Lab value correctly entered into emLine. However, field value not entered. | Change Value | Field value entered into emLine. (see below)
V15 | 2010-09-23 13:35 | 3800 | 2500 | 41.2698 | Field and lab values ocrretly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.69 | 6.8 | 0.89
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
V15 | 2010-10-07 10:45 | 3740 | 3435 | 8.5017 |  |  |  | 7.77 | 7.45 | 0.32
V15 | 2010-10-21 10:52 | 3750 | 3484 | 7.3542 |  |  |  | 7.88 | 7.04 | 0.84
V15 | 2010-11-04 09:26 | 3810 | 3568 | 6.56 |  |  |  | 7.82 | 7.19 | 0.63
V15 | 2010-11-18 11:20 | 3880 | 2220 | 54.4262 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains. | 7.75 | 6.96 | 0.79
V15 | 2010-12-01 15:49 | 3860 | 2271 | 51.8349 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains. | 7.93 | 6.99 | 0.94
V15 | 2010-12-16 09:00 | 4290 | 4150 | 3.3175 |  |  |  | 7.72 | 7.22 | 0.5
V16 | 2010-10-06 11:25 | 2140 | 2521 | 16.3484 |  |  |  | 8.17 | 6.56 | 1.61 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains.
V17A | 2010-06-16 12:48 | 104 | 104 | 0 |  |  |  | 7.5 | 8.05 | 0.55
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
V2 | 2010-01-07 13:31 | 2270 | 2190 | 3.5874 |  |  |  | 7.9 | 7.56 | 0.34
V2 | 2010-02-03 15:10 | 2540 | 825 | 101.9316 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of sample had been discarded. Therefore, discrepancy between lab and field values remains. Multiple flagged conductivity values on February 3, 2010 suggests calibration on field meter may have been off. | 8.1 | 7.87 | 0.23
V2 | 2010-03-02 10:15 | 2230 | 2089 | 6.5293 |  |  |  | 8.1 | 7.17 | 0.93
V2 | 2010-04-07 14:20 | 2200 | 2250 | 2.2472 |  |  |  | 7.9 | 7.9 | 0
V2 | 2010-05-01 12:35 | 1910 | 1680 | 12.8134 |  |  |  | 8.1 | 8.46 | 0.36
V2 | 2010-05-18 11:30 | 1990 | 1905 | 4.3646 |  |  |  | 7.9 | 8.1 | 0.2
V2 | 2010-06-02 11:11 | 2000 | 2155 | 7.4609 |  |  |  | 8.4 | 8.03 | 0.37
V2 | 2010-06-20 10:00 | 1930 | 1980 | 2.5575 |  |  |  | 8.2 | 7.98 | 0.22
V2 | 2010-07-07 10:56 | 1890 | 2080 | 9.5718 |  |  |  | 8.23 | 7.97 | 0.26
V2 | 2010-07-22 11:20 | 1930 | 1730 | 10.929 |  |  |  | 8.2 | 8 | 0.2
V2 | 2010-08-05 11:17 | 2080 | 2109 | 1.3846 |  |  |  | 8.11 | 8.1 | 0.01
V2 | 2010-08-18 12:10 | 2050 | 1972 | 3.8787 |  |  |  | 8.26 | 8.02 | 0.24
V2 | 2010-09-07 12:03 | 2050 | 2042 | 0.39101 |  |  |  | 8.26 | 7.97 | 0.29
V2 | 2010-09-23 13:50 | 2040 | 1146 | 56.1205 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains. | 8.18 | 7.99 | 0.19
V2 | 2010-10-07 10:25 | 1950 | 1960 | 0.51151 |  |  |  | 8.12 | 7.94 | 0.18
V2 | 2010-10-21 09:41 | 1940 | 1850 | 4.7493 |  |  |  | 8.28 | 8.19 | 0.09
V2 | 2010-11-04 09:25 | 1940 | 1938 | 0.10315 |  |  |  | 8.23 | 8.23 | 0
V2 | 2010-12-02 11:00 | 2330 | 2180 | 6.6519 |  |  |  | 8.07 | 8.38 | 0.31
V20 | 2010-06-01 11:35 | 104 | 218 | 70.8075 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of sample had been discarded. Discrepancy between values remains. | 7.8 | 8.19 | 0.39
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
V22 | 2010-03-04 15:22 | 2160 | 2060 | 4.7393 |  |  |  | 5.1 | 5.72 | 0.62
V22 | 2010-06-16 12:16 | 2160 | 2166 | 0.27739 |  |  |  | 3.2 | 3.13 | 0.07
V22 | 2010-09-07 13:40 | 2380 | 2424 | 1.8318 |  |  |  | 3.58 | 3.46 | 0.12
V22 | 2010-12-16 10:02 | 1850 | 20 | 195.7219 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Measurement re-checked with same meter, gave same result. V23, sampled right after V22 with same meter, showed no issues with CONDF. | 6.51 | 8.06 | 1.55 | Lab value correctly entered into emLine. However, field value incorrectly entered. | Change Value | Field value entered into emLine. (see below)
V22 | 2010-12-16 10:02 | 1850 | 20 | 195.7219 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Measurement re-checked with same meter, gave same result. V23, sampled right after V22 with same meter, showed no issues with CONDF. | 6.51 | 7.17 | 0.66
V23 | 2010-03-04 15:35 | 1030 | 950 | 8.0808 |  |  |  | 8.1 | 7.63 | 0.47
V23 | 2010-06-16 12:35 | 978 | 990 | 1.2195 |  |  |  | 8.1 | 7.99 | 0.11
V23 | 2010-09-07 14:00 | 992 | 1007 | 1.5008 |  |  |  | 8.38 | 7.73 | 0.65
V23 | 2010-12-16 10:41 | 1300 | 1190 | 8.8353 |  |  |  | 8.06 | 7.17 | 0.89 | Lab value correctly entered into emLine. However, field value incorrectly entered. | Change Value | Field value entered into emLine. (see below)
V23 | 2010-12-16 10:41 | 1300 | 1190 | 8.8353 |  |  |  | 8.06 | 8.06 | 0
V24 | 2010-06-22 08:48 | 2140 | 1915 | 11.0974 |  |  |  | 3.4 | 3.2 | 0.2
V24 | 2010-06-29 09:19 | 2170 | 2052 | 5.5898 |  |  |  | 3.28 | 3.43 | 0.15
V24 | 2010-07-06 11:50 | 2170 | 2046 | 5.8824 |  |  |  | 3.38 | 3.2 | 0.18
V24 | 2010-07-13 11:18 | 2270 | 2346 | 3.2929 |  |  |  | 3.51 | 3.44 | 0.07
V25 | 2010-06-22 09:00 | 2010 | 1872 | 7.1097 |  |  |  | 8.3 | 9.19 | 0.89
V25 | 2010-06-29 08:45 | 2180 | 2065 | 5.4181 |  |  |  | 7.74 | 8.83 | 1.09 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V25 | 2010-07-06 11:22 | 2280 | 2089 | 8.7434 |  |  |  | 7.71 | 9.11 | 1.4 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V25 | 2010-07-13 10:12 | 2360 | 2049 | 14.1075 |  |  |  | 8.06 | 8.86 | 0.8
V25 | 2010-08-12 15:15 | 2340 | 2003 | 15.5192 |  |  |  | 7.72 | 8.11 | 0.39
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
V25BSP | 2010-04-27 11:16 | 625 | 597 | 4.5827 |  |  |  | 7.6 | 8.34 | 0.74
V25BSP | 2010-05-11 08:20 | 299 | 230 | 26.087 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 7.8 | 7.67 | 0.13
V25BSP | 2010-06-15 10:47 | 452 | 451 | 0.22148 |  |  |  | 7.9 | 7.93 | 0.03
V25BSP | 2010-06-22 08:24 | 425 | 403 | 5.314 |  |  |  | 8 | 8.14 | 0.14
V25BSP | 2010-06-29 09:10 | 1910 | 1814 | 5.1557 |  |  |  | 7.53 | 7.91 | 0.38
V25BSP | 2010-07-06 12:14 | 1850 | 1772 | 4.307 |  |  |  | 7.8 | 7.28 | 0.52
V25BSP | 2010-07-13 10:54 | 2080 | 2160 | 3.7736 |  |  |  | 7.65 | 7.93 | 0.28
V25BSP | 2010-07-13 11:12 | 2080 | 2160 | 3.7736 |  |  |  | 7.59 | 7.93 | 0.34
V25BSP | 2010-08-05 08:29 | 1340 | 1411 | 5.1618 |  |  |  | 7.68 | 7.51 | 0.17
V25BSP | 2010-08-12 15:02 | 1820 | 1594 | 13.2396 |  |  |  | 7.76 | 7.79 | 0.03
V25BSP | 2010-09-07 09:56 | 1440 | 1600 | 10.5263 |  |  |  | 7.72 | 8.04 | 0.32
V25BSP | 2010-10-05 13:54 | 1260 | 1310 | 3.8911 |  |  |  | 7.53 | 8.95 | 1.42 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V25BSP | 2010-11-01 14:40 | 1230 | 1140 | 7.5949 |  |  |  | 7.66 | 7.92 | 0.26
V25BSP | 2010-12-02 10:11 | 1110 | 1124 | 1.2534 |  |  |  | 7.58 | 7.89 | 0.31
V27 | 2010-01-18 15:45 | 572 | 630 | 9.6506 |  |  |  | 8 | 7.82 | 0.18
V27 | 2010-02-24 14:40 | 632 | 565 | 11.1947 |  |  |  | 8.1 | 6.94 | 1.16 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V27 | 2010-03-29 13:45 | 676 | 666 | 1.4903 |  |  |  | 8.2 | 8.68 | 0.48
V27 | 2010-04-20 14:50 | 694 | 666 | 4.1176 |  |  |  | 8 | 8.3 | 0.3
V27 | 2010-05-12 10:30 | 416 | 431 | 3.5419 |  |  |  | 7.8 | 8.35 | 0.55
V27 | 2010-06-16 10:30 | 168 | 168 | 0 |  |  |  | 7.72 | 8.07 | 0.35
V27 | 2010-07-14 11:57 | 852 | 867 | 1.7452 |  |  |  | 7.59 | 7.94 | 0.35
V27 | 2010-08-04 10:30 | 311 | 291 | 6.6445 |  |  |  | 8.02 | 8.14 | 0.12
V27 | 2010-09-07 12:20 | 272 | 290 | 6.4057 |  |  |  | 7.89 | 5.75 | 2.14 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains.
V27 | 2010-10-05 10:35 | 389 | 411 | 5.5 |  |  |  | 7.9 | 8.67 | 0.77
V27 | 2010-11-01 13:30 | 466 | 434 | 7.1111 |  |  |  | 8.06 | 8.3 | 0.24
V27 | 2010-12-01 11:55 | 517 | 330 | 44.1558 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. Multiple flagged conductivity values on December 1, 2010 suggests calibration on field meter may have been off. | 8.01 | 8.03 | 0.02
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
V2A | 2010-02-03 15:15 | 2550 | 1070 | 81.768 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of sample had been discarded. | 8.1 | 8.02 | 0.08
V2A | 2010-03-02 11:01 | 2290 | 2180 | 4.9217 |  |  |  | 8.1 | 7.88 | 0.22
V2A | 2010-04-07 14:40 | 2180 | 2310 | 5.7906 |  |  |  | 7.9 | 7.77 | 0.13
V2A | 2010-05-01 13:30 | 1790 | 1620 | 9.9707 |  |  |  | 8.1 | 8.67 | 0.57
V2A | 2010-05-18 11:45 | 2240 | 2184 | 2.5316 |  |  |  | 8.2 | 8.31 | 0.11
V2A | 2010-06-02 10:30 | 2350 | 2451 | 4.2075 |  |  |  | 8.4 | 8.23 | 0.17
V2A | 2010-06-15 11:44 | 2360 | 2118 | 10.8084 |  |  |  | 8.5 | 8.26 | 0.24
V2A | 2010-07-07 11:50 | 2370 | 2238 | 5.7292 |  |  |  | 8.35 | 8.2 | 0.15
V2A | 2010-07-22 12:10 | 2490 | 2097 | 17.1354 |  |  |  | 8.24 | 8.16 | 0.08
V2A | 2010-08-05 10:15 | 2800 | 2728 | 2.6049 |  |  |  | 8.24 | 8.25 | 0.01
V2A | 2010-08-18 11:45 | 2610 | 2351 | 10.4414 |  |  |  | 8.4 | 8.27 | 0.13
V2A | 2010-09-07 12:33 | 2530 | 2360 | 6.953 |  |  |  | 8.45 | 8.17 | 0.28
V2A | 2010-09-23 14:00 | 2490 | 1510 | 49 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 8.29 | 8 | 0.29
V2A | 2010-10-07 10:30 | 2410 | 2389 | 0.87518 |  |  |  | 8.19 | 8.35 | 0.16
V2A | 2010-10-21 10:15 | 2450 | 50 | 192 | Field and lab values correctly entered into emLine. | Request Retest | Retest performed, see results below. | 8.32 | 8.52 | 0.2
V2A | 2010-11-04 09:40 | 2360 | 2240 | 5.2174 |  |  |  | 8.25 | 8.03 | 0.22
V2A Retest | 2010-10-21 10:15 | 1870 | 50 | 189.5833 | Retest for October 21 V2A EC. Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 8.32 | 8.52 | 0.2
V30 | 2010-06-01 12:10 | 6210 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.2 | 6.07 | 0.13
V30 | 2010-10-06 10:39 | 7200 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 6.27 | 5.8 | 0.47
V31 | 2010-10-06 |  |  | #DIV/0! | [5 empty] | 0
V32 | 2010-10-06 |  |  | #DIV/0! | [5 empty] | 0
V33 | 2010-06-01 12:42 | 39800 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 3.7 | 5.11 | 1.41 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V33 | 2010-10-06 10:05 | 43700 | >3999 | #VALUE! | Field and lab values not comparable because conductivity greater than maximum measurable level for field meter used. |  |  | 3.71 | 4.83 | 1.12 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
V4 | 2010-01-18 15:00 | 709 | 810 | 13.2982 |  |  |  | 8.1 | 7.89 | 0.21
V4 | 2010-02-24 14:30 | 724 | 638 | 12.6285 |  |  |  | 8.1 | 7.32 | 0.78
V4 | 2010-03-29 14:30 | 709 | 724 | 2.0935 |  |  |  | 8.1 | 7.9 | 0.2
V4 | 2010-04-20 15:00 | 506 | 491 | 3.009 |  |  |  | 8.2 | 8.3 | 0.1
V4 | 2010-05-12 11:13 | 349 | 312 | 11.1952 |  |  |  | 8.1 | 8.03 | 0.07
V4 | 2010-06-16 10:01 | 518 | 545 | 5.08 |  |  |  | 8.24 | 8.37 | 0.13
V4 | 2010-07-14 12:13 | 588 | 609 | 3.5088 |  |  |  | 8.26 | 8.31 | 0.05
V4 | 2010-08-04 10:55 | 620 | 572 | 8.0537 |  |  |  | 8.31 | 8.33 | 0.02
V4 | 2010-09-07 12:39 | 637 | 690 | 7.9879 |  |  |  | 8.45 | 6.68 | 1.77 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Discrepancy between values remains.
V4 | 2010-10-05 11:07 | 615 | 652 | 5.8406 |  |  |  | 8.28 | 8.43 | 0.15
V4 | 2010-11-01 13:00 | 676 | 636 | 6.0976 |  |  |  | 8.31 | 8.11 | 0.2
V4 | 2010-12-01 11:30 | 651 | 430 | 40.8881 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. Multiple flagged conductivity values on December 1, 2010 suggests calibration on field meter may have been off. | 8.22 | 7.88 | 0.34
V5 | 2010-01-06 13:05 | 841 | 715 | 16.1954 |  |  |  | 8 | 7.45 | 0.55
V5 | 2010-02-18 10:12 | 790 | 1717 | 73.9529 | Field and lab values correctly entered into emLine. | Request Retest | Retest not possible because was requested too late. Remainder of sample had been discarded. Therefore discrepancy between lab and field values remains. | 8.2 | 8.3 | 0.1
V5 | 2010-03-30 09:54 | 837 | 777 | 7.4349 |  |  |  | 8.2 | 8.86 | 0.66
V5 | 2010-04-20 08:48 | 491 | 499 | 1.6162 |  |  |  | 8.2 | 8.44 | 0.24
V5 | 2010-05-12 14:27 | 473 | 449 | 5.2061 |  |  |  | 8.1 | 8.52 | 0.42
V5 | 2010-06-17 09:40 | 388 | 394 | 1.5345 |  |  |  | 8.25 | 8.28 | 0.03
V5 | 2010-07-14 15:14 | 335 | 351 | 4.6647 |  |  |  | 8.21 | 8.21 | 0
V5 | 2010-08-04 14:35 | 477 | 446 | 6.7172 |  |  |  | 8.37 | 8.46 | 0.09
V5 | 2010-09-07 14:38 | 479 | 520 | 8.2082 |  |  |  | 8.39 | 7.58 | 0.81
V5 | 2010-10-05 16:34 | 499 | 580 | 15.0139 |  |  |  | 8.21 | 6.89 | 1.32 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains.
V5 | 2010-11-02 17:30 | 587 | 552 | 6.1457 |  |  |  | 8.31 | 8.25 | 0.06
V5 | 2010-12-01 09:05 | 638 | 350 | 58.2996 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Multiple flagged conductivity values on December 1, 2010 suggests calibration on field meter may have been off. | 8.24 | 7.86 | 0.38
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit
V8 | 2010-01-06 12:40 | 781 | 675 | 14.5604 |  |  |  | 8.1 | 7.2 | 0.9
V8 | 2010-02-18 09:06 | 772 | 720 | 6.9705 |  |  |  | 8.2 | 8.17 | 0.03
V8 | 2010-03-30 09:05 | 802 | 552 | 36.9276 | Field and lab values correctly entered into emLine. | Let Value Stand | Discrepancy between lab and field values remains. | 8.3 | 8.72 | 0.42
V8 | 2010-04-20 08:38 | 619 | 720 | 15.0859 |  |  |  | 8.1 | 8.37 | 0.27
V8 | 2010-05-12 14:53 | 463 | 420 | 9.7395 |  |  |  | 8 | 8.52 | 0.52
V8 | 2010-06-17 09:02 | 308 | 286 | 7.4074 |  |  |  | 8.18 | 8.31 | 0.13
V8 | 2010-07-14 14:49 | 684 | 700 | 2.3121 |  |  |  | 8.07 | 7.93 | 0.14
V8 | 2010-07-14 14:59 | 686 | 700 | 2.0202 |  |  |  | 8.05 | 7.93 | 0.12
V8 | 2010-08-04 15:20 | 460 | 443 | 3.7652 |  |  |  | 8.32 | 8.24 | 0.08
V8 | 2010-09-07 15:30 | 426 | 460 | 7.6749 |  |  |  | 8.29 | 7.32 | 0.97
V8 | 2010-10-05 17:02 | 488 | 559 | 13.5626 |  |  |  | 8.06 | 7.35 | 0.71
V8 | 2010-11-02 17:47 | 564 | 531 | 6.0274 |  |  |  | 8.26 | 8.75 | 0.49
V8 | 2010-12-01 08:30 | 627 | 350 | 56.7042 | Field and lab values correctly entered into emLine. | Let Value Stand | Retest request would be filed past sample hold time. Multiple flagged conductivity values on December 1, 2010 suggests calibration on field meter may have been off. | 8.25 | 7.81 | 0.44
RPD > 50% or pH difference > 1.5 pH unit
RPD > 20% or pH difference > 1 pH unit

## Refs
Change Value
Let Value Stand
Remove Value
Request Retest