Response to Comments from Draft Report Version (as Received December 9, 2016)

| Comment No. | Page | Comment | Response |
| --- | --- | --- | --- |
| 1 | 7 | Space needed | Report has been edited. |
| 2 | 10 | Will it be clear for those taking future measurements which reference point was used? If possible, consider adding this reference point for each location to one of the tables. | Information on which reference point was used was not collected as part of the field program, but it is something that could be collected as part of future programs. |
| 3 | 14 | Please fix table items that are cut-off | Table has been reformatted to show all text headings clearly |
| 4 | 18 | Within the results text, please include a bullet list (or table) of all of the locations with CCME FAL exceedances and what parameters were exceeded at that location. Ex. - P01-11: field pH, field DO, etc. - P01-02A: field DO, etc. | Summary tables have been added to the text to provide this information. |
| 5 | 22 | Please provide more guidance on results outside of acceptable range (concerns? is there a rationale or explanation?) | The text has been updated to provide more guidance as the acceptability of results. |
| 6 | 24 | Any comments for the priority of these recommendations? Importance of groundwater data at these locations? | Since our team has been able to successfully sample all of the wells identified, the recommendations are general not high or critical priority. As we do not have information on the importance of groundwater quality results for any particular area, it is also difficult to determine at this time which wells would be candidates for redevelopment first. |
| 7 | Table 3-1 | Please include at bottom of table the meaning of these superscripts. Also, for limits please indicate whether within guidelines is above or below value if a range is not given. | The table notes have been added to each table, and clarification regarding guidelines has been provided. |
| 8 | Table 3-1 | Please include a legend below all tables indicating what greyed out boxes versus greyed out font means so tables can be stand-alone. Also dark grey versus light grey boxes? | The table notes have been added to each table which includes the reference to shading. |