## Analytical Results
|  | Site Location | Dome Creek | [8 empty] | Mill Complex | [8 empty] | Brown McDade Pit | [12 empty] | Pony Creek | [6 empty] | Seepage Dam |  |  | Tailings Facility | [10 empty] | Tailings Facility
|  | Sample ID | GSI-DC-01B | GSI-DC-02B | GSI-DC-03B | GSI-DC-05B | GSI-DC-06B | GSI-DC-07B | GSI-DC-08B | GSI-DC-09B | GSI-DC-10B | GSI-HA-01A | GSI-HA-02A | GSI-HA-03A | GSI-HA-04A | GSI-HA-05A | MW09-16 | MW09-17 | MW09-18 | MW09-19 | CH-P-13-01/10 | CH-P-13-03/10 | CH-P-13-03/50 | CH-P-13-04/10 | CH-P-13-04/35 | CH-P-13-05/50 | GLL07-01 | GLL07-02 | GLL07-03 | MW09-13 | MW09-14 | MW09-15 | CH-P-13-02/10 | GSI-PC-02B | GSI-PC-03B | GSI-PC-04B | GSI-PC-05B | MP09-02 | MP09-03 | MP09-08 | W14103083BH01 | W14103083BH02 | W14103083BH04 | MP09-04 | MP09-05 | MP09-09 | MP09-10 | MP09-11 | MP09-12 | MP09-14 | MW09-01 | MW09-02 | MW09-03 | MW09-04 | MW09-05 | MW09-06 | MW09-07 | MW09-08 | MW09-11 | MW09-20 | MW09-21 | MW09-22 | MW09-23 | MW09-24 | W14103083BH03
|  | Date Sampled | 2015-06-01 | 2015-06-01 | 2015-06-02 | 2015-06-03 | 2015-06-04 | 2015-06-04 | 2015-06-04 | 2015-06-04 | 2015-06-04 | 2015-06-02 13:50 | 2015-06-01 15:30 | 2015-06-01 16:15 | 2015-06-01 | 2015-06-01 16:45 | 2015-06-01 18:00 | 2015-06-02 11:35 | 2015-06-02 10:10 | 2015-06-02 08:30 | 2015-06-01 | 2015-06-01 | 2015-06-04 | 2015-06-01 | 2015-06-01 | 2015-06-02 17:00 | 2015-06-01 | 2015-06-03 | 2015-06-01 | 2015-06-01 | 2015-06-01 | 2015-06-01 | 2015-06-01 | 2015-06-03 | 2015-06-04 17:41 | 2015-06-03 | 2015-06-03 | 2015-06-03 | 2015-06-03 | 2015-06-03 | 2015-06-03 | 2015-06-03 | 2015-06-03 | 2015-06-04 | 2015-06-03 17:45 | 2015-06-04 08:05 | 2015-06-02 | 2015-06-04 09:10 | 2015-06-02 | 2015-06-02 14:50 | 2015-06-03 12:15 | 2015-06-02 10:20 | 2015-06-02 15:10 | 2015-06-02 13:50 | 2015-06-03 | 2015-06-03 13:55 | 2015-06-03 | 2015-06-04 13:10 | 2015-06-02 | 2015-06-04 | 2015-06-03 | 2015-06-04 10:10 | 2015-06-04 08:20 | 2015-06-04 14:40 | 2015-06-03 08:45
|  | ALS Work Number | - | - | - | - | - | - | - | - | - | L1620902 | - | - | - | - | L1620902 | L1620902 | L1620902 | L1620902 | - | - | - | - | - | L1620902 | - | - | - | - | - | - | - | - | L1622366 | - | - | - | - | - | - | - | - | - | L1622366 | L1622366 | - | L1622366 | - | L1620902 | L1622366 | L1620902 | L1620902 | L1620902 | - | L1622366 | - | L1622366 | - | - | - | L1622366 | L1622366 | L1622366 | L1622366
|  | Station Status | Dry | Frozen | Frozen | Frozen | Frozen | Frozen | Frozen | Frozen | Frozen | Direct Sampled | Direct Sampled | Direct Sampled | Frozen | Direct Sampled | Sampled | Sampled | Sampled | Sampled | Frozen | Frozen | Insufficient Volume | Frozen | Frozen | Sampled | Frozen | Dry | Dry | Frozen | Frozen | Frozen | Dry/Damaged | Frozen | Direct Sampled | Frozen | Frozen | Frozen | Frozen | Frozen | Frozen | Frozen | Frozen | Frozen | Sampled | Sampled | Frozen | Sampled | Frozen | Direct Sampled | Damaged | Sampled | Sampled | Sampled | Dry | Sampled | Dry | Sampled | Dry | Dry | Frozen | Sampled | Damaged | Sampled | Sampled
Parameter | Units | CCME-FAL1, 2, 3, 4
Physical Tests
Lab pH | pH units | 6.5-9.0 5 | - | - | - | - | - | - | - | - | - | 8.14 | - | - | - | - | 7.97 | 8.02 | 8.05 | 7.8 | - | - | - | - | - | 7.16 | - | - | - | - | - | - | - | - | 8.07 | - | - | - | - | - | - | - | - | - | 6.95 | 8.9 | - | 7.75 | - | - | 7.91 | 7.03 | 8.01 | 8.09 | - | 7.9 | - | 6.66 | - | - | - | 6.33 | 7.54 | 7.86 | 7.23
Field pH | pH units | 6.5-9.0 5 | - | - | - | - | - | - | - | - | - | 7.15 | - | - | - | - | 6.75 | 6.92 | 6.94 | 6.77 | - | - | - | - | - | 6.19 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 6.66 | 9.31 | - | 7.65 | - | - | 7.13 | 7.18 | 7.21 | 8.03 | - | 7.44 | - | 6.67 | - | - | - | 6.25 | 6.9 | 7.03 | 6.88
Field Temperature | C | - | - | - | - | - | - | - | - | - | - | 5.2 | - | - | - | - | 5 | 1.2 | 1.4 | 0.7 | - | - | - | - | - | 2.86 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2.7 | 1.5 | - | 1.4 | - | - | 4.76 | 3.9 | 3.24 | 4.32 | - | 5.7 | - | 2.3 | - | - | - | 3.4 | 0.85 | 0.67 | 2.1
Lab Conductivity | uS/cm | - | - | - | - | - | - | - | - | - | - | 977 | - | - | - | - | 1970 | 2740 | 2560 | 2340 | - | - | - | - | - | 2860 | - | - | - | - | - | - | - | - | 3490 | - | - | - | - | - | - | - | - | - | 2120 | 631 | - | 717 | - | - | 2700 | 2930 | 2600 | 2670 | - | 1970 | - | 385 | - | - | - | 1560 | 2040 | 900 | 1070
Field Conductivity | uS/cm | - | - | - | - | - | - | - | - | - | - | 688 | - | - | - | - | 1257 | 1572 | 1495 | 1344 | - | - | - | - | - | 1682 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1361 | 388 | - | 454 | - | - | 1731 | 1753 | 1557 | 1640 | - | 1354 | - | 197 | - | - | - | 991 | 1180 | 499 | 683
Field Specific Conductivity | uS/cm | - | - | - | - | - | - | - | - | - | - | 1106 | - | - | - | - | 2036 | 2884 | 2700 | 2507 | - | - | - | - | - | 2912 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 2369 | 707 | - | 818 | - | - | 2821 | 2934 | 2666 | 2706 | - | 2135 | - | 349 | - | - | - | 1674 | 2189 | 933 | 1215
Total Hardness (as CaCO3) | mg/L | - | - | - | - | - | - | - | - | - | - | 593 | - | - | - | - | 1260 | 1950 | 1780 | 1460 | - | - | - | - | - | 1940 | - | - | - | - | - | - | - | - | 2440 | - | - | - | - | - | - | - | - | - | 1270 | 288 | - | 383 | - | 372 | 1490 | 1410 | 1600 | 1630 | - | 1230 | - | 201 | - | - | - | 924 | 1270 | 550 | 657
Field Dissolved Oxygen | mg/L | 9.5 6 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.05 | 0.86 | 0.52 | 1.14 | - | - | - | - | - | 3.17 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.07 | 0.79 | - | 3.14 | - | - | 1.78 | 0.48 | 0.22 | 0.29 | - | 0.05 | - | 0.06 | - | - | - | 0.26 | 2.47 | 8.27 | 5.15
Field Oxidation - Redox Potent | mV | - | - | - | - | - | - | - | - | - | - | -40.2 | - | - | - | - | 128.7 | 84 | 66.2 | -86.8 | - | - | - | - | - | 121.6 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -46.9 | 80.5 | - | -126.4 | - | - | -11.5 | -87.3 | 12.4 | 32.7 | - | 108.6 | - | -96 | - | - | - | 17.7 | -51.3 | 121.1 | 66.7
Field Turbidity | NTU | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.89 | 0.02 | 0.51 | 0.22 | - | - | - | - | - | 118 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 1.87 | 45.86 | - | 159 | - | - | 2643 | 5.29 | 0.77 | 2.43 | - | 18.41 | - | 2.14 | - | - | - | 12.6 | 66 | 7.06 | 2.18
Anions and Nutrients
Alkalinity, Total (CaCO3) | mg/L | - | - | - | - | - | - | - | - | - | - | 257 | - | - | - | - | 224 | 425 | 396 | 403 | - | - | - | - | - | 76.8 | - | - | - | - | - | - | - | - | 935 | - | - | - | - | - | - | - | - | - | 280 | 63.9 | - | 386 | - | - | 255 | 26.6 | 137 | 100 | - | 182 | - | 125 | - | - | - | 70.6 | 336 | 280 | 378
Alkalinity, Total (CaCO3, filtered) | mg/L | - | - | - | - | - | - | - | - | - | - | 242 | - | - | - | - | 221 | 423 | 415 | 409 | - | - | - | - | - | 71 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 282 | 62.8 | - | 395 | - | - | 264 | 25.9 | 121 | - | - | 185 | - | 130 | - | - | - | 117 | 349 | 282 | 376
Ammonia, Total (as N) | mg/L | Varies 7 | - | - | - | - | - | - | - | - | - | 0.0669 | - | - | - | - | 0.0331 | <0.0050 | 0.0284 | 3.23 | - | - | - | - | - | 0.0395 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 10.1 | 3.88 | - | 9.49 | - | - | 17.8 | 14.2 | 3.06 | 6.27 | - | 1.15 | - | 2.15 | - | - | - | 1.47 | 3.8 | <0.0050 | 1.76
Ammonia CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | 10.65 | - | - | - | - | 27.15 | 25.11 | 23.58 | 36.97 | - | - | - | - | - | 117.4 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 40.32 | 0.1187 | - | 4.613 | - | - | 11.55 | 11.05 | 10.88 | 1.524 | - | 5.253 | - | 40.73 | - | - | - | 97.81 | 27.07 | 20.38 | 25.54
Chloride (Cl) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.50 | - | - | - | - | <5.0 | <5.0 | <5.0 | <5.0 | - | - | - | - | - | <5.0 | - | - | - | - | - | - | - | - | <10 | - | - | - | - | - | - | - | - | - | <2.5 | 2.59 | - | 0.58 | - | - | <5.0 | <5.0 | <5.0 | <5.0 | - | <2.5 | - | <0.50 | - | - | - | <2.5 | <2.5 | 1.1 | <0.50
Fluoride (F) | mg/L | 0.12 | - | - | - | - | - | - | - | - | - | 0.118 | - | - | - | - | 0.47 | <0.20 | <0.20 | 0.28 | - | - | - | - | - | 0.25 | - | - | - | - | - | - | - | - | <0.60 | - | - | - | - | - | - | - | - | - | 0.14 | 1.62 | - | 0.491 | - | - | 0.33 | 0.82 | 0.58 | 0.64 | - | 0.41 | - | <0.20 | - | - | - | 0.1 | 0.18 | 0.038 | <0.20
Nitrate (as N) | mg/L | 13 | - | - | - | - | - | - | - | - | - | 0.0059 | - | - | - | - | <0.050 | 0.391 | <0.050 | <0.050 | - | - | - | - | - | <0.050 | - | - | - | - | - | - | - | - | 0.17 | - | - | - | - | - | - | - | - | - | <0.025 | 0.0273 | - | 0.0103 | - | - | 0.053 | <0.050 | 0.534 | 0.269 | - | 2.54 | - | <0.0050 | - | - | - | 0.039 | <0.025 | 2.37 | <0.0050
Nitrite (as N) | mg/L | 0.06 | - | - | - | - | - | - | - | - | - | <0.0010 | - | - | - | - | <0.010 | <0.010 | <0.010 | <0.010 | - | - | - | - | - | <0.010 | - | - | - | - | - | - | - | - | <0.020 | - | - | - | - | - | - | - | - | - | <0.0050 | 0.004 | - | 0.0143 | - | - | <0.010 | <0.010 | 0.072 | 0.04 | - | 0.0919 | - | <0.0010 | - | - | - | 0.0205 | <0.0050 | 0.0019 | <0.0010
Total Kjeldahl Nitrogen | mg/L | - | - | - | - | - | - | - | - | - | - | 0.346 | - | - | - | - | 0.181 | 0.093 | 0.129 | 4.02 | - | - | - | - | - | 0.24 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 13.8 | 5.82 | - | 12.9 | - | - | 21.6 | 16.1 | 3.7 | 7.51 | - | 1.81 | - | 2.94 | - | - | - | 4.42 | 6.81 | 0.542 | 2.76
Sulfate (SO4) | mg/L | - | - | - | - | - | - | - | - | - | - | 312 | - | - | - | - | 1100 | 1540 | 1440 | 1230 | - | - | - | - | - | 2040 | - | - | - | - | - | - | - | - | 1570 | - | - | - | - | - | - | - | - | - | 1120 | 234 | - | 22.1 | - | - | 1640 | 2240 | 1610 | 1550 | - | 1160 | - | 75.9 | - | - | - | 809 | 979 | 226 | 265
Sulphide as S | mg/L | - | - | - | - | - | - | - | - | - | - | 0.133 | - | - | - | - | <0.020 | <0.020 | <0.020 | 0.123 | - | - | - | - | - | <0.020 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.020 | <1.0 | - | <0.020 | - | - | <0.020 | <0.020 | <0.020 | <0.020 | - | <0.020 | - | 0.058 | - | - | - | <0.020 | <0.020 | <0.020 | <0.020
Field Sulphide | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | 0.07 | 0.01 | 0.05 | - | - | - | - | - | 1.77 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0 | 0.36 | - | 1.26 | - | - | 2.2 | 0.02 | 0.03 | 0.07 | - | - | - | 0.02 | - | - | - | 0.07 | 0.64 | 0.04 | 0.05
Anion Sum | meq/L | - | - | - | - | - | - | - | - | - | - | 11.7 | - | - | - | - | 27.5 | 40.7 | 38 | 33.6 | - | - | - | - | - | 44.1 | - | - | - | - | - | - | - | - | 51.3 | - | - | - | - | - | - | - | - | - | 28.9 | 6.32 | - | 8.21 | - | - | 39.2 | 47.2 | 36.4 | 34.4 | - | 28 | - | 4.08 | - | - | - | 18.3 | 27.1 | 10.5 | 13.1
Cation Sum | meq/L | - | - | - | - | - | - | - | - | - | - | 12.4 | - | - | - | - | 26 | 39.7 | 36.3 | 31.7 | - | - | - | - | - | 42 | - | - | - | - | - | - | - | - | 54.8 | - | - | - | - | - | - | - | - | - | 31.1 | 7.4 | - | 9.59 | - | - | 36.4 | 38.3 | 35.2 | 35.5 | - | 26.5 | - | 7.98 | - | - | - | 24 | 29 | 11.3 | 15.7
Cation - Anion Balance | % | - | - | - | - | - | - | - | - | - | - | 3 | - | - | - | - | -2.8 | -1.2 | -2.2 | -3 | - | - | - | - | - | -2.4 | - | - | - | - | - | - | - | - | 3.3 | - | - | - | - | - | - | - | - | - | 3.5 | 7.9 | - | 7.8 | - | - | -3.8 | -10.4 | -1.6 | 1.6 | - | -2.8 | - | 32.4 | - | - | - | 13.5 | 3.4 | 3.9 | 9.3
Cyanides
Cyanide, Total | mg/L | - | - | - | - | - | - | - | - | - | - | <0.0050 | - | - | - | - | <0.0050 | <0.0050 | <0.0050 | <0.0050 | - | - | - | - | - | <0.0050 | - | - | - | - | - | - | - | - | <0.0050 | - | - | - | - | - | - | - | - | - | 0.0108 | 1.36 | - | 0.0254 | - | - | 0.0881 | 0.132 | 0.0363 | <0.0050 | - | <0.0050 | - | 0.0069 | - | - | - | 0.0124 | 0.0093 | <0.0050 | <0.0050
Cyanide, Free | mg/L | 0.005 | - | - | - | - | - | - | - | - | - | <0.0050 | - | - | - | - | <0.0050 | <0.0050 | <0.0050 | <0.0050 | - | - | - | - | - | <0.0050 | - | - | - | - | - | - | - | - | <0.0050 | - | - | - | - | - | - | - | - | - | <0.0050 | 0.251 | - | <0.0050 | - | - | 0.0058 | <0.0050 | 0.0108 | <0.0050 | - | <0.0050 | - | <0.0050 | - | - | - | 0.0059 | <0.0050 | <0.0050 | <0.0050
Cyanide, Weak Acid Diss | mg/L | - | - | - | - | - | - | - | - | - | - | <0.0050 | - | - | - | - | <0.0050 | <0.0050 | <0.0050 | <0.0050 | - | - | - | - | - | <0.0050 | - | - | - | - | - | - | - | - | <0.0050 | - | - | - | - | - | - | - | - | - | <0.0050 | 0.278 | - | <0.0050 | - | - | 0.0091 | 0.0192 | 0.0118 | <0.0050 | - | <0.0050 | - | <0.0050 | - | - | - | <0.0050 | <0.0050 | <0.0050 | <0.0050
Thiocyanate (SCN) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.50 | - | - | - | - | <0.50 | <0.50 | <0.50 | 0.53 | - | - | - | - | - | <0.50 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 0.78 | 0.98 | - | 0.56 | - | - | 4.84 | 1.34 | <0.50 | <0.50 | - | <0.50 | - | 0.62 | - | - | - | <0.50 | 0.51 | <0.50 | 0.53
Organic/Inorganic Carbon
Total Inorganic Carbon | mg/L | - | - | - | - | - | - | - | - | - | - | 51.4 | - | - | - | - | 52.2 | 95.1 | 95.6 | 96.4 | - | - | - | - | - | 12 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 61.3 | 8.43 | - | 85.7 | - | - | 56.9 | 2.3 | 27.8 | 18.7 | - | 40.1 | - | 28 | - | - | - | 15.6 | 77.7 | 66.9 | 83.2
Total Organic Carbon | mg/L | - | - | - | - | - | - | - | - | - | - | 4.27 | - | - | - | - | 3.57 | 2.49 | 2.63 | 12.6 | - | - | - | - | - | 5.34 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | 25.4 | 31.4 | - | 34.3 | - | - | 17.8 | 5.87 | 6.6 | 6.29 | - | 9.74 | - | 15.4 | - | - | - | 14.6 | 14.9 | 7.74 | 19
Dissolved Metals
Aluminum (Al) | mg/L | Varies 8 | - | - | - | - | - | - | - | - | - | 0.0031 | - | - | - | - | <0.0010 | <0.0020 | <0.0020 | 0.009 | - | - | - | - | - | 0.0599 | - | - | - | - | - | - | - | - | 0.0472 | - | - | - | - | - | - | - | - | - | 0.0218 | 0.003 | - | 0.0046 | - | 0.0041 | <0.0020 | <0.0050 | <0.0050 | <0.0020 | - | <0.0020 | - | 0.0553 | - | - | - | 0.0475 | 0.0133 | 0.0016 | 0.0208
Aluminum CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | 0.1 | - | - | - | - | 0.1 | 0.1 | 0.1 | 0.1 | - | - | - | - | - | 0.005 | - | - | - | - | - | - | - | - | 0.1 | - | - | - | - | - | - | - | - | - | 0.1 | 0.1 | - | 0.1 | - | - | 0.1 | 0.1 | 0.1 | 0.1 | - | 0.1 | - | 0.1 | - | - | - | 0.005 | 0.1 | 0.1 | 0.1
Antimony (Sb) | mg/L | - | - | - | - | - | - | - | - | - | - | 0.00017 | - | - | - | - | 0.0801 | 0.00032 | 0.00034 | <0.00020 | - | - | - | - | - | 0.00436 | - | - | - | - | - | - | - | - | 0.0022 | - | - | - | - | - | - | - | - | - | 0.00033 | 0.0776 | - | 0.014 | - | 0.00586 | 0.0442 | 0.00314 | 0.467 | 0.285 | - | 0.259 | - | 0.00021 | - | - | - | 0.00019 | <0.00050 | 0.0002 | 0.0006
Arsenic (As) | mg/L | 0.005 | - | - | - | - | - | - | - | - | - | 0.0115 | - | - | - | - | 0.0426 | 0.0208 | 0.0518 | 0.117 | - | - | - | - | - | 0.00966 | - | - | - | - | - | - | - | - | 0.0969 | - | - | - | - | - | - | - | - | - | 0.00755 | 15.3 | - | 7.35 | - | 3.44 | 0.206 | 20.2 | 1.47 | 3.84 | - | 0.122 | - | 0.189 | - | - | - | 0.0131 | 0.0136 | 0.00169 | 0.0541
Barium (Ba) | mg/L | - | - | - | - | - | - | - | - | - | - | 0.161 | - | - | - | - | 0.0144 | 0.00749 | 0.00768 | 0.046 | - | - | - | - | - | 0.00604 | - | - | - | - | - | - | - | - | 0.108 | - | - | - | - | - | - | - | - | - | 0.0321 | 0.00053 | - | 0.145 | - | 0.145 | 0.0217 | 0.00683 | 0.0316 | 0.00758 | - | 0.00611 | - | 0.191 | - | - | - | 0.202 | 0.0734 | 0.0996 | 0.101
Beryllium (Be) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.000020 | - | - | - | - | <0.000020 | <0.000040 | <0.000040 | <0.000040 | - | - | - | - | - | 0.00015 | - | - | - | - | - | - | - | - | <0.000040 | - | - | - | - | - | - | - | - | - | <0.000040 | <0.000040 | - | <0.000020 | - | <0.000020 | <0.000040 | <0.00010 | <0.00010 | <0.000040 | - | <0.000040 | - | <0.000020 | - | - | - | <0.000020 | <0.00010 | <0.000020 | <0.000020
Bismuth (Bi) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.000050 | - | - | - | - | <0.000050 | <0.00010 | <0.00010 | <0.00010 | - | - | - | - | - | <0.00025 | - | - | - | - | - | - | - | - | <0.00010 | - | - | - | - | - | - | - | - | - | <0.00010 | <0.00010 | - | <0.000050 | - | <0.000050 | <0.00010 | <0.00025 | <0.00025 | <0.00010 | - | <0.00010 | - | <0.000050 | - | - | - | <0.000050 | <0.00025 | <0.000050 | <0.000050
Boron (B) | mg/L | 1.5 | - | - | - | - | - | - | - | - | - | <0.010 | - | - | - | - | 0.062 | 0.083 | <0.020 | 0.19 | - | - | - | - | - | <0.050 | - | - | - | - | - | - | - | - | 0.057 | - | - | - | - | - | - | - | - | - | 0.074 | 0.254 | - | 0.033 | - | 0.025 | 0.098 | <0.050 | 0.155 | 0.307 | - | 0.116 | - | <0.010 | - | - | - | 0.028 | 0.148 | 0.013 | 0.028
Cadmium (Cd) | mg/L | Varies 9 | - | - | - | - | - | - | - | - | - | 7.1e-06 | - | - | - | - | 0.044 | 1.7e-05 | 5.6e-05 | <0.000010 | - | - | - | - | - | 0.329 | - | - | - | - | - | - | - | - | 4.8e-05 | - | - | - | - | - | - | - | - | - | 0.00141 | 0.000438 | - | 7.19e-05 | - | 3.11e-05 | 0.0332 | 0.000447 | 0.000608 | 2.9e-05 | - | 0.00623 | - | <0.0000050 | - | - | - | 7.78e-05 | <0.000025 | 4.35e-05 | 6.4e-06
Cadmium CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | 0.00037 | - | - | - | - | 0.00037 | 0.00037 | 0.00037 | 0.00037 | - | - | - | - | - | 0.00037 | - | - | - | - | - | - | - | - | 0.00037 | - | - | - | - | - | - | - | - | - | 0.00037 | 0.00037 | - | 0.00037 | - | 0.00037 | 0.00037 | 0.00037 | 0.00037 | 0.00037 | - | 0.00037 | - | 0.00028 | - | - | - | 0.00037 | 0.00037 | 0.00037 | 0.00037
Calcium (Ca) | mg/L | - | - | - | - | - | - | - | - | - | - | 153 | - | - | - | - | 297 | 337 | 323 | 313 | - | - | - | - | - | 455 | - | - | - | - | - | - | - | - | 149 | - | - | - | - | - | - | - | - | - | 382 | 114 | - | 86.2 | - | 121 | 502 | 438 | 493 | 469 | - | 380 | - | 61.3 | - | - | - | 320 | 308 | 151 | 190
Chromium (Cr) | mg/L | - | - | - | - | - | - | - | - | - | - | 0.00044 | - | - | - | - | <0.00010 | <0.00020 | <0.00020 | <0.00020 | - | - | - | - | - | <0.00050 | - | - | - | - | - | - | - | - | 0.0296 | - | - | - | - | - | - | - | - | - | 0.00069 | <0.00020 | - | 0.00101 | - | 0.00019 | <0.00020 | <0.00050 | <0.00050 | <0.00020 | - | <0.00020 | - | 0.00082 | - | - | - | 0.00079 | <0.00050 | 0.00037 | 0.00045
Cobalt (Co) | mg/L | - | - | - | - | - | - | - | - | - | - | 0.00019 | - | - | - | - | 0.00295 | <0.00020 | <0.00020 | 0.00251 | - | - | - | - | - | 0.0365 | - | - | - | - | - | - | - | - | 0.00802 | - | - | - | - | - | - | - | - | - | 0.0183 | 0.0424 | - | 0.00128 | - | 0.00068 | 0.0192 | 0.0104 | 0.00325 | 0.00089 | - | 0.00151 | - | 0.00119 | - | - | - | 0.0144 | 0.0215 | <0.00010 | 0.00467
Copper (Cu) | mg/L | Varies 10 | - | - | - | - | - | - | - | - | - | 0.0002 | - | - | - | - | 0.00526 | 0.00061 | <0.00040 | <0.00040 | - | - | - | - | - | 0.015 | - | - | - | - | - | - | - | - | 0.00122 | - | - | - | - | - | - | - | - | - | 0.00096 | 0.526 | - | 0.00043 | - | <0.00020 | 0.00361 | <0.0010 | <0.0010 | <0.00040 | - | 0.0107 | - | <0.00020 | - | - | - | 0.00034 | <0.0010 | 0.00855 | 0.0005
Copper CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | 0.004 | - | - | - | - | 0.004 | 0.004 | 0.004 | 0.004 | - | - | - | - | - | 0.004 | - | - | - | - | - | - | - | - | 0.004 | - | - | - | - | - | - | - | - | - | 0.004 | 0.004 | - | 0.004 | - | 0.004 | 0.004 | 0.004 | 0.004 | 0.004 | - | 0.004 | - | 0.004 | - | - | - | 0.004 | 0.004 | 0.004 | 0.004
Iron (Fe) | mg/L | 0.3 | - | - | - | - | - | - | - | - | - | 3.71 | - | - | - | - | 0.033 | <0.010 | <0.010 | 20.5 | - | - | - | - | - | 12.8 | - | - | - | - | - | - | - | - | 15.4 | - | - | - | - | - | - | - | - | - | 42.3 | 0.171 | - | 8.87 | - | 7.72 | 1.75 | 46.4 | 0.167 | 0.011 | - | <0.010 | - | 65 | - | - | - | 64.7 | 15.1 | <0.010 | 32.9
Lead (Pb) | mg/L | Varies 11 | - | - | - | - | - | - | - | - | - | 5.6e-05 | - | - | - | - | 0.00583 | <0.00010 | <0.00010 | <0.00010 | - | - | - | - | - | 0.00573 | - | - | - | - | - | - | - | - | 0.00038 | - | - | - | - | - | - | - | - | - | <0.00010 | 0.00027 | - | 0.00171 | - | 0.000798 | 0.0043 | <0.00025 | <0.00025 | 0.00052 | - | 0.00045 | - | 7e-05 | - | - | - | <0.000050 | <0.00025 | <0.000050 | 9e-05
Lead CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | 0.007 | - | - | - | - | 0.007 | 0.007 | 0.007 | 0.007 | - | - | - | - | - | 0.007 | - | - | - | - | - | - | - | - | 0.007 | - | - | - | - | - | - | - | - | - | 0.007 | 0.007 | - | 0.007 | - | 0.007 | 0.007 | 0.007 | 0.007 | 0.007 | - | 0.007 | - | 0.007 | - | - | - | 0.007 | 0.007 | 0.007 | 0.007
Lithium (Li) | mg/L | - | - | - | - | - | - | - | - | - | - | 0.0068 | - | - | - | - | 0.0097 | 0.0199 | 0.0212 | 0.0106 | - | - | - | - | - | 0.0394 | - | - | - | - | - | - | - | - | 0.0526 | - | - | - | - | - | - | - | - | - | <0.0020 | <0.0020 | - | 0.0022 | - | 0.0063 | 0.0054 | 0.0239 | <0.0050 | 0.0093 | - | 0.0099 | - | <0.0010 | - | - | - | <0.0010 | <0.0050 | 0.001 | 0.001
Magnesium (Mg) | mg/L | - | - | - | - | - | - | - | - | - | - | 51.1 | - | - | - | - | 127 | 269 | 237 | 165 | - | - | - | - | - | 194 | - | - | - | - | - | - | - | - | 502 | - | - | - | - | - | - | - | - | - | 75.6 | 1.1 | - | 40.8 | - | 16.7 | 56.9 | 75.7 | 89.8 | 112 | - | 67.1 | - | 11.6 | - | - | - | 30.3 | 122 | 42 | 44.3
Manganese (Mn) | mg/L | - | - | - | - | - | - | - | - | - | - | 0.185 | - | - | - | - | 0.803 | <0.00020 | 0.611 | 7.05 | - | - | - | - | - | 34.3 | - | - | - | - | - | - | - | - | 2.67 | - | - | - | - | - | - | - | - | - | 15 | 0.0239 | - | 2.48 | - | 0.363 | 20.5 | 38.2 | 35.1 | 6.47 | - | 5.77 | - | 5.59 | - | - | - | 9.41 | 24.9 | 0.00029 | 6.37
Mercury (Hg) | mg/L | 2.6e-05 | - | - | - | - | - | - | - | - | - | <0.0000050 | - | - | - | - | 1.75e-05 | <0.0000050 | <0.0000050 | <0.0000050 | - | - | - | - | - | <0.0000050 | - | - | - | - | - | - | - | - | <0.0000050 | - | - | - | - | - | - | - | - | - | <0.0000050 | 6.61e-05 | - | <0.0000050 | - | 6.7e-06 | 1.03e-05 | 5.1e-06 | <0.0000050 | <0.0000050 | - | 1.8e-05 | - | <0.0000050 | - | - | - | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050
Molybdenum (Mo) | mg/L | 0.073 | - | - | - | - | - | - | - | - | - | 0.000406 | - | - | - | - | 0.000222 | <0.00010 | <0.00010 | 0.00018 | - | - | - | - | - | 0.0004 | - | - | - | - | - | - | - | - | 0.0155 | - | - | - | - | - | - | - | - | - | 0.00085 | 0.0219 | - | 0.0035 | - | 0.00146 | 0.0026 | 0.00491 | 0.00511 | 0.00573 | - | 0.00401 | - | 0.000162 | - | - | - | 0.000235 | 0.00311 | 0.000309 | 0.00097
Nickel (Ni) | mg/L | Varies 12 | - | - | - | - | - | - | - | - | - | 0.00251 | - | - | - | - | 0.00535 | <0.0010 | <0.0010 | <0.0010 | - | - | - | - | - | 0.0129 | - | - | - | - | - | - | - | - | 0.0845 | - | - | - | - | - | - | - | - | - | 0.0083 | 0.0195 | - | 0.00654 | - | 0.00146 | 0.0066 | 0.0027 | <0.0025 | <0.0010 | - | 0.0025 | - | <0.00050 | - | - | - | 0.00267 | <0.0025 | <0.00050 | 0.00241
Nickel CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | 0.15 | - | - | - | - | 0.15 | 0.15 | 0.15 | 0.15 | - | - | - | - | - | 0.15 | - | - | - | - | - | - | - | - | 0.15 | - | - | - | - | - | - | - | - | - | 0.15 | 0.15 | - | 0.15 | - | 0.15 | 0.15 | 0.15 | 0.15 | 0.15 | - | 0.15 | - | 0.15 | - | - | - | 0.15 | 0.15 | 0.15 | 0.15
Phosphorus (P) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.050 | - | - | - | - | <0.050 | <0.050 | <0.050 | 0.145 | - | - | - | - | - | <0.050 | - | - | - | - | - | - | - | - | <0.050 | - | - | - | - | - | - | - | - | - | <0.050 | 0.205 | - | <0.050 | - | <0.050 | <0.050 | <0.050 | 0.051 | 0.078 | - | <0.050 | - | 0.1 | - | - | - | <0.050 | <0.050 | <0.050 | 0.074
Potassium (K) | mg/L | - | - | - | - | - | - | - | - | - | - | 3.38 | - | - | - | - | 6.32 | 7.11 | 6.99 | 6.76 | - | - | - | - | - | 5.01 | - | - | - | - | - | - | - | - | 25.1 | - | - | - | - | - | - | - | - | - | 8.48 | 9.37 | - | 8.36 | - | 31.5 | 14.8 | 82.7 | 22.1 | 35 | - | 16.4 | - | 1.54 | - | - | - | 4.49 | 9.27 | 1.5 | 3.98
Selenium (Se) | mg/L | 0.001 | - | - | - | - | - | - | - | - | - | <0.000050 | - | - | - | - | 9.7e-05 | 0.00061 | 0.00059 | 0.00021 | - | - | - | - | - | <0.00025 | - | - | - | - | - | - | - | - | 0.00035 | - | - | - | - | - | - | - | - | - | 0.00027 | 0.00188 | - | 0.000246 | - | 0.000128 | 0.00013 | <0.00025 | <0.00025 | <0.00010 | - | 0.00019 | - | 0.000119 | - | - | - | 0.000168 | <0.00025 | 0.00102 | 0.000139
Silicon (Si) | mg/L | - | - | - | - | - | - | - | - | - | - | 6.38 | - | - | - | - | 4.53 | 5.1 | 4.96 | 8.46 | - | - | - | - | - | 7.5 | - | - | - | - | - | - | - | - | 8.59 | - | - | - | - | - | - | - | - | - | 5.85 | 6.22 | - | 9.06 | - | 2.9 | 6.55 | 5.81 | 13.9 | 13.4 | - | 7.56 | - | 10 | - | - | - | 5.07 | 6.24 | 6.2 | 9.64
Silver (Ag) | mg/L | 0.0001 | - | - | - | - | - | - | - | - | - | <0.000010 | - | - | - | - | 9.7e-05 | <0.000020 | <0.000020 | <0.000020 | - | - | - | - | - | <0.000050 | - | - | - | - | - | - | - | - | <0.000020 | - | - | - | - | - | - | - | - | - | <0.000020 | 0.0244 | - | 1.2e-05 | - | <0.000010 | 7.6e-05 | <0.000050 | <0.000050 | <0.000020 | - | 6.2e-05 | - | <0.000010 | - | - | - | 2.1e-05 | <0.000050 | <0.000010 | <0.000010
Sodium (Na) | mg/L | - | - | - | - | - | - | - | - | - | - | 5.08 | - | - | - | - | 7.32 | 12.7 | 11.1 | 16.8 | - | - | - | - | - | 7.72 | - | - | - | - | - | - | - | - | 103 | - | - | - | - | - | - | - | - | - | 46.2 | 25.3 | - | 11 | - | 17.7 | 93.2 | 73.5 | 27.6 | 30.8 | - | 29.8 | - | 1.75 | - | - | - | 33.7 | 30.2 | 7.35 | 8.68
Strontium (Sr) | mg/L | - | - | - | - | - | - | - | - | - | - | 0.341 | - | - | - | - | 0.665 | 1.01 | 0.929 | 1.07 | - | - | - | - | - | 0.584 | - | - | - | - | - | - | - | - | 2.84 | - | - | - | - | - | - | - | - | - | 1.08 | 0.168 | - | 0.667 | - | 0.442 | 1.1 | 0.933 | 1.27 | 1.34 | - | 0.748 | - | 0.238 | - | - | - | 1.06 | 0.727 | 0.537 | 0.498
Sulfur (S) | mg/L | - | - | - | - | - | - | - | - | - | - | 103 | - | - | - | - | 317 | 462 | 414 | 345 | - | - | - | - | - | 621 | - | - | - | - | - | - | - | - | 516 | - | - | - | - | - | - | - | - | - | 368 | 95.7 | - | 8.48 | - | 72.3 | 516 | 538 | 490 | 535 | - | 364 | - | 26.3 | - | - | - | 295 | 330 | 80.1 | 90.7
Thallium (Tl) | mg/L | 0.0008 | - | - | - | - | - | - | - | - | - | <0.000010 | - | - | - | - | 0.000459 | 9.4e-05 | 0.000261 | <0.000020 | - | - | - | - | - | 0.000564 | - | - | - | - | - | - | - | - | <0.000020 | - | - | - | - | - | - | - | - | - | 2.4e-05 | 4.2e-05 | - | 1.2e-05 | - | <0.000010 | 0.00086 | 0.000216 | 5.5e-05 | 0.000107 | - | 0.000298 | - | <0.000010 | - | - | - | <0.000010 | <0.000050 | <0.000010 | <0.000010
Tin (Sn) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.00010 | - | - | - | - | <0.00010 | <0.00020 | <0.00020 | <0.00020 | - | - | - | - | - | <0.00050 | - | - | - | - | - | - | - | - | 0.00043 | - | - | - | - | - | - | - | - | - | <0.00020 | <0.00020 | - | <0.00010 | - | <0.00010 | <0.00020 | <0.00050 | <0.00050 | <0.00020 | - | <0.00020 | - | <0.00010 | - | - | - | <0.00010 | <0.00050 | <0.00010 | <0.00010
Titanium (Ti) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.00030 | - | - | - | - | <0.00030 | <0.00060 | <0.00060 | 0.00079 | - | - | - | - | - | <0.0015 | - | - | - | - | - | - | - | - | 0.00257 | - | - | - | - | - | - | - | - | - | 0.00113 | <0.00060 | - | 0.00123 | - | <0.00030 | <0.00060 | <0.0015 | <0.0015 | <0.00060 | - | <0.00060 | - | 0.00259 | - | - | - | <0.0018 | <0.0015 | <0.00030 | 0.00102
Uranium (U) | mg/L | 0.015 | - | - | - | - | - | - | - | - | - | 3e-05 | - | - | - | - | 0.00301 | 0.00753 | 0.00652 | 0.000755 | - | - | - | - | - | 0.000749 | - | - | - | - | - | - | - | - | 0.0164 | - | - | - | - | - | - | - | - | - | 0.00217 | 0.000861 | - | 0.000281 | - | 0.000355 | 0.00189 | 0.000535 | 0.00149 | 0.000346 | - | 0.00215 | - | 6.7e-05 | - | - | - | 0.000293 | 0.0034 | 0.00436 | 0.00115
Vanadium (V) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.00050 | - | - | - | - | <0.00050 | <0.0010 | <0.0010 | <0.0010 | - | - | - | - | - | <0.0025 | - | - | - | - | - | - | - | - | 0.0029 | - | - | - | - | - | - | - | - | - | 0.0017 | <0.0010 | - | 0.00354 | - | <0.00050 | <0.0010 | <0.0025 | <0.0025 | <0.0010 | - | <0.0010 | - | 0.00257 | - | - | - | 0.0015 | <0.0025 | <0.00050 | 0.00158
Zinc (Zn) | mg/L | 0.03 | - | - | - | - | - | - | - | - | - | 0.0023 | - | - | - | - | 6.24 | <0.0020 | 0.0025 | <0.0020 | - | - | - | - | - | 29.1 | - | - | - | - | - | - | - | - | 0.0071 | - | - | - | - | - | - | - | - | - | 0.0249 | <0.0020 | - | 0.0401 | - | 0.0018 | 2.98 | 0.178 | <0.0050 | 0.713 | - | 0.171 | - | 0.0022 | - | - | - | 0.004 | 0.0807 | 0.0011 | 0.0027
Zirconium (Zr) | mg/L | - | - | - | - | - | - | - | - | - | - | <0.00030 | - | - | - | - | <0.00030 | <0.00060 | <0.00060 | <0.00060 | - | - | - | - | - | <0.0015 | - | - | - | - | - | - | - | - | 0.00076 | - | - | - | - | - | - | - | - | - | 0.00076 | <0.00060 | - | 0.0016 | - | <0.00030 | <0.00060 | <0.0015 | <0.0015 | <0.00060 | - | <0.00060 | - | 0.00066 | - | - | - | 0.00047 | <0.0015 | <0.00030 | 0.00054

## QAQC Results
|  | Site Location | MW09-16 |  |  | MW09-19 |  | MP09-05 |  |  |  | MW09-04 |  |  |  | MW09-22
|  | Sample ID | MW09-16 | DUP-2 (MW09-16) | RPD (%)13 | MW09-19 | FB2 (MW09-19) | MP09-05 | DUP-4 (MP09-05) | RPD (%)13 | FB3 (MP09-05) | MW09-04 | DUP-1 (MW09-04) | RPD (%)13 | FB1 (MW09-04) | MW09-22 | FB4 (MW09-22) | TRAVEL BLANK | TRAVEL BLANK
|  | Date Sampled | 2015-06-01 18:00 | 2015-06-01 18:00 |  | 2015-06-02 08:30 | 2015-06-02 08:30 | 2015-06-03 17:45 | 2015-06-03 17:45 |  | 2015-06-03 17:45 | 2015-06-02 13:50 | 2015-06-02 13:50 |  | 2015-06-02 13:50 | 2015-06-04 10:10 | 2015-06-04 10:10 | 2015-06-03 | 2015-06-05
|  | ALS Work Number | L1620902 | L1620902 |  | L1620902 | L1620902 | L1622366 | L1622366 |  | L1622366 | L1620902 | L1620902 |  | L1620902 | L1622366 | L1622366 | L1620902 | L1622366
|  | Station Status | Sampled | Sampled |  | Sampled | Sampled | Sampled | Sampled |  | Sampled | Sampled | Sampled |  | Sampled | Sampled | Sampled | - | -
Parameter | Units | CCME-FAL1, 2, 3, 4
Physical Tests
Lab pH | pH units | 6.5-9.0 5 | 7.97 | 7.98 | 0.12539 | 7.8 | 5.55 | 6.95 | 7.06 | 1.5703 | 5.5 | 8.09 | 8.12 | 0.37014 | 5.66 | 6.33 | 5.58 | 5.48 | 5.43
Field pH | pH units | 6.5-9.0 5 | 6.75 | 6.75 | 0 | 6.77 | - | 6.66 | 6.66 | 0 | - | 8.03 | 8.03 | 0 | - | 6.25 | - | - | -
Field Temperature | C | - | 5 | 5 | 0 | 0.7 | - | 2.7 | 2.7 | 0 | - | 4.32 | 4.32 | 0 | - | 3.4 | - | - | -
Lab Conductivity | uS/cm | - | 1970 | 1960 | 0.50891 | 2340 | <2.0 | 2120 | 2120 | 0 | <2.0 | 2670 | 2660 | 0.37523 | <2.0 | 1560 | <2.0 | <2.0 | <2.0
Field Conductivity | uS/cm | - | 1257 | 1257 | 0 | 1344 | - | 1361 | 1361 | 0 | - | 1640 | 1640 | 0 | - | 991 | - | - | -
Field Specific Conductivity | uS/cm | - | 2036 | 2036 | 0 | 2507 | - | 2369 | 2369 | 0 | - | 2706 | 2706 | 0 | - | 1674 | - | - | -
Total Hardness (as CaCO3) | mg/L | - | 1260 | 1280 | 1.5748 | 1460 | <0.50 | 1270 | 1300 | 2.3346 | <0.50 | 1630 | 1630 | 0 | <0.50 | 924 | <0.50 | <0.50 | <0.50
Field Dissolved Oxygen | mg/L | 9.5 6 | 0.05 | 0.05 | 0 | 1.14 | - | 0.07 | 0.07 | 0 | - | 0.29 | 0.29 | 0 | - | 0.26 | - | - | -
Field Oxidation - Redox Potent | mV | - | 128.7 | 128.7 | 0 | -86.8 | - | -46.9 | -46.9 | 0 | - | 32.7 | 32.7 | 0 | - | 17.7 | - | - | -
Field Turbidity | NTU | - | 0.89 | 0.89 | 0 | 0.22 | - | 1.87 | 1.87 | 0 | - | 2.43 | 2.43 | 0 | - | 12.6 | - | - | -
Anions and Nutrients
Alkalinity, Total (CaCO3) | mg/L | - | 224 | 240 | 6.8966 | 403 | <1.0 | 280 | 277 | 1.0772 | <1.0 | 100 | 97 | 3.0457 | <1.0 | 70.6 | <1.0 | <1.0 | <1.0
Alkalinity, Total (CaCO3, filtered) | mg/L | - | 221 | - | nc | 409 | <1.0 | 282 | 288 | 2.1053 | <1.0 | - | 96.3 | nc | <1.0 | 117 | <1.0 | - | -
Ammonia, Total (as N) | mg/L | Varies 7 | 0.0331 | 0.0321 | 3.0675 | 3.23 | <0.0050 | 10.1 | 10.1 | 0 | <0.0050 | 6.27 | 6.19 | 1.2841 | <0.0050 | 1.47 | <0.0050 | 0.0071 | <0.0050
Ammonia CCME-FAL | mg/L | - | 27.15 | 27.15 | - | 36.97 | - | 40.32 | 40.32 | - | - | 1.524 | 1.524 | - | 1.524 | 97.81 | - | - | -
Chloride (Cl) | mg/L | - | <5.0 | <2.5 | nc | <5.0 | <0.50 | <2.5 | <5.0 | nc | <0.50 | <5.0 | <5.0 | nc | <0.50 | <2.5 | <0.50 | <0.50 | <0.50
Fluoride (F) | mg/L | 0.12 | 0.47 | 0.25 | nc | 0.28 | <0.020 | 0.14 | <0.20 | nc | <0.020 | 0.64 | 0.55 | 15.1261 | <0.020 | 0.1 | <0.020 | <0.020 | <0.020
Nitrate (as N) | mg/L | 13 | <0.050 | <0.025 | nc | <0.050 | <0.0050 | <0.025 | <0.050 | nc | <0.0050 | 0.269 | 0.3 | 10.8963 | <0.0050 | 0.039 | <0.0050 | <0.0050 | <0.0050
Nitrite (as N) | mg/L | 0.06 | <0.010 | <0.0050 | nc | <0.010 | <0.0010 | <0.0050 | <0.010 | nc | <0.0010 | 0.04 | 0.045 | 11.7647 | <0.0010 | 0.0205 | <0.001 | <0.0010 | <0.0010
Total Kjeldahl Nitrogen | mg/L | - | 0.181 | 0.192 | 5.8981 | 4.02 | <0.050 | 13.8 | 13.6 | 1.4599 | <0.050 | 7.51 | 7.21 | 4.0761 | <0.050 | 4.42 | <0.050 | <0.050 | <0.050
Sulfate (SO4) | mg/L | - | 1100 | 1120 | 1.8018 | 1230 | <0.30 | 1120 | 1090 | 2.7149 | <0.30 | 1550 | 1760 | 12.6888 | <0.30 | 809 | <0.30 | <0.30 | <0.30
Sulphide as S | mg/L | - | <0.020 | <0.020 | nc | 0.123 | <0.020 | <0.020 | <0.020 | nc | <0.020 | <0.020 | <0.020 | nc | <0.020 | <0.020 | <0.020 | <0.020 | <0.020
Field Sulphide | mg/L | - | 0 | 0 | nc | 0.05 | - | 0 | 0 | nc | - | 0.07 | 0.07 | 0 | - | 0.07 | - | - | -
Anion Sum | meq/L | - | 27.5 | 28.2 | 2.5135 | 33.6 | <0.10 | 28.9 | 28.2 | 2.4518 | <0.10 | 34.4 | 38.5 | 11.2483 | <0.10 | 18.3 | <0.10 | <0.10 | <0.10
Cation Sum | meq/L | - | 26 | 26.4 | 1.5267 | 31.7 | <0.10 | 31.1 | 31.9 | 2.5397 | <0.10 | 35.5 | 35.4 | 0.28209 | <0.10 | 24 | <0.10 | <0.10 | <0.10
Cation - Anion Balance | % | - | -2.8 | -3.4 | - | -3 | 0 | 3.5 | 6.1 | - | 0 | 1.6 | -4.2 | - | 0 | 13.5 | 94.6 | 0 | 0
Cyanides
Cyanide, Total | mg/L | - | <0.0050 | <0.0050 | nc | <0.0050 | <0.0050 | 0.0108 | 0.014 | nc | <0.0050 | <0.0050 | <0.0050 | nc | <0.0050 | 0.0124 | <0.0050 | <0.0050 | <0.0050
Cyanide, Free | mg/L | 0.005 | <0.0050 | <0.0050 | nc | <0.0050 | <0.0050 | <0.0050 | 0.006 | nc | <0.0050 | <0.0050 | <0.0050 | nc | <0.0050 | 0.0059 | <0.0050 | <0.0050 | <0.0050
Cyanide, Weak Acid Diss | mg/L | - | <0.0050 | <0.0050 | nc | <0.0050 | <0.0050 | <0.0050 | <0.0050 | nc | <0.0050 | <0.0050 | <0.0050 | nc | <0.0050 | <0.0050 | <0.0050 | <0.0050 | <0.0050
Thiocyanate (SCN) | mg/L | - | <0.50 | <0.50 | nc | 0.53 | <0.50 | 0.78 | 0.78 | 0 | <0.50 | <0.50 | <0.50 | nc | <0.50 | <0.50 | <0.50 | <0.50 | <0.50
Organic/Inorganic Carbon
Total Inorganic Carbon | mg/L | - | 52.2 | 50.5 | 3.3106 | 96.4 | <0.50 | 61.3 | 58.3 | 5.0167 | <0.50 | 18.7 | 19 | 1.5915 | <0.50 | 15.6 | <0.50 | <0.50 | <0.50
Total Organic Carbon | mg/L | - | 3.57 | 3.56 | 0.2805 | 12.6 | <0.50 | 25.4 | 26.2 | 3.1008 | <0.50 | 6.29 | 6.23 | 0.95847 | <0.50 | 14.6 | <0.50 | <0.50 | 0.52
Dissolved Metals
Aluminum (Al) | mg/L | Varies 8 | <0.0010 | <0.0010 | nc | 0.009 | <0.0010 | 0.0218 | 0.023 | 5.3571 | <0.0010 | <0.0020 | <0.0020 | nc | <0.0010 | 0.0475 | <0.0010 | - | -
Aluminum CCME-FAL | mg/L | - | 0.1 | 0.1 | - | 0.1 | - | 0.1 | 0.1 | - | - | 0.1 | 0.1 | - | 0.1 | 0.005 | - | - | -
Antimony (Sb) | mg/L | - | 0.0801 | 0.078 | 2.6565 | <0.00020 | <0.00010 | 0.00033 | 0.00033 | 0 | <0.00010 | 0.285 | 0.283 | 0.70423 | <0.00010 | 0.00019 | <0.00010 | - | -
Arsenic (As) | mg/L | 0.005 | 0.0426 | 0.042 | 1.4184 | 0.117 | <0.00010 | 0.00755 | 0.00811 | 7.152 | <0.00010 | 3.84 | 3.85 | 0.26008 | <0.00010 | 0.0131 | <0.00010 | - | -
Barium (Ba) | mg/L | - | 0.0144 | 0.0147 | 2.0619 | 0.046 | <0.000050 | 0.0321 | 0.0324 | 0.93023 | <0.000050 | 0.00758 | 0.00735 | 3.081 | <0.000050 | 0.202 | <0.000050 | - | -
Beryllium (Be) | mg/L | - | <0.000020 | <0.000020 | nc | <0.000040 | <0.000020 | <0.000040 | <0.000040 | nc | <0.000020 | <0.000040 | <0.000040 | nc | <0.000020 | <0.000020 | <0.000020 | - | -
Bismuth (Bi) | mg/L | - | <0.000050 | <0.000050 | nc | <0.00010 | <0.000050 | <0.00010 | <0.00010 | nc | <0.000050 | <0.00010 | <0.00010 | nc | <0.000050 | <0.000050 | <0.000050 | - | -
Boron (B) | mg/L | 1.5 | 0.062 | 0.068 | 9.2308 | 0.19 | <0.010 | 0.074 | 0.071 | 4.1379 | <0.010 | 0.307 | 0.296 | 3.6484 | <0.010 | 0.028 | <0.010 | - | -
Cadmium (Cd) | mg/L | Varies 9 | 0.044 | 0.0448 | 1.8018 | <0.000010 | <0.0000050 | 0.00141 | 0.00128 | 9.6654 | <0.0000050 | 2.9e-05 | 2.6e-05 | 10.9091 | <0.0000050 | 7.78e-05 | <0.0000050 | - | -
Cadmium CCME-FAL | mg/L | - | 0.00037 | 0.00037 | 0 | 0.00037 | - | 0.00037 | 0.00037 | 0 | - | 0.00037 | 0.00037 | 0 | 0.0004 | 0.00037 | - | - | -
Calcium (Ca) | mg/L | - | 297 | 303 | 2 | 313 | <0.050 | 382 | 392 | 2.584 | <0.050 | 469 | 484 | 3.148 | <0.050 | 320 | <0.050 | - | -
Chromium (Cr) | mg/L | - | <0.00010 | <0.00010 | nc | <0.00020 | <0.00010 | 0.00069 | 0.0016 | nc | <0.00010 | <0.00020 | <0.00020 | nc | <0.00010 | 0.00079 | <0.00010 | - | -
Cobalt (Co) | mg/L | - | 0.00295 | 0.0029 | 1.7094 | 0.00251 | <0.00010 | 0.0183 | 0.0181 | 1.0989 | <0.00010 | 0.00089 | 0.00086 | 3.4286 | <0.00010 | 0.0144 | <0.00010 | - | -
Copper (Cu) | mg/L | Varies 10 | 0.00526 | 0.00513 | 2.5024 | <0.00040 | <0.00020 | 0.00096 | 0.00098 | 2.0619 | <0.00020 | <0.00040 | <0.00040 | nc | <0.00020 | 0.00034 | <0.00020 | - | -
Copper CCME-FAL | mg/L | - | 0.004 | 0.004 | - | 0.004 | - | 0.004 | 0.004 | - | - | 0.004 | 0.004 | - | 0.02 | 0.004 | - | - | -
Iron (Fe) | mg/L | 0.3 | 0.033 | 0.034 | 2.9851 | 20.5 | <0.010 | 42.3 | 43.8 | 3.4843 | <0.010 | 0.011 | 0.019 | nc | <0.010 | 64.7 | <0.010 | - | -
Lead (Pb) | mg/L | Varies 11 | 0.00583 | 0.00635 | 8.5386 | <0.00010 | <0.000050 | <0.00010 | <0.00010 | nc | <0.000050 | 0.00052 | 0.00071 | nc | <0.000050 | <0.000050 | <0.000050 | - | -
Lead CCME-FAL | mg/L | - | 0.007 | 0.007 | - | 0.007 | - | 0.007 | 0.007 | - | - | 0.007 | 0.007 | - | 0.001 | 0.007 | - | - | -
Lithium (Li) | mg/L | - | 0.0097 | 0.0101 | 4.0404 | 0.0106 | <0.0010 | <0.0020 | <0.0020 | nc | <0.0010 | 0.0093 | 0.0093 | 0 | <0.0010 | <0.0010 | <0.0010 | - | -
Magnesium (Mg) | mg/L | - | 127 | 128 | 0.78431 | 165 | <0.10 | 75.6 | 78.4 | 3.6364 | <0.10 | 112 | 101 | 10.3286 | <0.10 | 30.3 | <0.10 | - | -
Manganese (Mn) | mg/L | - | 0.803 | 0.777 | 3.2911 | 7.05 | <0.00010 | 15 | 15.1 | 0.66445 | <0.00010 | 6.47 | 6.32 | 2.3456 | <0.00010 | 9.41 | <0.00010 | - | -
Mercury (Hg) | mg/L | 2.6e-05 | 1.75e-05 | 1.65e-05 | 5.8824 | <0.0000050 | <0.0000050 | <0.0000050 | <0.0000050 | nc | <0.0000050 | <0.0000050 | <0.0000050 | nc | <0.0000050 | <0.0000050 | <0.0000050 | - | -
Molybdenum (Mo) | mg/L | 0.073 | 0.000222 | 0.000228 | 2.6667 | 0.00018 | <0.000050 | 0.00085 | 0.00078 | 8.589 | <0.000050 | 0.00573 | 0.0057 | 0.52493 | <0.000050 | 0.000235 | <0.000050 | - | -
Nickel (Ni) | mg/L | Varies 12 | 0.00535 | 0.00518 | 3.2289 | <0.0010 | <0.00050 | 0.0083 | 0.0081 | 2.439 | <0.00050 | <0.0010 | <0.0010 | nc | <0.00050 | 0.00267 | <0.00050 | - | -
Nickel CCME-FAL | mg/L | - | 0.15 | 0.15 | - | 0.15 | - | 0.15 | 0.15 | - | - | 0.15 | 0.15 | - | 0.025 | 0.15 | - | - | -
Phosphorus (P) | mg/L | - | <0.050 | <0.050 | nc | 0.145 | <0.050 | <0.050 | <0.050 | nc | <0.050 | 0.078 | 0.074 | 5.2632 | <0.050 | <0.050 | <0.050 | - | -
Potassium (K) | mg/L | - | 6.32 | 6.49 | 2.6542 | 6.76 | <0.10 | 8.48 | 9.07 | 6.7236 | <0.10 | 35 | 36.7 | 4.742 | <0.10 | 4.49 | <0.10 | - | -
Selenium (Se) | mg/L | 0.001 | 9.7e-05 | 0.0001 | 3.0457 | 0.00021 | <0.000050 | 0.00027 | 0.00031 | 13.7931 | <0.000050 | <0.00010 | <0.00010 | nc | <0.000050 | 0.000168 | <0.000050 | - | -
Silicon (Si) | mg/L | - | 4.53 | 4.61 | 1.7505 | 8.46 | <0.050 | 5.85 | 5.92 | 1.1895 | <0.050 | 13.4 | 13.8 | 2.9412 | <0.050 | 5.07 | <0.050 | - | -
Silver (Ag) | mg/L | 0.0001 | 9.7e-05 | 0.000103 | 6 | <0.000020 | <0.000010 | <0.000020 | <0.000020 | nc | <0.000010 | <0.000020 | <0.000020 | nc | <0.000010 | 2.1e-05 | <0.000010 | - | -
Sodium (Na) | mg/L | - | 7.32 | 6.99 | 4.6122 | 16.8 | <0.050 | 46.2 | 45.2 | 2.1882 | <0.050 | 30.8 | 30.3 | 1.6367 | <0.050 | 33.7 | <0.050 | - | -
Strontium (Sr) | mg/L | - | 0.665 | 0.676 | 1.6406 | 1.07 | <0.00020 | 1.08 | 1.07 | 0.93023 | <0.00020 | 1.34 | 1.31 | 2.2642 | <0.00020 | 1.06 | <0.00020 | - | -
Sulfur (S) | mg/L | - | 317 | 321 | 1.2539 | 345 | <0.50 | 368 | 355 | 3.5961 | <0.50 | 535 | 493 | 8.1712 | <0.50 | 295 | <0.50 | - | -
Thallium (Tl) | mg/L | 0.0008 | 0.000459 | 0.000454 | 1.0953 | <0.000020 | <0.000010 | 2.4e-05 | 2e-05 | 18.1818 | <0.000010 | 0.000107 | 0.000108 | 0.93023 | <0.000010 | <0.000010 | <0.000010 | - | -
Tin (Sn) | mg/L | - | <0.00010 | <0.00010 | nc | <0.00020 | <0.00010 | <0.00020 | <0.00020 | nc | <0.00010 | <0.00020 | <0.00020 | nc | <0.00010 | <0.00010 | <0.00010 | - | -
Titanium (Ti) | mg/L | - | <0.00030 | <0.00030 | nc | 0.00079 | <0.00030 | 0.00113 | <0.0015 | nc | <0.00030 | <0.00060 | <0.00060 | nc | <0.00030 | <0.0018 | <0.00030 | - | -
Uranium (U) | mg/L | 0.015 | 0.00301 | 0.00293 | 2.6936 | 0.000755 | <0.000010 | 0.00217 | 0.00216 | 0.46189 | <0.000010 | 0.000346 | 0.000332 | 4.1298 | <0.000010 | 0.000293 | <0.000010 | - | -
Vanadium (V) | mg/L | - | <0.00050 | <0.00050 | nc | <0.0010 | <0.00050 | 0.0017 | 0.0017 | 0 | <0.00050 | <0.0010 | <0.0010 | nc | <0.00050 | 0.0015 | <0.00050 | - | -
Zinc (Zn) | mg/L | 0.03 | 6.24 | 6.09 | 2.4331 | <0.0020 | <0.0010 | 0.0249 | 0.0251 | 0.8 | <0.0010 | 0.713 | 0.705 | 1.1283 | <0.0010 | 0.004 | <0.0010 | - | -
Zirconium (Zr) | mg/L | - | <0.00030 | <0.00030 | nc | <0.00060 | <0.00030 | 0.00076 | 0.00075 | 1.3245 | <0.00030 | <0.00060 | <0.00060 | nc | <0.00030 | 0.00047 | <0.00030 | - | -
Total Metals
Aluminum (Al) | mg/L | Varies 8 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.0030 | <0.0030
Aluminum CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Antimony (Sb) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00010 | <0.00010
Arsenic (As) | mg/L | 0.005 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00010 | <0.00010
Barium (Ba) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000050 | <0.000050
Beryllium (Be) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000020 | <0.000020
Bismuth (Bi) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000050 | <0.000050
Boron (B) | mg/L | 1.5 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.010 | <0.010
Cadmium (Cd) | mg/L | Varies 9 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.0000050 | <0.0000050
Cadmium CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Calcium (Ca) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.050 | <0.050
Chromium (Cr) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00010 | <0.00010
Cobalt (Co) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00010 | <0.00010
Copper (Cu) | mg/L | Varies | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00050 | <0.00050
Copper CCME-FAL | mg/L | Varies 10 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Iron (Fe) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.010 | <0.010
Lead (Pb) | mg/L | Varies 11 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000050 | <0.000050
Lead CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Lithium (Li) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.0010 | <0.0010
Magnesium (Mg) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.10 | <0.10
Manganese (Mn) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00010 | <0.00010
Mercury (Hg) | mg/L | 2.6e-05 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.0000050 | <0.0000050
Molybdenum (Mo) | mg/L | 0.073 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000050 | <0.000050
Nickel (Ni) | mg/L | Varies 12 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00050 | <0.00050
Nickel CCME-FAL | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | -
Phosphorus (P) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.050 | <0.050
Potassium (K) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.10 | <0.10
Selenium (Se) | mg/L | 0.001 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000050 | <0.000050
Silicon (Si) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.050 | <0.050
Silver (Ag) | mg/L | 0.0001 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000010 | <0.000010
Sodium (Na) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.050 | <0.050
Strontium (Sr) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00020 | <0.00020
Thallium (Tl) | mg/L | 0.0008 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000010 | <0.000010
Tin (Sn) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00010 | <0.00010
Titanium (Ti) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00030 | <0.00030
Uranium (U) | mg/L | 0.015 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.000010 | <0.000010
Vanadium (V) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00050 | <0.00050
Zinc (Zn) | mg/L | 0.03 | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.0030 | <0.0030
Zirconium (Zr) | mg/L | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | - | <0.00030 | <0.00030

## Notes
(1) | CCME guideline exceedences shaded with dark grey. Light grey shading denotes reportable detection limit in exceedence of CCME Guideline.
Where guideline value is dependent on hardness or pH, reported values have been compared against a guideline value calculated for each site
based on the relevant value, and the guideline value has been noted as "varies".
(2) | - = No standard or not analyzed
(3) | CCME = Canadian Council of Ministers of the Environment, Canadian
Environmental Quality Guidelines, 1999, updated to November 2014
(4) | CCME FAL = Chapter 4, Canadian Water Quality Guidelines for the Protection
of Aquatic Life, Freshwater, updated to November 2014
(5) | CCME FAL stipulates pH not < 6.5 and not > 9
(6) | Guideline note: Lowest acceptable dissolved oxygen concentration for
cold-water biota, early life stages
(7) | Ammonia varies with pH and temperature for CCME FAL; see the CCME ammonia fact sheet for details regarding the applicable criteria,
ammonia-NH3 versus total ammonia-N,and other usage guidelines. CCME values listed in the table are expressed as ammonia (N)
When field pH is not available, lab pH is used. When field and lab pH are both not available, the most stringent guideline has been used.
(8) | Aluminum varies with pH as follows for CCME FAL:
|  | 0.005 | if | pH<6.5
|  | 0.1 | if | pH>=6.5
when field pH is not available, lab pH is used. When field and lab pH are both not available, the most stringent guideline has been used.
(9) | Cadmium varies with Hardness in mg/L as follows for CCME FAL:
|  | 0.0004 | if | H<17
|  | 0.00004 - 0.00037 | if | H>=17 and H<=280 as follows;
CWQG (μg/L) = 10{0.83(log[hardness]) – 2.46 }
|  | 0.00037 | if | H>280
(10) | Copper varies with Hardness in mg/L as follows for CCME FAL:
|  | 0.002 | if | H<82
|  | 0.002 - 0.004 | if | H>=82 and H<=180 as follows;
CWQG (µg/L) = 0.2 * e{0.8545[ln(hardness)]-1.465}
|  | 0.004 | if | H>180
(11) | Lead varies with Hardness in mg/L as follows for CCME FAL:
|  | 0.001 | if | H<60
|  | 0.001 - 0.007 | if | H>=60 and H<=180 as follows;
CWQG (µg/L)= e{1.273[ln(hardness)]-4.705}
|  | 0.007 | if | H>180
(12) | Nickel varies with Hardness in mg/L as follows for CCME FAL:
|  | 0.025 | if | H<60
|  | 0.025 - 0.15 | if | H>=60 and H<=180 as follows;
CWQG (µg/L) = e{0.76[ln(hardness)]+1.06}
|  | 0.15 | if | H>180
(13) | RPD = Relative Percent Difference. The difference between a sample and its field duplicate over the average of two values.
nc = not calculated. RPD is not calculated if either the sample or the field
duplicate concentration is less than five times the detection limit.
Italics | text indicates the parameter-specific standard (calculated) for a particular sample.
Bold | and underlined indicates values above RDL in Field Blank of Travel Blank
Bold | and Italic Indicates QAQC values exceed expected results (i.e. RDP values exceed 20%).