Response to Comments from Draft Report Version (as Received January, 2016)

| Comment No. | Page | Comment | Response |
| --- | --- | --- | --- |
| 1 | 1 | Just to note to Hemmera that this report will likely be distributed by AAM to other parties (i.e. either public or private) and that those parties may use the data/finding in this report. | Sentence removed. |
| 2 | 8 | Was the electric hydrolift method not possible? | It was not possible to use the hydrolift during the February 2016 sampling event due to site conditions. The primary wells on which the hydrolift is generally used are in the pit area, which was inaccessible due to safety concerns. |
| 3 | 15 | This note does not make sense (i.e. related to destroyed well) | The note has been removed and other notes checked. |
| 4 | 19 | No note? I think this may be a formatting/editing error. | Correct notes have been added for these sites. |
| 5 | 19 | Not light grey; more like teal colour. Change colour or change description. | This was the result of a formatting change, and the description has now been updated. |
| 6 | 20 | Why AU? I thought measurements would all be in NTU? | The turbidity meters automatically switch from NTU to AU at approximately 1,000 NTU. This represents a change from measurements taken at 90 degrees to the light source to 180 degrees to the source, which provides a more accurate reading at higher turbidity levels. AUs are supposed to be comparable to NTU, but reflect only the difference in measurement technique. A reference to AU has also been added in the methods section. |