# Appendix B7

# Water Sampling and Field Data Collection Memo

Addendum 1 – Water Data Tables

Addendum 2 – Information Sheets from ALS Regarding Cyanide Sampling in Sulphidic Waters

# Introduction

Water samples were collected from the following locations:

- Groundwater from existing and newly installed monitoring wells.

- Groundwater from drive point monitoring wells installed as part of the creek monitoring program.

- Surface water sampled at the SEEP sampling location and from the open pit.

Most of the sampling completed by AMEC and AE was focused on groundwater as long term surface water sampling at the Site is being completed by EDI.

Chemical analyses of the water samples were completed by ALS Environmental at their labs in Whitehorse and Burnaby, BC. ALS is accredited by the Canadian Association for Laboratory Accreditation (CALA) for the analyses completed, and the analytical methods used by ALS are consistent with the Yukon Contaminated Sites Regulation (CSR).

Data tables summarizing the water elevations, field data are presented in Addendum 1 to this Appendix B7, and copies of the laboratory reports are included in Appendix D3 of the main report.

The following sub-sections discuss the methods and rationale used for the water sampling.

## Sampling Locations and Dates

Groundwater samples were collected from the monitoring wells listed on Table 1, Addendum 1. The depth to water and groundwater elevations are listed on Table 2, Addendum 1.

Tables 1 and 2 list the available monitoring locations that were sampled along with the survey coordinates for these locations.

The existing monitoring wells were sampled on 17-19 September 2013. The drive point monitoring wells and corehole monitoring wells were sampled on 27-30 September 2013. Two monitoring wells in the tailings dam area were sampled for a limited analytical suite on 16 May 2013. Five monitoring wells in the tailings dam area were sampled for dissolved gas analyses on 16 November 2013.

## Sample Collection

The groundwater samples were collected using one of three different methods:  1) regular Waterra inertial lift pumps (1/2” diameter) in most monitoring wells, 2) small diameter (3/16”) Waterra micro-purge inertial lift pumps for the small diameter monitoring wells, and 3) standard disposable weighted bailers for deeper monitoring wells where Waterra pumps were impractical. These sample collection devices were left in the monitoring wells for future sampling.

Minimal well purging was completed prior to sampling to minimize potential changes to the redox chemistry of the water. For the sampling completed with the Waterra pumps, enough water was purged to clear the tubing and samples were then collected directly from the tubing discharge. For the sampling completed with the weighted bailers, a minimum of two bailers full of water were removed from the well prior to sample collection. These groundwater sampling protocols are considered appropriate as the potential contaminants of concern at the Site are primarily metals and cyanides which are typically not volatile.

The monitoring wells were not developed prior to groundwater sampling as the contaminants of concern would be largely unaffected by the removal of fine grained sediments, and due to the fact that well development can alter the redox conditions around the well resulting in a sampling bias. In particular, well development on shallow water table wells can provide atmospheric oxygen which can alter the redox conditions near the well screen. Well development would not improve the sampling results, and may actually introduce a bias for oxygen reactive parameters such as sulphide. Based on these considerations, and the fact that well development would likely double the time required to sample each monitoring well, AMEC chose to use minimal purging prior to sample collection.

### Field Data Collection

After confirming the sampling location based on location and/or survey coordinates, field data was collected at each monitoring well in the following sequence:

- gas concentrations in the well headspace (i.e. above the water level);

- depth to water (DTW) measured from the top of casing (TOC);

- depth to bottom (DTB) to be used to confirm the well ID;

- sulphide measured using a field test kit;

- minimal purging of Waterra tubing or the removal of two bailers of water; and,

- measurement of field water quality parameters using a flow through cell to minimize the exposure of the water to atmospheric oxygen.

Gas concentrations in the monitoring well headspace were measured to determine concentrations of biogenic gases including methane which is a known breakdown product of cyanide degradation. Gas measurements were taken on two occasions using two different instruments. During the initial groundwater sampling in September 2013, an RKI Eagle instrument measuring methane (CH4), carbon monoxide (CO), oxygen (O2) and hydrogen sulphide (H2S) was used. The results of this monitoring were considered suspect as all of the oxygen readings were 20.9% which is the atmospheric oxygen concentration. The RKI Eagle had a short (approximately 20 cm) intake hose and it was interpreted that the gas being sampled near the top of the well was simply air. Additionally, carbon monoxide is not a useful environmental parameter. Based on these considerations, a GEM 2000 Plus landfill gas instrument was used in early October to re-monitor the gas concentrations. This instrument had an approximately 1.5 m long hose which was fully inserted into the monitoring well to measure the gas concentrations. The GEM 2000 Plus measured methane, carbon monoxide, carbon dioxide, oxygen, hydrogen sulphide, and hydrogen. The remaining gas to make up 100% is referred to as the balance and this value is also provided by the instrument. The composition of the balance of the gases is unquantified, but is likely almost entirely nitrogen gas (N2) which is also present as 78% of the atmosphere.

Field data was recorded for water quality parameters some of which are considered unstable and not appropriate for laboratory analysis. Standard field parameters include temperature, pH, electrical conductivity (EC), dissolved oxygen and redox potential. Sulphide was measured in the field because it is difficult to collect and preserve a representative sulphide sample for laboratory analysis.

Due to access restrictions and the cold weather conditions during the sampling of the drive point monitoring wells as part of the creek study, these locations were not monitored for gases and the only field water quality measurements were for temperature, pH and EC. These changes minimized the amount of instrumentation that had to be transported to each sampling location while still providing key field data as needed.

### Standard Water Sampling Protocols

Standard water sampling and analysis procedures were applied. Samples were collected directly from the Waterra tubing (or bailer), preserved as needed, and stored in a cooler with ice packs. The sample bottles were provided by the laboratory along with pre-made bottle labels to facilitate sample collection and handling in the field.

Table A, below, summarizes the sample bottles and preservatives used for the specified groundwater analyses.

| Table A: Summary of Laboratory Sample Bottles and Standard Preservations |  |  |
| --- | --- | --- |
| Laboratory Analysis | Sample Bottle | Preservation |
| General Chemistry | 500 mL Poly | None |
| Dissolved Metals | 250 mL Poly | 0.45 micron filter and acidified with nitric acid (HNO3) |
| Total Inorganic Carbon (TIC), ammonia, Total Kjeldahl Nitrogen (TKN) | 125 mL Glass | Sulphuric acid (H2SO4) |
| Cyanide | 140 mL Poly | Sodium hydroxide (NaOH) |
| Thiocyanate | 140 mL Poly | Sodium hydroxide (NaOH) |
| Sulphide | 100 mL Poly | Zinc acetate and NaOH |

The preservations applied are considered standard. It should be noted that ALS recently changed the preservative to be applied to thiocyanate samples from NaOH to nitric acid. Historically, samples for thiocyanate analysis at Mount Nansen were preserved with NaOH. To evaluate the affect of this change in preservation method, AMEC collected samples using both preservatives.

In addition to the standard sampling protocols, AMEC also collected samples for selected parameters using modified sampling protocols to address potential limitations of the standard methods.

### Modified Water Sampling Protocols

Specific modifications to the standard sampling protocols were used to address the possible presence of sulphide in groundwater (which refers to hydrogen sulphide, H2S, and bisulphide, HS-). The presence of sulphide was expected by AMEC based on the analytical results presented in previous reports, and the likely presence of sulphate reducing bacteria (SRB) which form sulphide during the oxidation of organic matter. Lorax (2012) acknowledged sulphide in groundwater as a key parameter at the Site, but sampling for sulphide was not completed as part of their investigations.

Sulphide is highly reactive and volatile which means that laboratory testing for this parameter is subject to a strong negative bias. The collection and preservation of a representative sulphide sample for laboratory analysis is very difficult and it is common to not detect sulphide in laboratory analyses even though it may be present at significant concentrations in the groundwater. Preservation of sulphide in a groundwater sample for laboratory analysis requires the use of two preservatives added in the correct order:  1) zinc acetate to precipitate the sulphide as zinc sulphide, and 2) sodium hydroxide (NaOH) to raise the pH. Adding these two preservatives at the same time or in reverse order will likely not stabilize the sulphide and the laboratory will likely report a non-detect. Limited laboratory analyses for sulphide were completed previously at Mount Nansen, and the results were low which could indicate the lack of sulphide at the Site, or a negative sampling bias which caused the sulphide concentrations to be under-estimated.

Because sulphide is difficult to sample and preserve for laboratory analysis, the US Environmental Protection Agency (EPA) and other regulators recommend that sulphide be measured in the field. AMEC used a field sulphide test kit from Chemetrics Inc. of Midland, Virginia, to measure sulphide in the field. This test kit uses the same colourimetric methylene blue analytical method that is used to quantify sulphide in the laboratory. The chemical reagents are in evacuated ampoules which are snapped open to draw the water sample into the ampoule. The resulting colour change is then compared to standards to quantify sulphide concentrations from 0.05 mg/L to 10 mg/L.

The potential presence of sulphide can interfere with standard water sampling protocols for cyanide and thiocyanate. The cyanide method listed in the BC Laboratory Methods Manual states on page B-46 under the heading Interferences and Precautions:

Sulfides: It is preferred that sulfide treatment be carried out before preservation,

but it can be done after preservation. Sulfides can interfere by two mechanisms:

1.) Oxidized products of sulfide rapidly convert cyanide to thiocyanate, especially

at high pH (APHA). Therefore, if sulfides are present at time of NaOH

preservation, free cyanide may not be detected by the method. 2.) Hydrogen

sulfide distills over with cyanide, and interferes with colourimetric, titrimetric, and

electrode procedures.

When sulphide is present in water that also contains cyanide, the use of standard sampling protocols can lead to the under-estimation of cyanide (CN-), and the over-estimation of thiocyanate (SCN-). To address this potential negative bias for cyanide, and corresponding positive bias for thiocyanate, AMEC measured sulphide in the field using test kits, and removed sulphide from the water samples using lead acetate according to a sampling method developed by ALS in Australia. Two information sheets from ALS describing these protocols are included in Appendix C for reference. In summary, a 500 mL sample of water was collected, and approximately 5 grams of lead acetate was added to promote the formation of lead sulphide as a precipitate. The sample was left to settle for approximately 10 minutes and the clear supernatant water was drawn into a syringe and then filtered using 0.45 micron filter discs. This filtration step was necessary as thiocyanate can catalytically form if the lead sulphide precipitate is not removed from the water sample. The resulting samples for cyanide and thiocyanate were collected in 140 mL poly bottles. The resulting cyanide and thiocyanate samples were preserved with NaOH.

The presence of sulphide in a water sample being preserved with nitric acid can also create a strong negative bias for arsenic. Unlike most metal sulphides which precipitate at neutral to high pH values, arsenic is stable in water containing sulphide until nitric acid is added to lower the pH. As shown by Smieja and Wilkins (2003), the resulting precipitation of arsenic sulphides at low pH causes the arsenic to be removed from the water sample. This can result in as much as a two order of magnitude under estimation of the arsenic concentration. To address this potential sampling limitation for arsenic, AMEC collected unpreserved dissolved metals samples in parallel with the normal dissolved metals samples that were preserved with nitric acid.

In summary, AMEC measured sulphide in the field, and modified three separate water sampling protocols to evaluate potential biases related to the presence of sulphide in groundwater.

- Alternate Preservation #1: Preservation of thiocyanate (SCN-) using nitric acid.

- Alternate Preservation #2: Sulphide removed from cyanide and thiocyanate samples using lead acetate.

- Alternate Preservation #3: Unacidified metals samples to account for the possible loss of arsenic from sulphide rich waters when preserved with nitric acid.

The possible presence of sulphide can affect sampling results for groundwater which is not exposed to atmospheric oxygen. Surface water would be expected to be relatively unaffected by these processes as sulphide will oxidize upon exposure to atmospheric oxygen. However, the partial oxidation of sulphide to polysulphide (S8) would promote the formation of thiocyanate from cyanide upon the addition of NaOH as the standard preservative. This is why the standard preservative for thiocyanate has been changed from NaOH to HNO3.

Leslie Hardy, M.Sc., P.Eng.

Senior Hydrogeologist

3 December 2013

Sulphide test kit used was from Chemetrics Ltd., model K-9510. This test kit has a method detection limit of 0.05 mg/L sulphide, and can measure up to 10 mg/L of sulphide. The sulphide test kit uses the same methylene blue method that is used in analytical laboratories to measure sulphide.

Field water quality parameters were measured with a YSI Professional Plus multi-parameter instrument (or equivalent) measuring temperature, pH, electrical conductivity (EC), dissolved oxygen (DO), and redox potential.

Smieja and Wilkins, Preservation of Sulfidic Waters Containing Dissolved As(III), Journal of Environmental Monitoring, Royal Society of Chemistry, 2003.