## unknowns
| Pb206/U238 | Pb206/U238_2SE | Pb206/U238 age | Pb206/U238 age_2SE | Pb207/U235 | Pb207/U235_2SE | Pb207/U235 age | Pb207/U235 age_2SE | Pb208/Th232 | Pb208/Th232_2SE | Pb208/Th232 age | Pb208/Th232 age_2SE | Pb207/Pb206 age | Pb207/Pb206 age_2SE | U238/Pb206 | U238/Pb206_2SE | Pb207/Pb206 | Pb207/Pb206_2SE | U/Th | U/Th_2SE | Approx_U_PPM | Approx_U_PPM_2SE | Approx_Th_PPM | Approx_Th_PPM_2SE | Approx_Pb_PPM | Approx_Pb_PPM_2SE | rho 207Pb/206Pb v 238U/206Pb | rho 206Pb/238U v 207Pb/235U | P31_ppm | P31_2SE | P31_LOD | Ca43_ppm | Ca43_2SE | Ca43_LOD | Ti49_ppm | Ti49_2SE | Ti49_LOD | Y89_ppm | Y89_2SE | Y89_LOD | Zr90_ppm | Zr90_2SE | Zr90_LOD | Nb93_ppm | Nb93_2SE | Nb93_LOD | La139_ppm | La139_2SE | La139_LOD | Ce140_ppm | Ce140_2SE | Ce140_LOD | Pr141_ppm | Pr141_2SE | Pr141_LOD | Nd146_ppm | Nd146_2SE | Nd146_LOD | Sm147_ppm | Sm147_2SE | Sm147_LOD | Eu153_ppm | Eu153_2SE | Eu153_LOD | Gd157_ppm | Gd157_2SE | Gd157_LOD | Tb159_ppm | Tb159_2SE | Tb159_LOD | Dy163_ppm | Dy163_2SE | Dy163_LOD | Ho165_ppm | Ho165_2SE | Ho165_LOD | Er166_ppm | Er166_2SE | Er166_LOD | Tm169_ppm | Tm169_2SE | Tm169_LOD | Yb172_ppm | Yb172_2SE | Yb172_LOD | Lu175_ppm | Lu175_2SE | Lu175_LOD | Hf178_ppm | Hf178_2SE | Hf178_LOD | Ta181_ppm | Ta181_2SE | Ta181_LOD | Pb204_ppm | Pb204_2SE | Pb204_LOD | Pb206_ppm | Pb206_2SE | Pb206_LOD | Pb207_ppm | Pb207_2SE | Pb207_LOD | Pb208_ppm | Pb208_2SE | Pb208_LOD | Th232_ppm | Th232_2SE | Th232_LOD | U238_ppm | U238_2SE | U238_LOD | PbTotal_ppm | PbTotal_2SE | PbTotal_LOD
Z_JM001B_47 | 0.011478 | 0.00032525 | 73.5655 | 2.0729 | 0.090275 | 0.011916 | 87.3368 | 11.0597 | 0.0035122 | 0.00072405 | 70.8272 | 14.5805 | 286.1696 | 346.2424 | 87.6188 | 2.4878 | 0.057403 | 0.0075218 | 2.189 | 0.055178 | 364.0934 | 5.1896 | 164.7909 | 4.075 | 5.2202 | 1.0538 | 0.036766 | 0.16453 | 211.6034 | 48.7096 | 62.0458 | <LoD | 666.6733 | 1153.9619 | 22.9614 | 5.8457 | 2.876 | 684.1604 | 15.3333 | 0.93223 | 473566.6899 | 10730.0505 | 60.819 | 3.4289 | 0.20956 | 1.0105 | <LoD | 0.042631 | 0.84738 | 27.643 | 0.99269 | 0.88165 | <LoD | 0.035726 | 0.7571 | <LoD | 0.35699 | 4.3874 | <LoD | 0.42855 | 5.113 | <LoD | 0.089363 | 1.397 | 14.4737 | 0.99197 | 5.0112 | 4.5891 | 0.25692 | 0.74358 | 54.8952 | 1.7043 | 3.1139 | 21.0158 | 0.75979 | 0.78655 | 105.4423 | 2.6656 | 2.4033 | 22.8232 | 0.57538 | 0.76205 | 219.6815 | 6.31 | 3.5757 | 46.4926 | 1.1234 | 0.8221 | 11375.1414 | 278.1799 | 2.9186 | 1.4343 | 0.15753 | 0.84857 | <LoD | 1.9702 | 14.8383 | 21.0558 | 0.65289 | 0.36297 | 1.1759 | 0.1567 | 0.36934 | 1.465 | 0.26016 | 0.51552 | 196.2697 | 5.943 | 0.11069 | 458.6285 | 9.377 | 0.33382 | 9.0644 | 0.24629 | 0.24611
Z_JM001B_90 | 0.013213 | 0.00032699 | 84.618 | 2.0803 | 0.085723 | 0.010234 | 83.2395 | 9.6102 | 0.0045224 | 0.0006835 | 91.1744 | 13.7466 | 32.5624 | 268.703 | 75.9588 | 1.8705 | 0.047669 | 0.0060796 | 1.9403 | 0.04465 | 500.9768 | 19.3904 | 255.6885 | 13.2034 | 10.3566 | 1.4991 | -0.20163 | 0.37296 | 195.7182 | 36.3192 | 171.8593 | <LoD | 598.6325 | 1217.5238 | 6.2206 | 1.9978 | 2.6971 | 682.0844 | 19.2469 | 0.69108 | 444377.3765 | 12834.7996 | 0.11677 | 2.4651 | 0.25605 | 0.74916 | <LoD | 0.053919 | 0.62825 | 20.9866 | 1.0712 | 0.65345 | <LoD | 0.036776 | 0.56149 | <LoD | 0.42579 | 3.2531 | <LoD | 0.42813 | 3.7914 | 1.0679 | 0.14849 | 1.0358 | 13.6813 | 0.96503 | 3.7149 | 4.2541 | 0.24106 | 0.5513 | 50.4616 | 1.6107 | 2.3094 | 20.4734 | 0.74723 | 0.58308 | 106.0922 | 4.6918 | 1.7819 | 24.6429 | 1.0159 | 0.56518 | 252.4589 | 9.3488 | 0.15464 | 59.8199 | 2.5021 | 0.60921 | 9237.7353 | 268.3743 | 2.1635 | 0.86718 | 0.11948 | 0.62912 | <LoD | 3.2669 | 12.7 | 26.0933 | 0.5918 | 0.26789 | 1.453 | 0.1624 | 0.38886 | 1.9895 | 0.29201 | 0.1836 | 240.1323 | 11.1144 | 1.2847 | 497.6343 | 18.0968 | 0.24763 | 11.2871 | 0.25855 | 0.18132
Z_JM001B_103 | 0.012251 | 0.00038268 | 78.4946 | 2.4373 | 0.099741 | 0.012196 | 96.0889 | 11.1813 | 0.0049848 | 0.00090013 | 100.4446 | 18.0995 | 413.2591 | 277.5658 | 82.2157 | 2.6236 | 0.059033 | 0.0065645 | 2.2657 | 0.14072 | 428.003 | 30.9939 | 190.9454 | 17.783 | 8.7247 | 1.821 | 0.30982 | -0.065809 | 79.8575 | 35.6553 | 62.3721 | <LoD | 429.8437 | 2401.5712 | 17.5802 | 3.7458 | 5.3378 | 690.4009 | 69.6124 | 0.65694 | 467756.6313 | 11186.8056 | 1.9033 | 3.1948 | 0.31699 | 0.71224 | <LoD | 0.059625 | 0.59727 | 20.3258 | 1.8189 | 0.62103 | <LoD | 0.042628 | 0.53399 | <LoD | 0.31236 | 3.093 | <LoD | 0.28147 | 3.6052 | <LoD | 0.12301 | 0.98474 | 10.9535 | 1.502 | 3.5314 | 3.7192 | 0.46528 | 0.52415 | 48.8269 | 4.9787 | 2.1964 | 20.8091 | 2.4123 | 0.55428 | 115.7846 | 11.1668 | 1.6941 | 27.1383 | 2.5493 | 0.53752 | 289.232 | 23.9788 | 2.5214 | 67.1123 | 5.3728 | 0.5789 | 11119.7593 | 327.0155 | 2.0565 | 1.0423 | 0.12304 | 0.59811 | <LoD | 2.5716 | 6.0358 | 20.7192 | 1.8585 | 0.30798 | 1.2152 | 0.15837 | 0.33155 | 1.686 | 0.36817 | 0.47978 | 176.435 | 19.2829 | 1.2215 | 413.2503 | 33.2479 | 0.041214 | 8.9855 | 0.81129 | 0.13997
Z_JM002B_1-1 | 0.018634 | 0.00056844 | 119.0092 | 3.5969 | 0.12164 | 0.020586 | 115.1317 | 18.8059 | 0.0061705 | 0.0015589 | 124.1376 | 31.2525 | 217.6732 | 277.5331 | 54.0789 | 1.6539 | 0.047486 | 0.0080787 | 2.6396 | 0.11083 | 493.1192 | 163.6009 | 180.4853 | 54.3804 | 8.8632 | 2.5981 | 0.12055 | 0.054751 | 157.7952 | 34.5718 | 142.825 | <LoD | 445.7951 | 1235.0819 | <LoD | 1.054 | 3.3923 | 594.9934 | 122.1429 | 0.68165 | 458552.5812 | 13694.329 | 1.9749 | 2.4972 | 0.50148 | 0.73913 | <LoD | 0 | 0.61982 | 8.5909 | 1.8495 | 0.64425 | <LoD | 0.0109 | 0.55432 | <LoD | 0.13732 | 3.21 | <LoD | 0.27761 | 3.742 | <LoD | 0.062477 | 1.022 | 6.4731 | 1.234 | 3.6643 | 2.5505 | 0.51725 | 0.54396 | 37.7303 | 7.8325 | 2.2802 | 17.3797 | 3.6885 | 0.57514 | 101.1419 | 21.2594 | 1.7581 | 24.1523 | 5.2627 | 0.55802 | 271.5801 | 62.9842 | 2.6171 | 63.9646 | 13.6205 | 0.60045 | 11057.0252 | 494.9087 | 0.13632 | 1.1437 | 0.2491 | 0.62069 | <LoD | 2.2052 | 10.8472 | 28.3441 | 7.0683 | 0.23338 | 1.3395 | 0.40373 | 0.25082 | 1.5999 | 0.43265 | 0.71694 | 150.4302 | 42.4302 | 1.2677 | 394.7991 | 113.795 | 0.24459 | 12.0376 | 3.004 | 0.097218
Z_JM002B_1-2 | 0.017165 | 0.00061588 | 109.7074 | 3.9022 | 0.11885 | 0.019851 | 113.1218 | 17.8877 | 0.0046414 | 0.0014124 | 93.4803 | 28.3788 | -90.4514 | 471.2197 | 58.6827 | 2.0689 | 0.050599 | 0.0080811 | 2.3588 | 0.12762 | 255.3686 | 13.0677 | 106.2169 | 2.3363 | 4.59 | 1.4056 | 0.21789 | 0.032732 | <LoD | 42.1951 | 127.3323 | <LoD | 516.6079 | 1310.0082 | 3.2403 | 1.9799 | 2.2044 | 459.2498 | 19.3883 | 0.67078 | 444724.4964 | 10940.149 | 1.9434 | 1.7669 | 0.1997 | 0.72743 | <LoD | 0 | 0.61 | 6.3216 | 0.30638 | 0.63383 | <LoD | 0.014503 | 0.54571 | <LoD | 0.16127 | 3.1594 | <LoD | 0.20476 | 3.6835 | <LoD | 0.087407 | 1.0058 | 5.1905 | 0.54518 | 3.6059 | 2.2663 | 0.21693 | 0.53538 | 31.6473 | 1.5619 | 2.2449 | 13.8344 | 0.6298 | 0.56598 | 79.6292 | 3.5124 | 1.7303 | 18.6262 | 0.90997 | 0.54939 | 200.3929 | 9.7111 | 2.5763 | 49.2369 | 2.4992 | 0.59066 | 9687.2942 | 251.2362 | 2.0996 | 0.73241 | 0.088092 | 0.61087 | <LoD | 1.4325 | 6.1629 | 17.509 | 0.84608 | 0.16346 | 0.93181 | 0.15043 | 0.33882 | 0.9397 | 0.27062 | 0.44862 | 97.1469 | 3.694 | 1.2477 | 244.0435 | 8.6634 | 0.24086 | 7.471 | 0.36176 | 0.16668
Z_JM002B_1-3 | 0.017866 | 0.00068004 | 114.1423 | 4.3058 | 0.1128 | 0.012794 | 108.0553 | 11.5901 | 0.0050797 | 0.0010233 | 102.339 | 20.5681 | -96.7303 | 350.8241 | 56.5368 | 2.1261 | 0.04649 | 0.0054406 | 2.1407 | 0.086049 | 399.9657 | 51.4527 | 189.8919 | 29.464 | 8.184 | 1.6617 | 0.19477 | 0.02124 | 259.1717 | 36.7148 | 158.3057 | <LoD | 464.3472 | 1733.3276 | 5.7563 | 1.2492 | 3.6351 | 682.9079 | 77.3616 | 0.62631 | 466060.6114 | 12263.0301 | 1.8146 | 2.5725 | 0.25628 | 0.67927 | <LoD | 0.0080474 | 0.56962 | 9.3868 | 1.0563 | 0.5917 | <LoD | 0.015648 | 0.50971 | <LoD | 0.1619 | 2.9503 | <LoD | 0.28741 | 3.4402 | <LoD | 0.10055 | 0.93928 | 8.3771 | 0.9556 | 3.3669 | 3.1568 | 0.40631 | 0.49997 | 44.94 | 5.326 | 2.097 | 20.685 | 2.3953 | 0.52847 | 115.6039 | 13.2562 | 1.6158 | 27.2632 | 2.6987 | 0.51318 | 291.303 | 31.2453 | 2.4062 | 68.7017 | 6.9024 | 0.55134 | 10045.5797 | 326.8602 | 1.9603 | 0.88063 | 0.09769 | 0.57045 | <LoD | 1.4726 | 4.5496 | 25.0098 | 2.0295 | 0.37549 | 1.2719 | 0.16604 | 0.22324 | 1.4731 | 0.29464 | 0.22878 | 160.5569 | 21.791 | 1.1652 | 357.1762 | 38.4123 | 0.22502 | 10.7067 | 0.87256 | 0.17475
Z_JM03B_27 | 0.013283 | 0.00031141 | 85.059 | 1.9813 | 0.099017 | 0.0054255 | 95.7754 | 5.012 | 0.0045559 | 0.00056156 | 91.8522 | 11.301 | 338.9188 | 147.502 | 75.6042 | 1.8136 | 0.054452 | 0.0035442 | 2.7336 | 0.19788 | 789.8715 | 16.8855 | 291.4959 | 18.5571 | 11.5904 | 1.4392 | -0.24681 | 0.54879 | 415.0397 | 78.4479 | 100.4704 | <LoD | 847.9048 | 2914.4129 | 8.4747 | 2.6265 | 5.6896 | 1835.9425 | 77.8888 | 1.1142 | 456126.1549 | 12269.1211 | 3.2284 | 4.5839 | 0.36317 | 1.2086 | <LoD | 0.10479 | 1.0135 | 36.5265 | 1.6705 | 1.0524 | 1.1286 | 0.11317 | 0.90715 | 7.1759 | 0.84017 | 5.2494 | 7.8682 | 0.83459 | 6.1222 | 3.0595 | 0.34315 | 1.6713 | 38.4745 | 3.3731 | 5.9898 | 11.9818 | 0.77656 | 0.88962 | 144.1743 | 8.3985 | 3.7324 | 55.4137 | 2.5405 | 0.94018 | 285.0902 | 11.2747 | 2.8748 | 63.254 | 2.2582 | 0.91339 | 634.1609 | 21.9971 | 4.282 | 145.0059 | 5.1244 | 0.98052 | 9807.054 | 284.4934 | 3.4874 | 1.2648 | 0.12218 | 1.015 | <LoD | 2.5494 | 24.0135 | 70.0174 | 4.3421 | 0.31755 | 4.1896 | 0.30257 | 0.52989 | 3.982 | 0.53994 | 0.81411 | 449.2679 | 22.7077 | 2.0734 | 1293.9388 | 54.0004 | 0.40057 | 30.1454 | 1.8196 | 0.24472
Z_JM003B_21 | 0.010409 | 0.00018773 | 66.7533 | 1.1975 | 0.074702 | 0.0055808 | 73.0491 | 5.263 | 0.0038893 | 0.00060351 | 78.4315 | 12.1435 | 222.263 | 189.047 | 96.2988 | 1.6934 | 0.052329 | 0.0039961 | 5.7316 | 0.17621 | 1672.9116 | 53.968 | 285.5553 | 9.0983 | 9.8298 | 1.4342 | -0.010596 | 0.21491 | 317.6702 | 59.6568 | 149.161 | <LoD | 422.6444 | 2744.9658 | 8.6451 | 2.3887 | 5.0932 | 1300.5005 | 52.4515 | 1.0223 | 470274.5766 | 10565.2625 | 2.9624 | 8.406 | 0.47002 | 1.1091 | <LoD | 0.080969 | 0.93003 | 12.1856 | 0.75251 | 0.96543 | <LoD | 0.11938 | 0.83267 | <LoD | 0.47578 | 4.8172 | <LoD | 0.52958 | 5.6192 | <LoD | 0.13429 | 1.5337 | 19.6535 | 1.9633 | 5.4961 | 7.7644 | 0.488 | 0.81643 | 100.4133 | 5.6477 | 3.4263 | 39.3156 | 1.9356 | 0.86269 | 204.019 | 7.214 | 2.6381 | 45.9184 | 1.9093 | 0.83845 | 455.6547 | 19.3265 | 3.9301 | 97.1768 | 3.5149 | 0.89942 | 12828.1162 | 245.8438 | 3.1998 | 3.6655 | 0.20613 | 0.93146 | <LoD | 3.15 | 9.9672 | 98.9123 | 3.1386 | 0.46251 | 5.4098 | 0.42698 | 0.29704 | 2.7466 | 0.40191 | 0.60775 | 378.5971 | 17.2837 | 1.9029 | 2314.6587 | 52.0041 | 0.36777 | 41.854 | 1.2987 | 0.10991
Z_JM003B_31 | 0.016285 | 0.00045135 | 104.1314 | 2.8623 | 0.1097 | 0.012605 | 105.2087 | 11.3792 | 0.0058718 | 0.0010647 | 118.2503 | 21.3781 | 61.7618 | 255.1936 | 61.7528 | 1.678 | 0.049344 | 0.0059169 | 2.907 | 0.11656 | 406.3294 | 28.8739 | 140.0423 | 14.3967 | 7.2637 | 1.3873 | -0.057885 | 0.26816 | 207.2122 | 32.8929 | 185.2497 | <LoD | 379.012 | 1275.3759 | <LoD | 1.2364 | 3.4372 | 452.1906 | 18.841 | 0.68967 | 475734.8026 | 12871.9591 | 1.9986 | 2.261 | 0.20176 | 0.74827 | <LoD | 0.029938 | 0.62747 | 4.9985 | 0.28534 | 0.65114 | <LoD | 0.13195 | 0.56192 | <LoD | 0.47268 | 3.25 | <LoD | 0.24312 | 3.7919 | <LoD | 0.056173 | 1.0348 | 6.9639 | 0.60157 | 3.7077 | 2.477 | 0.17651 | 0.55088 | 35.2162 | 2.2391 | 2.3125 | 14.8947 | 0.82119 | 0.582 | 78.4589 | 3.4516 | 1.7799 | 17.7593 | 0.67284 | 0.56587 | 176.7924 | 6.5833 | 2.6521 | 39.4668 | 1.3953 | 0.60659 | 9894.9804 | 209.694 | 2.1586 | 0.7409 | 0.11067 | 0.62848 | <LoD | 1.9166 | 6.7258 | 25.7543 | 2.512 | 0.21835 | 1.375 | 0.16372 | 0.27409 | 1.4352 | 0.27108 | 0.29946 | 126.7278 | 14.7039 | 1.284 | 384.5562 | 32.3105 | 0.24824 | 11.0081 | 1.0522 | 0.23933
Z_JM003B_9 | 0.0096593 | 0.00020606 | 61.9681 | 1.3157 | 0.062507 | 0.0035705 | 61.5206 | 3.4109 | 0.0029707 | 0.00041052 | 59.9428 | 8.2714 | 8.8466 | 136.578 | 103.8828 | 2.2267 | 0.047024 | 0.0025409 | 5.9645 | 0.086026 | 2282.9764 | 141.331 | 374.5619 | 27.0417 | 9.3687 | 1.2807 | 0.34535 | 0.0023165 | <LoD | 53.2657 | 193.6676 | <LoD | 387.4977 | 1811.7325 | <LoD | 1.4031 | 3.2899 | 986.3805 | 25.9356 | 0.89921 | 496904.5808 | 16289.8842 | 0.16649 | 6.2889 | 0.31792 | 0.97573 | <LoD | 0.042423 | 0.81821 | 20.9522 | 0.76626 | 0.8488 | <LoD | 0.044661 | 0.73288 | <LoD | 0.25075 | 4.2377 | <LoD | 0.34909 | 4.9455 | <LoD | 0.10522 | 1.3495 | 9.9257 | 0.76206 | 4.8343 | 3.5992 | 0.21531 | 0.71839 | 54.4893 | 2.1014 | 3.0165 | 25.3768 | 0.65126 | 0.75886 | 155.806 | 4.5318 | 2.3209 | 40.4062 | 1.2076 | 0.73811 | 479.0973 | 12.8699 | 3.4588 | 131.1659 | 3.6053 | 0.050515 | 15618.5399 | 388.3953 | 2.8144 | 1.7288 | 0.14604 | 0.81958 | <LoD | 2.8108 | 22.6498 | 108.3359 | 3.1564 | 0.21411 | 5.4451 | 0.32379 | 0.22478 | 2.5986 | 0.37688 | 0.3905 | 424.626 | 14.0766 | 1.6744 | 2730.4239 | 67.9175 | 0.32385 | 45.5623 | 1.3059 | 0.14271
Z_JM006B_35 | 0.010716 | 0.00042639 | 68.709 | 2.7201 | 0.070447 | 0.015154 | 68.3873 | 14.3514 | 0.0026262 | 0.0012456 | 52.8987 | 25.0885 | 270.1442 | 409.3179 | 93.3197 | 3.3724 | 0.047893 | 0.010309 | 2.7833 | 0.095284 | 240.7508 | 27.3201 | 83.1257 | 7.0486 | 2.0449 | 0.91844 | 0.085961 | 0.08665 | <LoD | 38.1016 | 198.0115 | <LoD | 401.4243 | 2040.7652 | 8.5744 | 1.8001 | 2.6747 | 684.9061 | 34.28 | 0.72299 | 504523.321 | 13024.0369 | 2.101 | 2.0922 | 0.21705 | 0.78587 | <LoD | 0.009118 | 0.042106 | 16.0347 | 0.73825 | 0.68068 | <LoD | 0.026016 | 0.59086 | <LoD | 0.28536 | 3.4022 | <LoD | 0.42844 | 3.9948 | <LoD | 0.088346 | 1.0883 | 15.6741 | 1.1272 | 3.8901 | 4.9321 | 0.31602 | 0.57998 | 58.7316 | 3.2612 | 2.441 | 21.3176 | 1.1556 | 0.61112 | 103.5409 | 5.4827 | 1.8675 | 21.2576 | 1.2105 | 0.59638 | 198.3009 | 11.8162 | 2.79 | 40.354 | 2.7925 | 0.63521 | 11854.2625 | 432.8189 | 0.14476 | 0.96399 | 0.10742 | 0.66179 | <LoD | 2.3757 | 11.6722 | 10.1542 | 0.86247 | 0.18584 | <LoD | 0.12524 | 0.58225 | <LoD | 0.18082 | 0.40163 | 74.0327 | 5.1796 | 1.3507 | 228.3237 | 21.9392 | 0.26188 | 4.2915 | 0.37994 | 0.36049
Z_JM006B_46 | 0.01122 | 0.00028235 | 71.9219 | 1.7999 | 0.083059 | 0.0090591 | 80.752 | 8.4573 | 0.0035909 | 0.00052118 | 72.4298 | 10.4926 | 283.2787 | 237.5465 | 89.558 | 2.2809 | 0.053867 | 0.0060513 | 2.4567 | 0.089537 | 705.7054 | 74.4827 | 278.8506 | 21.3829 | 9.84 | 1.7456 | -0.07777 | 0.34415 | 6175.1072 | 1818.8303 | 207.1659 | 10880.8211 | 3744.221 | 2136.1802 | 7.3773 | 1.8175 | 2.8033 | 895.2152 | 31.1421 | 0.75678 | 484159.3407 | 14535.9651 | 2.1999 | 3.0515 | 0.28616 | 0.82274 | 31.5152 | 9.594 | 0.044083 | 111.9414 | 25.3224 | 0.71238 | 11.9737 | 3.5564 | 0.61852 | 52.7676 | 15.2497 | 3.5602 | 12.4086 | 3.0111 | 4.1832 | 1.8458 | 0.37482 | 1.1395 | 26.4241 | 2.2095 | 4.0723 | 6.9321 | 0.35363 | 0.60736 | 75.8897 | 3.4177 | 2.5564 | 28.0215 | 1.0198 | 0.63983 | 137.2745 | 5.3972 | 1.9548 | 29.9097 | 1.264 | 0.62445 | 289.9677 | 13.3697 | 2.9209 | 62.2535 | 3.1255 | 0.665 | 13053.2189 | 527.259 | 0.15156 | 1.5326 | 0.16161 | 0.69305 | <LoD | 2.5002 | 12.2386 | 32.2126 | 2.7501 | 0.1946 | 1.7414 | 0.17292 | 0.60962 | 1.7718 | 0.30508 | 0.42055 | 260.5943 | 18.402 | 1.4142 | 704.354 | 68.5401 | 0.2742 | 13.8398 | 1.1553 | 0.37746
Z_JM006B-1 | 0.0097231 | 0.00025205 | 62.375 | 1.609 | 0.062527 | 0.0050264 | 61.4977 | 4.8112 | 0.0026745 | 0.00050949 | 53.9664 | 10.2648 | -4.0049 | 193.3866 | 103.3578 | 2.6315 | 0.046728 | 0.0038728 | 3.071 | 0.17223 | 1148.5207 | 69.4495 | 366.6404 | 18.7618 | 8.9683 | 1.5136 | 0.048708 | 0.22192 | 166.5844 | 49.2802 | 91.6732 | <LoD | 321.9555 | 1321.74 | 9.0432 | 2.012 | 2.5975 | 854.5365 | 72.559 | 0.70027 | 498376.8453 | 15465.0318 | 2.0363 | 3.3351 | 0.26098 | 0.76143 | <LoD | 0.050256 | 0.63861 | 22.0738 | 1.9616 | 0.65908 | <LoD | 0.034241 | 0.57235 | <LoD | 0.39002 | 3.2933 | <LoD | 0.54542 | 3.8724 | 1.3007 | 0.19383 | 1.0547 | 18.0901 | 2.2446 | 3.7686 | 6.0131 | 0.63043 | 0.56226 | 72.2465 | 7.2061 | 2.3667 | 26.2229 | 2.4862 | 0.59219 | 127.3476 | 9.7415 | 1.8089 | 27.4545 | 1.8338 | 0.578 | 268.4582 | 13.7189 | 2.7033 | 57.3911 | 2.0517 | 0.61544 | 11947.0701 | 538.4132 | 2.1956 | 0.9438 | 0.10621 | 0.64162 | <LoD | 1.4458 | 5.6728 | 42.3387 | 1.7004 | 0.44853 | 2.1895 | 0.18348 | 0.29241 | 1.6331 | 0.27476 | 0.34143 | 316.2529 | 14.2085 | 1.3089 | 1062.3565 | 51.3991 | 0.048642 | 17.9339 | 0.70285 | 0.18995
Z_JM006B-25 | 0.010527 | 0.0002528 | 67.506 | 1.6125 | 0.067011 | 0.0065294 | 65.7168 | 6.1954 | 0.0045253 | 0.00087476 | 91.2036 | 17.5804 | -49.8902 | 212.2073 | 95.402 | 2.2809 | 0.046122 | 0.0044972 | 6.1348 | 0.19889 | 1067.7117 | 64.7057 | 172.0837 | 7.3442 | 6.8851 | 1.2712 | 0.13079 | 0.10345 | 483.5055 | 121.9523 | 88.1365 | <LoD | 376.5684 | 1273.5135 | 11.67 | 3.0621 | 2.5062 | 476.5624 | 11.6166 | 0.67468 | 484795.7867 | 11790.4586 | 1.9626 | 2.7365 | 0.18078 | 0.73374 | 5.0465 | 2.4493 | 0.61541 | 28.9444 | 5.5755 | 0.63489 | 1.7605 | 0.747 | 0.55145 | 7.3871 | 2.9759 | 3.1718 | <LoD | 0.57955 | 3.7325 | <LoD | 0.070386 | 1.0165 | 9.3587 | 1.0471 | 3.6313 | 3.0008 | 0.18011 | 0.54198 | 37.0096 | 1.4171 | 2.2814 | 14.4462 | 0.57121 | 0.5707 | 73.7656 | 2.4521 | 1.7428 | 17.6582 | 0.66187 | 0.55705 | 173.2789 | 5.4194 | 2.6049 | 38.0723 | 1.1363 | 0.59307 | 14560.1096 | 437.2549 | 2.1158 | 1.3876 | 0.12766 | 0.6185 | <LoD | 1.3916 | 5.4761 | 40.8384 | 1.4983 | 0.43231 | 2.1151 | 0.21261 | 0.28179 | 1.1945 | 0.22069 | 0.32907 | 142.4371 | 4.5475 | 1.2615 | 951.2819 | 46.731 | 0.046876 | 17.2476 | 0.65618 | 0.18307
Z_JM006B_116 | 0.010857 | 0.00023559 | 69.6101 | 1.5027 | 0.070464 | 0.0054528 | 69.0406 | 5.1731 | 0.0033647 | 0.00052152 | 67.8729 | 10.505 | -36.9098 | 197.355 | 92.4458 | 2.0907 | 0.046938 | 0.0035404 | 4.8021 | 0.11376 | 1439.9041 | 59.7552 | 300.2489 | 17.0702 | 9.8751 | 1.6954 | 0.21966 | 0.05516 | 3188.7806 | 891.2158 | 202.0955 | 6548.4043 | 2535.5383 | 2061.463 | <LoD | 1.9256 | 5.5325 | 1141.03 | 30.1599 | 0.71835 | 481337.2893 | 13973.6125 | 2.0905 | 5.6021 | 0.31777 | 0.049922 | 7.4761 | 3.1256 | 0.6554 | 39.8911 | 9.1245 | 0.043181 | 3.5559 | 1.4513 | 0.58716 | 17.8656 | 7.2292 | 0.21568 | 6.3602 | 1.7802 | 3.9759 | 1.2954 | 0.19453 | 1.0827 | 20.5812 | 2.0913 | 3.8668 | 6.6004 | 0.38952 | 0.57737 | 85.8116 | 2.9992 | 2.4304 | 33.9817 | 1.1965 | 0.60781 | 179.5025 | 6.8133 | 1.8556 | 41.4885 | 1.3685 | 0.5933 | 424.9929 | 13.6087 | 2.7741 | 93.5989 | 2.9474 | 0.040352 | 12767.8812 | 306.0294 | 2.2533 | 2.38 | 0.14224 | 0.6589 | <LoD | 2.2651 | 11.6855 | 61.1238 | 1.5187 | 0.24811 | 3.2775 | 0.24155 | 0.15783 | 1.9073 | 0.29577 | 0.53159 | 264.2461 | 10.8834 | 1.3435 | 1373.6158 | 40.1459 | 0.26047 | 25.8755 | 0.62381 | 0.16648
Z_JM006B_133 | 0.010489 | 0.00038122 | 67.2614 | 2.4314 | 0.056205 | 0.012731 | 55.0448 | 12.229 | 0.0042952 | 0.0016237 | 86.4577 | 32.6414 | -251.8206 | 480.1739 | 96.1303 | 3.3676 | 0.039408 | 0.0090009 | 4.5439 | 0.91427 | 459.5132 | 114.548 | 95.4005 | 4.7232 | 3.7685 | 1.4337 | -0.20753 | 0.32359 | 215.8162 | 32.7775 | 184.294 | <LoD | 527.8839 | 1886.3187 | 6.3121 | 2.1584 | 5.0694 | 644.8714 | 19.1883 | 0.65725 | 483772.1444 | 12818.6864 | 1.9134 | 1.7581 | 0.15836 | 0.045684 | <LoD | 0.013985 | 0.5998 | 15.2263 | 0.52979 | 0.039504 | <LoD | 0.02491 | 0.53722 | 1.1258 | 0.21781 | 0.19727 | <LoD | 0.4907 | 3.6393 | <LoD | 0.075164 | 0.99095 | 14.2993 | 1.026 | 3.5384 | 4.7416 | 0.2531 | 0.52853 | 57.4884 | 2.9397 | 2.2249 | 20.5045 | 0.7571 | 0.55627 | 101.5539 | 3.6731 | 1.6978 | 21.4816 | 0.92189 | 0.543 | 199.8323 | 8.2584 | 2.5385 | 43.0128 | 2.0186 | 0.036929 | 11435.2384 | 407.4461 | 2.0621 | 0.75995 | 0.080466 | 0.60319 | <LoD | 1.8082 | 10.7133 | 15.893 | 3.2213 | 0.2271 | 0.86398 | 0.24131 | 0.14444 | 0.74394 | 0.2345 | 0.48656 | 75.5319 | 3.3213 | 1.2296 | 389.8264 | 93.5541 | 0.23836 | 6.7789 | 1.3535 | 0.15237
Z_JM006B_91 | 0.010432 | 0.0004281 | 66.8975 | 2.731 | 0.064858 | 0.0091592 | 63.5114 | 8.6597 | 0.0030294 | 0.0011611 | 61.0298 | 23.3564 | -344.7603 | 415.7353 | 97.1996 | 4.1688 | 0.045951 | 0.0066538 | 3.9942 | 0.10105 | 368.3447 | 15.4433 | 92.3393 | 3.8648 | 2.1839 | 0.8749 | -0.32166 | 0.41074 | 289.1296 | 40.3625 | 75.6632 | <LoD | 245.3578 | 1413.8118 | 6.1525 | 1.3762 | 2.7656 | 643.7486 | 16.858 | 0.044282 | 458248.2246 | 14547.3945 | 2.0187 | 2.1341 | 0.14478 | 0.048188 | <LoD | 0 | 0.6327 | 6.8641 | 0.37249 | 0.65198 | <LoD | 0.020593 | 0.56652 | <LoD | 0.16213 | 3.2548 | <LoD | 0.26576 | 3.8399 | <LoD | 0.091529 | 1.0454 | 10.1991 | 0.70703 | 3.732 | 3.5045 | 0.20146 | 0.55771 | 46.6209 | 2.2782 | 2.3477 | 19.7383 | 0.57163 | 0.58682 | 106.4611 | 3.6029 | 1.7905 | 23.7726 | 0.93161 | 0.57282 | 248.1646 | 6.3252 | 2.6775 | 56.9129 | 1.5464 | 0.60975 | 10489.3699 | 360.9515 | 2.1753 | 0.74571 | 0.082727 | 0.63652 | <LoD | 2.1393 | 6.9355 | 14.3201 | 0.83339 | 0.35117 | 0.62643 | 0.1073 | 0.32181 | 0.42246 | 0.15548 | 0.3708 | 77.9045 | 2.7892 | 1.2971 | 338.0774 | 11.4647 | 0.016063 | 5.9922 | 0.36576 | 0.18472
Z_JM003B_54 | 0.010734 | 0.00032109 | 68.8273 | 2.0479 | 0.064082 | 0.0083921 | 62.8307 | 8.0144 | 0.0030941 | 0.00095379 | 62.3727 | 19.2153 | -322.0986 | 357.6843 | 93.7924 | 2.8399 | 0.0432 | 0.0056173 | 3.8306 | 0.14883 | 401.5139 | 6.7767 | 104.8395 | 4.1336 | 2.9797 | 0.87705 | 0.15594 | 0.058217 | 209.9709 | 36.6742 | 155.518 | <LoD | 366.0389 | 780.5305 | 2.8777 | 1.1112 | 2.0717 | 393.0939 | 20.18 | 0.65561 | 480606.4448 | 15635.5693 | 1.9103 | 1.2959 | 0.13524 | 0.71362 | <LoD | 0.020157 | 0.59863 | 5.8788 | 0.35986 | 0.61662 | <LoD | 0.020646 | 0.53585 | 0.7092 | 0.187 | 0.1966 | <LoD | 0.2173 | 3.634 | <LoD | 0.079156 | 0.98928 | 6.8294 | 0.60972 | 3.5306 | 2.3318 | 0.18733 | 0.52786 | 28.7423 | 1.9399 | 2.222 | 11.7673 | 0.63301 | 0.55526 | 64.9103 | 4.0463 | 1.6936 | 14.9638 | 0.94154 | 0.542 | 152.8578 | 7.2789 | 2.5331 | 35.9296 | 1.8002 | 0.57694 | 11102.3838 | 414.3518 | 2.0581 | 0.6189 | 0.060062 | 0.60247 | <LoD | 1.7152 | 6.5765 | 15.3358 | 0.69316 | 0.44284 | 0.80495 | 0.1068 | 0.34158 | 0.38252 | 0.1458 | 0.14325 | 83.595 | 4.5862 | 1.2273 | 348.6566 | 10.1204 | 0.23787 | 6.4682 | 0.29616 | 0.2537

## notes
These are follow up additional analyses, i.e. 2nd shots on grains of interest from the 2020 YMEP Sands of Time program, dated for confirmation and testing confidence in the age
note grain 20JM002B-1 had three shots in this round of analyses

## Primary
| Pb206/U238 | Pb206/U238_2SE | Pb206/U238 age | Pb206/U238 age_2SE | Pb207/U235 | Pb207/U235_2SE | Pb207/U235 age | Pb207/U235 age_2SE | Pb208/Th232 | Pb208/Th232_2SE | Pb208/Th232 age | Pb208/Th232 age_2SE | Pb207/Pb206 age | Pb207/Pb206 age_2SE | U238/Pb206 | U238/Pb206_2SE | Pb207/Pb206 | Pb207/Pb206_2SE | U/Th | U/Th_2SE | Approx_U_PPM | Approx_U_PPM_2SE | Approx_Th_PPM | Approx_Th_PPM_2SE | Approx_Pb_PPM | Approx_Pb_PPM_2SE | rho 207Pb/206Pb v 238U/206Pb | rho 206Pb/238U v 207Pb/235U
Run 8
Z_91500-1 | 0.17877 | 0.0041144 | 1059.9805 | 22.5292 | 1.8871 | 0.13004 | 1068.9744 | 45.1183 | 0.04871 | 0.0060385 | 958.8191 | 115.9654 | 1081.4616 | 134.6551 | 5.6164 | 0.13227 | 0.0772 | 0.0052778 | 2.6863 | 0.085465 | 79.0534 | 3.5274 | 29.7903 | 1.4362 | 14.2181 | 1.6705
Z_91500-2 | 0.17711 | 0.0038537 | 1050.9095 | 21.1165 | 1.8422 | 0.084401 | 1057.1333 | 31.1916 | 0.053433 | 0.006518 | 1049.2658 | 123.999 | 1104.4197 | 93.9949 | 5.6666 | 0.12506 | 0.07627 | 0.0038828 | 2.7102 | 0.08334 | 80.3472 | 3.4243 | 30.094 | 1.819 | 15.5891 | 1.7984
Z_91500-3 | 0.18121 | 0.0043254 | 1073.2336 | 23.5788 | 1.7953 | 0.10261 | 1038.6451 | 37.1076 | 0.053338 | 0.0062554 | 1047.6306 | 120.383 | 966.0294 | 97.2801 | 5.5421 | 0.13167 | 0.072113 | 0.0033272 | 2.7137 | 0.091841 | 80.1105 | 3.4735 | 29.8335 | 1.6116 | 15.238 | 1.8712
Z_91500-4 | 0.17871 | 0.0044537 | 1059.597 | 24.3782 | 1.8696 | 0.09657 | 1066.0827 | 34.2288 | 0.057218 | 0.0065039 | 1121.7762 | 123.9253 | 1071.9613 | 98.0303 | 5.6222 | 0.14279 | 0.076042 | 0.0037465 | 2.61 | 0.065315 | 80.6366 | 4.0219 | 30.0939 | 1.4337 | 15.1487 | 1.6569
Z_91500-5 | 0.1804 | 0.0036563 | 1068.9427 | 19.9373 | 1.9646 | 0.12381 | 1096.7251 | 42.8996 | 0.060717 | 0.0068366 | 1188.2992 | 129.3965 | 1138.6405 | 118.7976 | 5.56 | 0.1108 | 0.079014 | 0.004522 | 2.5715 | 0.073782 | 80.6819 | 3.5067 | 30.5898 | 1.2669 | 16.0367 | 1.84
Z_91500-6 | 0.17937 | 0.0039709 | 1063.2809 | 21.6948 | 1.7506 | 0.11157 | 1021.3356 | 40.228 | 0.054361 | 0.0057975 | 1067.6396 | 111.303 | 915.6892 | 137.3989 | 5.5955 | 0.12385 | 0.071116 | 0.0046368 | 2.6146 | 0.081958 | 79.492 | 3.8193 | 29.6667 | 1.3835 | 14.3417 | 1.5791
Z_91500-7 | 0.17872 | 0.0040705 | 1059.6982 | 22.2651 | 1.835 | 0.096553 | 1053.6077 | 35.7673 | 0.052289 | 0.0078562 | 1026.1141 | 150.3842 | 1020.0557 | 122.9038 | 5.6166 | 0.12897 | 0.074463 | 0.0041695 | 2.6986 | 0.074983 | 80.6967 | 3.6671 | 30.2461 | 1.5958 | 14.9672 | 2.2942
Z_91500-8 | 0.17815 | 0.0046582 | 1056.4558 | 25.4931 | 1.8894 | 0.11804 | 1071.1514 | 40.803 | 0.048854 | 0.0057964 | 961.7604 | 111.7991 | 1077.4853 | 128.2739 | 5.6426 | 0.14917 | 0.076904 | 0.0050588 | 2.6294 | 0.085553 | 82.2216 | 3.7912 | 31.7979 | 1.8122 | 14.6713 | 1.6414
Z_91500-9 | 0.18052 | 0.0044013 | 1069.4631 | 24.0845 | 1.8193 | 0.11326 | 1046.3917 | 40.322 | 0.053171 | 0.0081895 | 1042.5304 | 156.9845 | 969.5111 | 138.5264 | 5.5652 | 0.1403 | 0.073045 | 0.0047963 | 2.7894 | 0.090301 | 76.0692 | 3.3368 | 27.7453 | 1.3239 | 14.0342 | 2.1298
Z_91500-10 | 0.17874 | 0.0038294 | 1059.8106 | 20.9843 | 1.8452 | 0.087252 | 1058.0238 | 31.9281 | 0.055307 | 0.0079188 | 1083.8219 | 150.7282 | 1065.7184 | 91.2382 | 5.6148 | 0.12427 | 0.074724 | 0.0038254 | 2.6429 | 0.072641 | 81.7235 | 3.7524 | 31.5675 | 1.6961 | 16.414 | 2.2188

## Secondary
| Pb206/U238 | Pb206/U238_2SE | Pb206/U238 age | Pb206/U238 age_2SE | Pb207/U235 | Pb207/U235_2SE | Pb207/U235 age | Pb207/U235 age_2SE | Pb208/Th232 | Pb208/Th232_2SE | Pb208/Th232 age | Pb208/Th232 age_2SE | Pb207/Pb206 age | Pb207/Pb206 age_2SE | U238/Pb206 | U238/Pb206_2SE | Pb207/Pb206 | Pb207/Pb206_2SE | U/Th | U/Th_2SE | Approx_U_PPM | Approx_U_PPM_2SE | Approx_Th_PPM | Approx_Th_PPM_2SE | Approx_Pb_PPM | Approx_Pb_PPM_2SE | rho 207Pb/206Pb v 238U/206Pb | rho 206Pb/238U v 207Pb/235U
Run 8
Z_Plesovice-1 | 0.054585 | 0.00091719 | 342.5912 | 5.6098 | 0.40086 | 0.018367 | 341.6197 | 13.2814 | 0.016744 | 0.0024398 | 335.1893 | 48.3837 | 320.6535 | 107.3658 | 18.36 | 0.31717 | 0.053462 | 0.0025501 | 9.6871 | 0.24575 | 777.9936 | 25.7261 | 80.6471 | 3.3265 | 12.6496 | 1.7361 | 0.079528 | 0.19851
Z_Plesovice-2 | 0.054422 | 0.00065979 | 341.6084 | 4.035 | 0.41801 | 0.020056 | 354.0359 | 14.4796 | 0.016796 | 0.0033636 | 336.0385 | 66.6873 | 458.889 | 89.6635 | 18.3029 | 0.28196 | 0.055809 | 0.0027095 | 9.6352 | 0.29431 | 780.4104 | 23.3498 | 81.1423 | 3.1752 | 12.4401 | 2.2566 | 0.034473 | 0.30526
Z_Plesovice-3 | 0.053879 | 0.00087128 | 338.2745 | 5.323 | 0.40843 | 0.012682 | 347.4337 | 9.1142 | 0.017473 | 0.0017332 | 349.907 | 34.4392 | 413.6702 | 70.5194 | 18.5951 | 0.28848 | 0.055346 | 0.0017451 | 9.9504 | 0.22129 | 736.2208 | 25.4579 | 73.8152 | 2.9335 | 12.0768 | 1.1759 | 0.22351 | 0.24123
Z_Plesovice-4 | 0.054159 | 0.00082113 | 339.9903 | 5.0211 | 0.38944 | 0.012013 | 333.6863 | 8.791 | 0.018123 | 0.0020348 | 362.7393 | 40.3427 | 284.5422 | 78.0303 | 18.495 | 0.28108 | 0.052316 | 0.0018028 | 9.4564 | 0.17876 | 806.7319 | 32.9662 | 82.0826 | 3.2654 | 13.447 | 1.572 | -0.056036 | 0.45061
Z_Plesovice-5 | 0.053684 | 0.0007709 | 337.0872 | 4.7181 | 0.40436 | 0.012722 | 344.4911 | 9.1825 | 0.015528 | 0.0017017 | 311.2324 | 33.8764 | 387.6011 | 74.7336 | 18.6569 | 0.27298 | 0.054739 | 0.0018198 | 9.4484 | 0.21557 | 801.0933 | 32.1602 | 82.1632 | 3.5859 | 11.4628 | 1.3785 | 0.057731 | 0.35847
Z_Plesovice-6 | 0.053952 | 0.00066918 | 338.7306 | 4.0945 | 0.41514 | 0.019813 | 351.8585 | 14.069 | 0.017739 | 0.0020499 | 355.0997 | 40.705 | 421.9289 | 108.3208 | 18.556 | 0.23457 | 0.055935 | 0.0027912 | 9.6601 | 0.23797 | 776.2471 | 29.8797 | 78.4571 | 3.1549 | 12.4378 | 1.3972 | -0.18358 | 0.39255
Z_Plesovice-7 | 0.053437 | 0.00088397 | 335.57 | 5.4092 | 0.3964 | 0.015657 | 338.5589 | 11.2917 | 0.015229 | 0.0020706 | 305.1689 | 41.1831 | 334.625 | 100.3351 | 18.7522 | 0.3108 | 0.053727 | 0.0024824 | 9.5765 | 0.17337 | 791.3751 | 30.9961 | 83.8956 | 3.8372 | 12.2392 | 1.627 | -0.14747 | 0.49026
Z_Plesovice-8 | 0.054009 | 0.00070247 | 339.0782 | 4.2956 | 0.38982 | 0.015018 | 333.792 | 10.9764 | 0.014728 | 0.0018654 | 295.2579 | 37.1955 | 270.1942 | 95.9113 | 18.5388 | 0.24 | 0.052154 | 0.0021544 | 9.5751 | 0.2274 | 777.6558 | 28.5341 | 83.2797 | 3.5557 | 11.7721 | 1.5113 | -0.060207 | 0.38875
Z_Plesovice-9 | 0.053317 | 0.0010905 | 334.8311 | 6.676 | 0.39706 | 0.015178 | 339.1417 | 11.0404 | 0.018293 | 0.0025019 | 366.0291 | 49.6441 | 309.037 | 120.908 | 18.8058 | 0.39155 | 0.05319 | 0.0026734 | 9.8148 | 0.22408 | 746.4165 | 29.4213 | 78.1116 | 3.3037 | 13.9595 | 1.991 | 0.10513 | 0.26858
Z_Plesovice-10 | 0.054489 | 0.00092031 | 342.0032 | 5.6212 | 0.39564 | 0.018074 | 337.8329 | 13.274 | 0.014865 | 0.0018263 | 298.0022 | 36.3754 | 274.0237 | 105.8422 | 18.3906 | 0.30251 | 0.052326 | 0.0022795 | 9.5918 | 0.24044 | 739.3674 | 30.9986 | 79.5217 | 3.656 | 11.7256 | 1.514 | 0.39286 | -0.056495
Z_Fish Canyon-1 | 0.0043652 | 0.00019359 | 28.078 | 1.2425 | 0.030885 | 0.0053709 | 30.8135 | 5.2763 | 0.0016497 | 0.0002267 | 33.3132 | 4.5748 | -82.4757 | 587.7804 | 231.4751 | 10.3581 | 0.049363 | 0.008133 | 1.4208 | 0.027515 | 1100.8055 | 49.7021 | 771.4307 | 43.1404 | 11.8309 | 1.5755 | -0.3648 | 0.6401
Z_Fish Canyon-2 | 0.0043943 | 0.00015129 | 28.2646 | 0.97104 | 0.035256 | 0.0044522 | 35.1112 | 4.3681 | 0.0013169 | 0.00029751 | 26.5935 | 6.0043 | 301.2587 | 381.638 | 229.6804 | 8.2549 | 0.05906 | 0.0080037 | 2.1176 | 0.048714 | 777.0448 | 37.6738 | 365.0999 | 21.2772 | 4.2633 | 0.89955 | -0.087974 | 0.3421
Z_Fish Canyon-3 | 0.0044586 | 0.00012885 | 28.6774 | 0.82689 | 0.030557 | 0.0042336 | 30.4979 | 4.1683 | 0.0012925 | 0.00020544 | 26.1043 | 4.1473 | 127.5827 | 290.2423 | 225.6933 | 6.5036 | 0.049735 | 0.007039 | 1.7339 | 0.027791 | 849.8964 | 34.4244 | 478.6446 | 20.614 | 5.5968 | 0.95261 | 0.16894 | 0.053838
Z_Fish Canyon-4 | 0.0045087 | 0.00023011 | 28.9984 | 1.4765 | 0.029993 | 0.0096331 | 29.6721 | 9.5301 | 0.0013268 | 0.00031969 | 26.793 | 6.4508 | 656.6833 | 434.5277 | 226.1031 | 11.4491 | 0.048912 | 0.015847 | 1.3028 | 0.041946 | 336.3083 | 18.7533 | 256.2589 | 21.654 | 3.0387 | 0.76104 | 0.017094 | 0.10113
Z_Fish Canyon-5 | 0.0043529 | 0.00015841 | 27.9989 | 1.0165 | 0.03138 | 0.0051634 | 31.2813 | 5.0712 | 0.0016344 | 0.00028451 | 33.0018 | 5.7403 | 132.7678 | 402.6199 | 229.4818 | 9.0085 | 0.051809 | 0.0088046 | 1.5166 | 0.029035 | 726.4417 | 38.7578 | 492.9157 | 21.9991 | 7.7815 | 1.4126 | 0.024524 | 0.16784
Z_Fish Canyon-6 | 0.0045267 | 0.00015293 | 29.1146 | 0.98126 | 0.031255 | 0.0043353 | 31.1939 | 4.2594 | 0.001539 | 0.00024184 | 31.0795 | 4.8798 | 66.5267 | 371.5243 | 222.4219 | 7.1938 | 0.048228 | 0.0062606 | 1.4101 | 0.027556 | 758.2408 | 26.3068 | 558.0307 | 24.2516 | 8.6514 | 1.5386 | -0.42215 | 0.59535

## TE standards
| P31_ppm | P31_2SE | P31_LOD | Ca43_ppm | Ca43_2SE | Ca43_LOD | Ti49_ppm | Ti49_2SE | Ti49_LOD | Y89_ppm | Y89_2SE | Y89_LOD | Zr90_ppm | Zr90_2SE | Zr90_LOD | Nb93_ppm | Nb93_2SE | Nb93_LOD | La139_ppm | La139_2SE | La139_LOD | Ce140_ppm | Ce140_2SE | Ce140_LOD | Pr141_ppm | Pr141_2SE | Pr141_LOD | Nd146_ppm | Nd146_2SE | Nd146_LOD | Sm147_ppm | Sm147_2SE | Sm147_LOD | Eu153_ppm | Eu153_2SE | Eu153_LOD | Gd157_ppm | Gd157_2SE | Gd157_LOD | Tb159_ppm | Tb159_2SE | Tb159_LOD | Dy163_ppm | Dy163_2SE | Dy163_LOD | Ho165_ppm | Ho165_2SE | Ho165_LOD | Er166_ppm | Er166_2SE | Er166_LOD | Tm169_ppm | Tm169_2SE | Tm169_LOD | Yb172_ppm | Yb172_2SE | Yb172_LOD | Lu175_ppm | Lu175_2SE | Lu175_LOD | Hf178_ppm | Hf178_2SE | Hf178_LOD | Ta181_ppm | Ta181_2SE | Ta181_LOD | Pb204_ppm | Pb204_2SE | Pb204_LOD | Pb206_ppm | Pb206_2SE | Pb206_LOD | Pb207_ppm | Pb207_2SE | Pb207_LOD | Pb208_ppm | Pb208_2SE | Pb208_LOD | Th232_ppm | Th232_2SE | Th232_LOD | U238_ppm | U238_2SE | U238_LOD | PbTotal_ppm | PbTotal_2SE | PbTotal_LOD
Run 8
G_610-2 | 424.3075 | 36.7632 | 120.2659 | 81952.1237 | 2870.5653 | 3608.2195 | 450.8233 | 15.2839 | 6.5119 | 461.579 | 11.3255 | 0.81343 | 447.5183 | 12.3445 | 0.1375 | 464.7438 | 10.3132 | 0.88058 | 439.6519 | 13.4236 | 0.17229 | 452.3728 | 12.9018 | 0.7711 | 447.6564 | 11.7581 | 0.65721 | 430.806 | 13.417 | 3.8172 | 452.6953 | 12.6216 | 4.4477 | 446.9597 | 12.8864 | 0.070985 | 448.553 | 13.5035 | 4.3727 | 436.7688 | 10.2055 | 0.64794 | 436.7663 | 13.4442 | 2.7033 | 448.2535 | 12.9529 | 0.68642 | 454.6139 | 14.0544 | 2.0934 | 434.7104 | 13.108 | 0.66135 | 450.1467 | 15.4734 | 3.1083 | 437.703 | 13.9577 | 0.72074 | 434.3103 | 13.5107 | 2.5493 | 445.3592 | 11.167 | 0.7399 | 424.9534 | 26.3584 | 9.1855 | 425.5863 | 11.9581 | 0.25568 | 425.8626 | 10.449 | 0.32081 | 425.3304 | 11.2424 | 0.55758 | 457.0831 | 11.9826 | 1.5087 | 461.7042 | 10.7325 | 0.28901 | 425.6578 | 10.355 | 0.13333
G_610-3 | 343.1275 | 56.7467 | 111.7859 | 82133.5733 | 2116.4991 | 1108.4082 | 451.7734 | 19.7492 | 5.2062 | 463.5195 | 10.7596 | 0.88176 | 449.2373 | 10.5589 | 0.16351 | 461.7138 | 9.4636 | 0.95788 | 435.7731 | 9.3086 | 0.25659 | 452.1335 | 11.3903 | 0.8308 | 446.6948 | 9.9295 | 0.72029 | 427.1224 | 9.2357 | 0.26535 | 450.9802 | 11.5634 | 4.8644 | 441.9882 | 8.8602 | 1.3258 | 449.4307 | 10.1499 | 4.7427 | 431.76 | 8.7454 | 0.70621 | 434.8241 | 9.3205 | 2.9709 | 446.1224 | 9.9124 | 0.74478 | 453.8631 | 8.6006 | 2.2773 | 432.9755 | 9.7624 | 0.72634 | 449.5402 | 8.6058 | 3.3997 | 439.5083 | 9.2498 | 0.77447 | 438.2464 | 9.907 | 2.7616 | 444.9276 | 7.6548 | 0.80571 | 419.7069 | 26.894 | 7.0742 | 425.2928 | 7.8927 | 0.42134 | 426.6704 | 6.8638 | 0.14186 | 429.2079 | 8.602 | 0.60673 | 457.488 | 6.691 | 1.6455 | 461.6096 | 7.6435 | 0.31895 | 426.6284 | 6.4736 | 0.12211
G_610-4 | 440.012 | 57.1958 | 169.7242 | 82540.0652 | 2475.6832 | 2820.6901 | 455.1552 | 15.5605 | 2.9518 | 461.6565 | 8.9023 | 0.82066 | 447.5341 | 10.9076 | 2.3826 | 470.6891 | 11.0873 | 0.89161 | 447.2477 | 11.2615 | 0.7477 | 455.6002 | 12.9171 | 0.77307 | 449.4043 | 8.1335 | 0.67047 | 433.3606 | 11.2568 | 3.8648 | 456.6912 | 13.4617 | 4.5289 | 453.2814 | 9.6218 | 1.2342 | 449.2527 | 11.3607 | 4.4143 | 446.0141 | 10.7584 | 0.6575 | 440.084 | 10.1752 | 2.7663 | 452.951 | 9.6895 | 0.69327 | 456.9657 | 9.3933 | 2.1196 | 436.973 | 8.5203 | 0.67624 | 450.5151 | 9.9482 | 3.1648 | 440.1532 | 9.9114 | 0.72082 | 432.9655 | 8.9795 | 2.5706 | 449.4905 | 10.4013 | 0.75016 | 432.8413 | 23.707 | 7.6123 | 427.2113 | 8.0546 | 0.69169 | 424.7926 | 10.3238 | 0.25289 | 422.28 | 10.7663 | 0.89904 | 456.5373 | 10.596 | 1.5319 | 461.0064 | 9.6416 | 0.29696 | 425.4162 | 8.7233 | 0.24558
G_610-5 | 452.9398 | 50.3322 | 222.7821 | 81569.4869 | 2192.8297 | 874.8245 | 450.1635 | 13.6517 | 3.3009 | 459.4676 | 8.7408 | 0.80911 | 447.8159 | 7.6644 | 0.13824 | 461.0975 | 8.9184 | 0.88309 | 437.2506 | 8.9335 | 0.74125 | 453.6854 | 7.5916 | 0.044346 | 445.1654 | 9.2487 | 0.66073 | 425.5302 | 10.0683 | 3.7777 | 452.8377 | 11.8041 | 4.5114 | 445.7813 | 9.7901 | 1.2269 | 447.5682 | 12.1552 | 4.3658 | 435.5634 | 7.8893 | 0.65624 | 435.5878 | 10.4371 | 2.7604 | 447.1467 | 10.1844 | 0.68819 | 452.4392 | 8.6356 | 2.0899 | 433.2306 | 8.9252 | 0.67116 | 449.6841 | 9.216 | 0.36529 | 436.0309 | 8.4536 | 0.71494 | 434.5627 | 8.5738 | 2.5489 | 444.4267 | 8.853 | 0.087385 | 437.369 | 33.5177 | 8.3672 | 426.0526 | 7.0719 | 0.29475 | 425.2379 | 7.8242 | 0.25541 | 425.0021 | 8.7918 | 0.46456 | 460.1533 | 10.8762 | 1.5206 | 460.4568 | 7.5307 | 0.29403 | 425.5787 | 6.6507 | 0.13097
G_610-6 | 392.2429 | 52.5338 | 188.7685 | 82707.573 | 2633.7601 | 1975.1534 | 452.706 | 16.3559 | 3.5847 | 465.2593 | 10.8484 | 0.87699 | 447.9153 | 9.967 | 0.16423 | 469.7985 | 10.6993 | 0.95743 | 443.3647 | 10.9511 | 0.80369 | 451.0125 | 10.8331 | 0.82415 | 450.2799 | 9.0794 | 0.71609 | 434.7879 | 10.1081 | 4.0925 | 452.717 | 11.4024 | 4.8927 | 448.3222 | 12.1562 | 1.3304 | 450.0129 | 12.9395 | 4.733 | 439.3448 | 12.1139 | 0.7118 | 438.299 | 11.685 | 2.9938 | 450.1662 | 11.0151 | 0.74624 | 461.3248 | 14.664 | 2.2652 | 438.1888 | 13.3204 | 0.046491 | 450.7973 | 13.9184 | 3.395 | 443.1493 | 11.6258 | 0.77524 | 435.257 | 11.4977 | 2.7637 | 447.8773 | 12.8516 | 0.8126 | 416.1545 | 28.6207 | 9.0967 | 425.5952 | 8.6118 | 0.46206 | 427.2426 | 10.72 | 0.18575 | 426.8006 | 10.6776 | 0.38545 | 453.3714 | 12.4554 | 1.6488 | 463.5867 | 10.1996 | 0.31874 | 426.4706 | 9.3221 | 0.23369
G_612-1 | <LoD | 44.7596 | 150.1307 | 86521.512 | 3092.0157 | 4072.4002 | 39.0147 | 4.9918 | 3.542 | 40.1558 | 1.4136 | 0.97035 | 37.7952 | 1.5683 | 2.8123 | 39.4598 | 1.2464 | 1.0506 | 36.3066 | 1.3168 | 0.88111 | 39.3049 | 1.0819 | 0.91967 | 38.5228 | 1.0751 | 0.78438 | 35.3613 | 1.8388 | 4.5549 | 36.9094 | 1.5195 | 5.3072 | 36.3546 | 1.3192 | 1.4521 | 38.6599 | 2.0117 | 5.2162 | 37.5845 | 0.94909 | 0.77303 | 36.9244 | 1.6439 | 0.20612 | 38.4685 | 0.98634 | 0.81883 | 40.0467 | 1.634 | 2.4977 | 38.1567 | 1.275 | 0.78933 | 39.6593 | 1.454 | 3.7093 | 37.9866 | 1.0472 | 0.85939 | 36.938 | 1.3021 | 3.0408 | 37.3995 | 1.0652 | 0.88269 | 29.219 | 8.7409 | 15.4905 | 39.0987 | 1.1221 | 0.52077 | 39.4299 | 1.0843 | 0.30895 | 38.6442 | 1.625 | 0.53629 | 39.6429 | 1.2982 | 1.8001 | 38.408 | 0.79929 | 0.34502 | 39.0611 | 0.82846 | 0.18993
G_612-2 | <LoD | 34.7089 | 160.2471 | 89968.9161 | 2558.344 | 2170.6456 | 39.7594 | 4.3759 | 6.3879 | 40.85 | 1.2205 | 0.91396 | 39.8476 | 1.6707 | 0.15448 | 39.9109 | 1.253 | 0.98964 | 36.9667 | 1.0433 | 0.82999 | 40.2769 | 1.3763 | 0.86603 | 39.678 | 1.3024 | 0.73915 | 36.627 | 1.5254 | 0.25028 | 38.2534 | 1.7444 | 5.0001 | 36.656 | 1.182 | 1.3679 | 39.8223 | 2.2598 | 4.913 | 38.6788 | 1.0956 | 0.72818 | 37.4225 | 1.5905 | 3.0402 | 40.5129 | 1.1953 | 0.77123 | 40.7241 | 1.7823 | 2.3529 | 37.9831 | 1.1219 | 0.74382 | 39.5794 | 1.8755 | 3.4949 | 39.0237 | 1.0294 | 0.80909 | 39.7943 | 1.6466 | 2.8638 | 38.8699 | 1.1163 | 0.83143 | 45.3075 | 8.7475 | 8.4205 | 40.1606 | 1.293 | 0.36791 | 40.4586 | 1.3233 | 0.53245 | 40.2212 | 1.9164 | 0.48532 | 38.7189 | 1.3908 | 1.6958 | 39.2263 | 0.9025 | 0.3252 | 40.3232 | 0.9983 | 0.18763
G_612-3 | 179.9396 | 42.8049 | 149.3316 | 84606.1076 | 3026.8886 | 2792.1007 | 38.7347 | 4.3031 | 3.7831 | 38.4069 | 1.3461 | 0.95905 | 38.3672 | 1.9425 | 0.17794 | 38.3116 | 1.6215 | 1.0421 | 36.9824 | 1.0739 | 0.055834 | 37.9876 | 1.4933 | 0.90327 | 37.5316 | 1.2782 | 0.78363 | 34.3206 | 2.0094 | 4.5156 | 36.0072 | 1.8024 | 5.2947 | 35.2677 | 1.3436 | 1.4427 | 36.8512 | 1.9266 | 5.1592 | 37.1365 | 1.3109 | 0.76867 | 34.8895 | 1.3241 | 3.2345 | 38.4966 | 0.89024 | 0.81032 | 38.6156 | 1.6411 | 2.4771 | 37.8318 | 0.88313 | 0.79054 | 38.4013 | 1.851 | 3.6993 | 36.6266 | 1.3099 | 0.84242 | 36.7924 | 1.5302 | 3.0046 | 36.2226 | 1.2519 | 0.87703 | 28.9239 | 9.5927 | 7.7153 | 39.2724 | 1.326 | 0.37625 | 38.2553 | 1.7016 | 0.35494 | 37.8268 | 1.5708 | 0.53237 | 38.8045 | 1.2103 | 1.7907 | 37.6599 | 0.89069 | 0.34716 | 38.8085 | 1.0675 | 0.21311
G_612-4 | <LoD | 61.1844 | 264.4957 | 85773.7606 | 3159.0508 | 1338.7486 | 40.9667 | 4.6829 | 7.827 | 38.5628 | 1.2468 | 0.9758 | 38.3955 | 1.7219 | 0.1811 | 38.8912 | 1.0972 | 1.0605 | 36.4848 | 1.0905 | 0.88935 | 37.8485 | 1.0864 | 0.91888 | 37.4594 | 0.95481 | 0.7974 | 36.1587 | 1.9517 | 4.5933 | 36.9542 | 2.166 | 5.3893 | 35.4873 | 1.2395 | 0.093809 | 36.795 | 1.798 | 5.2498 | 37.1959 | 0.91625 | 0.78241 | 35.8314 | 1.6472 | 3.2926 | 38.3381 | 1.113 | 0.82463 | 39.7176 | 1.3131 | 2.5204 | 36.8835 | 1.1074 | 0.80462 | 39.2266 | 1.5898 | 3.7647 | 36.7796 | 0.81688 | 0.85721 | 37.6299 | 1.5285 | 3.0576 | 36.5941 | 1.1898 | 0.89274 | 51.5836 | 8.4175 | 7.8622 | 39.003 | 0.89101 | 0.39376 | 38.6903 | 1.2396 | 0.28481 | 39.0977 | 1.2205 | 0.5206 | 37.6276 | 1.1593 | 1.8224 | 37.6106 | 0.58127 | 0.35334 | 38.9471 | 0.78473 | 0.13527
G_612-5 | <LoD | 43.7324 | 106.5581 | 84496.3917 | 2301.0202 | 2255.1676 | 44.7719 | 4.6035 | 6.7795 | 38.1601 | 0.93494 | 0.97627 | 40.0873 | 1.5094 | 2.8632 | 38.9839 | 1.0598 | 1.0661 | 35.8794 | 1.0382 | 0.89495 | 38.8944 | 0.97959 | 0.91742 | 37.9879 | 0.9861 | 0.79706 | 34.4084 | 2.0408 | 4.5534 | 37.0156 | 1.8762 | 5.4498 | 35.5576 | 0.88623 | 1.4817 | 37.6689 | 1.8944 | 5.2699 | 38.3105 | 0.95539 | 0.79295 | 36.0017 | 1.7359 | 3.3348 | 38.6114 | 0.86944 | 0.83107 | 40.3895 | 1.4958 | 2.5216 | 37.6492 | 1.0372 | 0.81032 | 37.6581 | 1.5119 | 3.7799 | 37.3162 | 0.97894 | 0.86334 | 39.0675 | 1.48 | 3.0776 | 37.7812 | 0.99265 | 0.90525 | 38.2673 | 11.4722 | 15.5167 | 39.8234 | 1.3566 | 0.23564 | 39.4051 | 1.1026 | 0.43053 | 37.4695 | 1.6657 | 0.4293 | 37.6497 | 1.1565 | 1.8363 | 37.5745 | 0.7428 | 0.35487 | 39.2363 | 0.90599 | 0.10624
G_612-6 | <LoD | 35.3271 | 159.7719 | 83910.0948 | 2159.198 | 684.4502 | 39.9626 | 5.168 | 2.4602 | 38.6147 | 0.90903 | 0.076606 | 38.6947 | 1.5913 | 3.147 | 38.5321 | 1.3219 | 1.1715 | 35.7861 | 0.91396 | 0.1405 | 38.1574 | 1.0819 | 1.0078 | 38.1964 | 1.1164 | 0.87552 | 35.9886 | 1.5229 | 4.9996 | 38.1243 | 1.5943 | 5.9904 | 35.1656 | 1.0856 | 1.6285 | 38.5001 | 2.2399 | 5.7904 | 37.4644 | 1.1107 | 0.87172 | 35.431 | 1.4532 | 3.6658 | 37.9963 | 0.95521 | 0.91336 | 37.5203 | 1.3009 | 2.77 | 37.2442 | 1.1943 | 0.063604 | 38.3459 | 1.9069 | 4.1532 | 36.3496 | 0.95642 | 0.94881 | 38.3729 | 1.3129 | 3.3821 | 38.0166 | 1.1945 | 0.99518 | 33.2177 | 10.5135 | 10.2183 | 39.0162 | 1.2035 | 0.32124 | 38.0792 | 1.0988 | 0.3543 | 39.317 | 1.6061 | 1.0102 | 38.4349 | 1.2643 | 2.0181 | 37.5174 | 0.86556 | 0.3899 | 38.6367 | 0.93955 | 0.23693
Z_91500-1 | <LoD | 25.8912 | 110.3603 | <LoD | 552.5927 | 2853.2482 | 3.7706 | 1.6325 | 2.1745 | 131.5026 | 4.6016 | 0.045037 | 487430.7554 | 15327.6636 | 2.0429 | 1.9939 | 0.18145 | 0.76341 | <LoD | 0 | 0.64024 | 2.6515 | 0.17329 | 0.66783 | <LoD | 0 | 0.5704 | <LoD | 0.087483 | 3.3109 | <LoD | 0.13504 | 3.8577 | <LoD | 0.049918 | 1.0552 | <LoD | 0.29822 | 3.7895 | 0.71625 | 0.082815 | 0.56172 | 9.9811 | 0.81768 | 2.3461 | 4.4063 | 0.24135 | 0.59484 | 24.5067 | 1.0075 | 1.8151 | 5.5621 | 0.27555 | 0.57401 | 59.8297 | 2.4671 | 2.6966 | 11.9253 | 0.47593 | 0.62377 | 5745.3509 | 164.0402 | 2.2086 | <LoD | 0.058416 | 0.64132 | <LoD | 1.7634 | 5.6226 | 55.3934 | 1.7399 | 0.28136 | 4.4616 | 0.28128 | 0.22464 | 2.3021 | 0.29419 | 0.44557 | 26.7218 | 1.1097 | 1.3082 | 75.9449 | 2.1417 | 0.04811 | 24.2501 | 0.76766 | 0.18917
Z_91500-2 | <LoD | 27.5426 | 84.489 | <LoD | 505.7976 | 2459.6136 | 3.9188 | 1.6366 | 3.0636 | 129.2739 | 3.79 | 0.64111 | 465360.5272 | 10464.5741 | 1.8578 | 1.9496 | 0.16955 | 0.69436 | <LoD | 0 | 0.58233 | 2.3242 | 0.14149 | 0.60723 | <LoD | 0.0069961 | 0.51899 | <LoD | 0.099448 | 3.0119 | <LoD | 0.12214 | 3.5094 | <LoD | 0.056116 | 0.9598 | <LoD | 0.37742 | 3.4463 | 0.74829 | 0.085931 | 0.51091 | 9.6062 | 0.55529 | 2.1346 | 4.2271 | 0.24099 | 0.54096 | 24.2082 | 1.129 | 1.651 | 5.9552 | 0.2248 | 0.52229 | 59.8079 | 1.904 | 2.4532 | 12.0704 | 0.52333 | 0.56703 | 5807.1057 | 171.1158 | 2.0084 | 0.6265 | 0.084706 | 0.58328 | <LoD | 2.0199 | 9.3325 | 54.9862 | 1.4849 | 0.24778 | 4.528 | 0.22523 | 0.44151 | 2.6694 | 0.29846 | 0.41311 | 26.3913 | 1.0457 | 1.19 | 75.7297 | 1.9482 | 0.22845 | 24.1354 | 0.60944 | 0.30452
Z_91500-3 | 141.5256 | 30.6047 | 52.919 | <LoD | 533.5377 | 2925.0221 | <LoD | 1.3369 | 5.9198 | 128.2022 | 4.7321 | 0.037037 | 474891.2055 | 18065.2201 | 0.10732 | 1.8878 | 0.16488 | 0.68788 | <LoD | 0 | 0.57689 | 2.4293 | 0.17483 | 0.60137 | <LoD | 0.0082571 | 0.51433 | <LoD | 0.068655 | 2.9843 | <LoD | 0.12858 | 3.4772 | <LoD | 0.045889 | 0.95086 | <LoD | 0.3036 | 3.4137 | 0.80204 | 0.088808 | 0.50614 | 10.3005 | 0.50344 | 2.1154 | 4.1878 | 0.26763 | 0.53585 | 24.0713 | 0.68592 | 1.6357 | 5.652 | 0.24485 | 0.51761 | 58.7589 | 2.5415 | 2.4309 | 12.2711 | 0.43467 | 0.56144 | 5711.4342 | 179.2842 | 1.9893 | 0.61569 | 0.075973 | 0.5778 | <LoD | 1.1727 | 8.5201 | 55.1031 | 1.7442 | 0.3194 | 4.147 | 0.24226 | 0.31251 | 2.6712 | 0.32737 | 0.47697 | 26.028 | 1.0575 | 1.1789 | 74.8636 | 2.443 | 0.22645 | 23.9908 | 0.77436 | 0.22544
Z_91500-4 | <LoD | 42.6956 | 133.9746 | <LoD | 373.8961 | 638.4744 | 4.4629 | 1.787 | 3.9089 | 133.3618 | 3.1834 | 0.7295 | 486284.9902 | 14431.9719 | 2.9719 | 1.5876 | 0.13791 | 0.79168 | <LoD | 0 | 0.66387 | 2.6113 | 0.21684 | 0.68846 | <LoD | 0.0088162 | 0.59477 | <LoD | 0.085068 | 3.4381 | <LoD | 0.12416 | 4.0134 | <LoD | 0.050623 | 1.095 | <LoD | 0.34293 | 3.9221 | 0.7894 | 0.049899 | 0.58295 | 10.5186 | 0.62692 | 2.4484 | 4.4237 | 0.17687 | 0.61568 | 24.7487 | 0.99516 | 1.883 | 6.1485 | 0.21534 | 0.59907 | 63.2425 | 2.516 | 2.8069 | 12.9001 | 0.40619 | 0.64131 | 5869.2933 | 146.9102 | 0.43762 | <LoD | 0.086659 | 0.66505 | <LoD | 1.961 | 11.6267 | 57.4807 | 1.5353 | 0.35086 | 4.7446 | 0.27704 | 0.27274 | 2.9464 | 0.35542 | 0.2505 | 28.1964 | 0.88207 | 1.3587 | 79.1385 | 2.0715 | 0.26288 | 25.2248 | 0.68477 | 0.11737
Z_91500-5 | <LoD | 35.0049 | 169.7916 | <LoD | 345.3362 | 1967.8324 | <LoD | 1.1778 | 4.6532 | 129.7179 | 3.6205 | 0.65097 | 477383.0672 | 19234.6669 | 2.6413 | 1.4833 | 0.15196 | 0.70654 | <LoD | 0 | 0.59248 | 2.5651 | 0.18818 | 0.61422 | <LoD | 0 | 0.5309 | <LoD | 0.08001 | 3.0681 | <LoD | 0.16581 | 3.5825 | <LoD | 0.055504 | 0.97732 | <LoD | 0.384 | 3.5 | 0.82349 | 0.071864 | 0.52032 | 10.2071 | 0.83281 | 2.1858 | 4.1825 | 0.24782 | 0.54944 | 23.8702 | 0.92795 | 1.6805 | 5.8077 | 0.28478 | 0.5348 | 60.1068 | 2.1824 | 2.5054 | 12.1362 | 0.47425 | 0.57216 | 5620.2211 | 131.438 | 2.0375 | <LoD | 0.066957 | 0.59359 | <LoD | 2.1449 | 9.4759 | 56.3223 | 1.4991 | 0.15905 | 4.8325 | 0.32128 | 0.17216 | 3.2316 | 0.37272 | 0.17318 | 27.5366 | 0.77946 | 1.2127 | 75.6204 | 1.5398 | 0.23471 | 24.8684 | 0.69564 | 0.10055
Z_91500-6 | <LoD | 30.4812 | 97.401 | <LoD | 412.6614 | 1645.5971 | <LoD | 1.2943 | 5.8814 | 125.8194 | 4.098 | 0.69813 | 476211.4559 | 14937.0523 | 48.1692 | 1.5496 | 0.11078 | 0.75782 | <LoD | 0 | 0.63548 | 2.2834 | 0.18721 | 0.65859 | <LoD | 0.01207 | 0.56952 | <LoD | 0.093514 | 3.2903 | <LoD | 0.15823 | 3.8433 | <LoD | 0.0625 | 1.0483 | <LoD | 0.40066 | 3.7537 | 0.68893 | 0.079339 | 0.55815 | 10.2307 | 0.70906 | 2.3453 | 4.2277 | 0.26972 | 0.58928 | 22.5789 | 1.0979 | 1.8024 | 5.6531 | 0.30019 | 0.57377 | 59.1966 | 2.2658 | 2.6876 | 11.7653 | 0.45649 | 0.61351 | 5811.2925 | 169.646 | 2.1852 | <LoD | 0.081378 | 0.63674 | <LoD | 1.6253 | 5.5694 | 54.5799 | 1.3069 | 0.25281 | 4.1814 | 0.25678 | 0.39064 | 2.8931 | 0.2896 | 0.3867 | 26.4497 | 0.91114 | 1.3009 | 74.3729 | 2.324 | 0.25184 | 23.8453 | 0.52833 | 0.20949
Z_91500-7 | <LoD | 40.8623 | 147.9825 | <LoD | 383.6601 | 993.8182 | 6.6417 | 1.7874 | 4.8976 | 130.5279 | 3.4472 | 0.66992 | 493427.4914 | 13917.9956 | 1.9529 | 1.4462 | 0.15915 | 0.72937 | <LoD | 0.0039748 | 0.61188 | 2.3192 | 0.16963 | 0.63 | <LoD | 0.0052805 | 0.54753 | <LoD | 0.11767 | 3.1431 | <LoD | 0.1746 | 3.7152 | <LoD | 0.055145 | 1.0113 | <LoD | 0.4011 | 3.6083 | 0.73969 | 0.082486 | 0.53972 | 10.2181 | 0.67142 | 2.2719 | 4.3008 | 0.28743 | 0.56758 | 24.4073 | 1.1875 | 1.7306 | 5.9897 | 0.26883 | 0.55401 | 61.4704 | 2.7772 | 2.5888 | 12.4155 | 0.47014 | 0.58972 | 5932.9567 | 210.2615 | 2.1037 | <LoD | 0.079744 | 0.61602 | <LoD | 1.2899 | 6.7371 | 56.4159 | 1.5059 | 0.5202 | 4.7365 | 0.25993 | 0.3103 | 2.6902 | 0.42435 | 0.72978 | 26.1563 | 1.0399 | 1.2545 | 76.5001 | 2.1722 | 0.2431 | 24.7555 | 0.65856 | 0.22659
Z_91500-8 | <LoD | 31.1289 | 116.2335 | <LoD | 360.0746 | 1928.5995 | 4.9673 | 1.5644 | 1.7176 | 129.6453 | 3.7333 | 0.69926 | 480767.0594 | 13450.638 | 2.0394 | 1.3172 | 0.10555 | 0.76149 | <LoD | 0 | 0.63886 | 2.4424 | 0.13543 | 0.65753 | <LoD | 0.003794 | 0.57148 | <LoD | 0.09057 | 3.2793 | <LoD | 0.10154 | 3.8799 | <LoD | 0.06013 | 1.056 | <LoD | 0.33065 | 3.7669 | 0.86532 | 0.096554 | 0.5637 | 10.2609 | 0.64265 | 2.3727 | 4.2712 | 0.18553 | 0.59265 | 24.5071 | 1.1026 | 1.8064 | 5.9729 | 0.3003 | 0.57846 | 60.945 | 2.3606 | 2.7026 | 12.2918 | 0.41282 | 0.61576 | 5802.6255 | 192.5806 | 2.1965 | <LoD | 0.068195 | 0.64342 | <LoD | 1.8274 | 90.0944 | 55.4899 | 1.7064 | 0.16795 | 4.671 | 0.33061 | 0.19078 | 2.5006 | 0.28671 | 0.34195 | 26.501 | 1.0719 | 1.3098 | 75.3617 | 1.7626 | 0.25379 | 24.336 | 0.73586 | 0.088157
Z_91500-9 | <LoD | 28.3711 | 195.1831 | <LoD | 344.5535 | 1248.835 | 4.9246 | 1.2345 | 2.381 | 111.9374 | 3.4125 | 0.64912 | 478305.2421 | 13802.7981 | 1.894 | 1.2898 | 0.14049 | 0.70704 | <LoD | 0 | 0.59321 | 2.1674 | 0.14418 | 0.61032 | <LoD | 0 | 0.53047 | <LoD | 0.060315 | 3.0428 | <LoD | 0.12633 | 3.6034 | <LoD | 0.054197 | 0.98069 | <LoD | 0.31661 | 3.4973 | 0.65559 | 0.071642 | 0.5236 | 8.9544 | 0.57452 | 2.2038 | 3.7395 | 0.21823 | 0.55034 | 20.6662 | 0.91871 | 1.6768 | 5.3278 | 0.23432 | 0.53713 | 52.5288 | 2.187 | 2.5092 | 10.6232 | 0.32344 | 0.57179 | 5769.156 | 205.0813 | 2.0395 | <LoD | 0.075332 | 0.59766 | <LoD | 1.9835 | 4.89 | 51.8769 | 1.0758 | 0.33133 | 4.1959 | 0.26753 | 0.30425 | 2.5725 | 0.3548 | 0.60255 | 23.104 | 0.90195 | 1.2163 | 69.8467 | 2.0191 | 0.23563 | 22.7379 | 0.44814 | 0.25318
Z_91500-10 | <LoD | 29.27 | 170.5968 | <LoD | 352.7695 | 882.6333 | <LoD | 1.3932 | 5.6097 | 130.3421 | 3.5966 | 0.71965 | 497033.3562 | 12233.4636 | 2.1008 | 1.2723 | 0.099791 | 0.78406 | <LoD | 0 | 0.65786 | 2.4577 | 0.18853 | 0.67658 | <LoD | 0.0095559 | 0.58807 | <LoD | 0.089355 | 3.3719 | <LoD | 0.17397 | 3.997 | <LoD | 0.061948 | 1.0877 | <LoD | 0.34522 | 3.878 | 0.75251 | 0.084513 | 0.58087 | 10.8616 | 0.79982 | 2.4447 | 4.1689 | 0.18137 | 0.61037 | 24.0394 | 0.98888 | 1.859 | 5.9723 | 0.25907 | 0.59568 | 60.4298 | 1.7687 | 2.7823 | 12.3413 | 0.41756 | 0.63415 | 5896.7465 | 162.5965 | 2.2618 | <LoD | 0.060477 | 0.66304 | <LoD | 2.3913 | 7.2923 | 56.5764 | 1.2434 | 0.34929 | 4.7515 | 0.24333 | 0.28802 | 2.8342 | 0.40972 | 0.82608 | 26.846 | 0.8961 | 1.3489 | 77.0087 | 1.6537 | 0.26127 | 24.8719 | 0.55647 | 0.12414

## Instrument settings
Agilent 8900 triple quadrupole ICP-MS operated in single quad (no gas) mode
Instrument tuned daily for maximum signal (Pb, Th, U), U/Th ratio parity on NIST 610 and minimum oxide formation (ThO %)
Analysis mode = Low resolution
Calibration standards |  | NIST 612 - traces, 91500/ Plesovice - ages
| Primary | Plesovice - ages, 610- traces
| Secondary | 91500 - ages, 91500-traces
Initial/ Final calibration |  | All standards in duplicate
Re calibraiton frequency |  | every 10 samples
|  |  |  | Element Name | Monitor | Mass | IntegTime /Mass [sec]
|  |  |  | Si | FALSE | 29 | 0.01 | 0.05
|  |  |  | P | FALSE | 31 | 0.01 | 0.05
|  |  |  | Ca | FALSE | 43 | 0.01 | 0.05
Parameter | Type | unit | value | Ti | FALSE | 49 | 0.015 | 0.05
Auxillary gas | Argon | L/min | 1 | Y | FALSE | 89 | 0.015 | 0.05
Sample gas | Argon | L/min | 0.9 | Zr | TRUE | 90 | 0.01 | 0.05
carrier gas | He | L/min | 0.35 | Nb | FALSE | 93 | 0.015 | 0.05
RF Power |  | W | 1550 | La | FALSE | 139 | 0.015 | 0.05
|  |  |  | Ce | FALSE | 140 | 0.015 | 0.05
Cones | Nickel |  |  | Pr | FALSE | 141 | 0.015 | 0.05
Spraychamber | n/a |  |  | Nd | FALSE | 146 | 0.015 | 0.05
|  |  |  | Sm | FALSE | 147 | 0.015 | 0.05
|  |  |  | Eu | FALSE | 153 | 0.015 | 0.05
NWR 193 with TV3 sample chamber |  |  |  | Gd | FALSE | 157 | 0.015 | 0.05
Laser gas = ArF |  |  |  | Tb | FALSE | 159 | 0.015 | 0.05
Carrier gas = UHP He |  |  |  | Dy | FALSE | 163 | 0.015 | 0.05
Beam train purge gas = UHP N2 |  |  |  | Ho | FALSE | 165 | 0.015 | 0.05
|  |  |  | Er | FALSE | 166 | 0.015 | 0.05
Parameter | Unit | Value |  | Tm | FALSE | 169 | 0.015 | 0.05
Spot size | µm | 20 |  | Yb | FALSE | 172 | 0.015 | 0.05
Rep rate | Hz | 6 |  | Lu | FALSE | 175 | 0.015 | 0.05
Fluence | J/cm2 | 2 |  | Hf | FALSE | 178 | 0.015 | 0.05
|  |  |  | Ta | FALSE | 181 | 0.015 | 0.05
|  |  |  | Pb | FALSE | 204 | 0.01 | 0.05
|  |  |  | Pb | TRUE | 206 | 0.05 | 0.05
|  |  |  | Pb | TRUE | 207 | 0.06 | 0.05
Ablation settings | Unit | Value |  | Pb | FALSE | 208 | 0.01 | 0.05
Background | seconds | 10 |  | Th | FALSE | 232 | 0.01 | 0.05
Ablation | seconds | 20 |  | U | TRUE | 238 | 0.05 | 0.05
2 shot pre ablation performed offline | [6 empty] | 0.515 | 1.45