# Argon geochronology methods

Argon geochronology as done by the Geochronology Laboratory at the University of Alaska Fairbanks (UAF). Samples were crushed, sieved, washed and hand-picked for pure mica and sericite mineral phase separates. The standard mineral MMhb-1 (Samson and Alexander, 1987) with an age of 523.5 Ma (Renne et al., 1994) was used to monitor neutron flux (and calculate the irradiation parameter, J). Samples and standards were wrapped in aluminum foil and loaded into aluminium cans of 2.5 cm diameter and 6 cm height. The samples were irradiated in position 5c of the uranium enriched research reactor of McMaster University in Hamilton, Ontario, Canada for 20 megawatt-hours.

Upon return from the reactor, samples and standards were loaded into 2 mm diameter holes in a copper tray in an ultra-high vacuum extraction line. The standards were fused, and samples heated, using a 6-watt argon-ion laser following the technique described in York et al. (1981), Layer et al. (1987) and Layer (2000). Argon purification was achieved using a liquid nitrogen cold trap and a SAES Zr-Al getter at 400 °C.  The samples were analyzed in a VG-3600 mass spectrometer at the Geophysical Institute, University of Alaska Fairbanks. The argon isotopes measured were corrected for system blank and mass discrimination, as well as calcium, potassium and chlorine interference reactions following procedures outlined in McDougall and Harrison (1999). Typical full-system 8 minute laser blank values (in moles) were generally 2 × 10-16 mol 40Ar, 3 × 10218 mol 39Ar, 9 × 10-18 mol 38Ar and 2 × 10-18 mol 36Ar, which are 10–50 times smaller than the sample/standard volume fractions. Correction factors for nucleogenic interferences during irradiation were determined from irradiated CaF2 and K2SO4 as follows: (39Ar/37Ar)Ca = 7.06 × 10-4, (36Ar/37Ar)Ca = 2.79 × 10-4 and (40Ar/39Ar)K =  0.0297. Mass discrimination was monitored by running calibrated air shots. The mass discrimination during these experiments was 1.3 % per mass unit. While doing these experiments, calibration measurements were made on a weekly to monthly basis to check for changes in mass discrimination with no significant variation.

# References

Benowitz, J., Layer, P.W., VanLaningham, S., 2014, Persistent Long-Term (~24

Ma) Exhumation in the Eastern Alaska Range Constrained by Stacked Thermochronology, Geological Society of London Special Volume, 40Ar/39Ar Dating: from Geochronology to Thermochronology, from Archaeology to Planetary Sciences.

Layer, P.W., Hall, C.M. & York, D., 1987, The derivation of 40Ar/39Ar age spectra of single grains of hornblende and biotite by laser step heating, Geophys. Res. Lett., 14, 757-760.

McDougall, I. and Harrison, T.M., 1999, Geochronology and Thermochronology by the 40Ar/39Ar method-2nd ed, Oxford University Press, New York, 269pp.

Renne, P. R., Mundil, R., Balco, G., Min, K., and Ludwig, K. R., 2010. Joint determination of 40K decay constants and 40Ar∗/40K for the Fish Canyon sanidine standard, and improved accuracy for 40Ar/39Ar geochronology.Geochimica et Cosmochimica Acta, 74(18), 5349.

Renne, P. R., Deino, A. L., Walter, R. C., Turrin, B. D., Swisher, C. C., Becker, T. A., Curtis, G.H., Sharp. W.D., and Jaouni, A. R., 1994, Intercalibration of astronomical and radioisotopic time. Geology, 22(9), 783-786.

Samson S. D., and Alexander E. C. (1987) Calibration of the interlaboratory 40Ar/39Ar dating standard, MMhb1. Chem. Geol. 66, 27-34.

Steiger, R.H. and Jaeger, E., 1977, Subcommission on geochronology: Convention on the use of decay constants in geo and cosmochronology, Earth and Planet Science Letters, v. 36, p. 359-362.

York, D., Hall, C.M., Yanase, Y., Hanes, J.A. & Kenyon, W.J., 1981. 40Ar/39Ar dating of terrestrial minerals with a continuous laser, Geophys. Res. Lett., 8, 1136-1138.